OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE- 6 December 2012
PROJECT- John Day Dam 
RESPONSE DATE- 10 December 2012 
Description of the problem- JDA MU 2 is returning to service, after a long term maintenance outage (5 year overhaul) on 13 December.  Its functional testing will occur that day and then the unit will be back in normal operation prior to the end of shift at 1700.  JDA STSs may be pulled after 15 December, as per the FPP.

To minimize additional handling of STSs, the Project requests concurrence to operate MU2 in a last on/first off status, without the installation of STSs, until after 15 December, when STSs are no longer required for MU operation.  

Type of outage required – MU2 will be an unscreened unit and will be available, but in the last on/first off status.  
Impact on facility operation - MU2 will be operated out of unit priority (as last on/first off).  The unit will be an unscreened unit.
Length of time for repairs – Up to three days, 13 – 15 December 2012. 
Expected impacts on fish passage – Minimal impact during functional testing on 13 December.  
Impacts on 14 – 15 December are predicted to be negligible since MU2 will be in the last on/first off status will be operated at all.  MU2 will likely not be operated during these couple of days.  According to JDA Operations and Maintenance, only about 10 – 11 units are currently in operation and there is no foreseen need for increased generation in the next week or so.
Comments from agencies

NOAA Fisheries- 
-----Original Message-----
From: Gary Fredricks - NOAA Federal [mailto:gary.fredricks@noaa.gov] 
Sent: Thursday, December 06, 2012 4:32 PM
To: Mackey, Tammy M NWP
Cc: Trevor Conder - NOAA Federal; Lorz, Tom
Subject: Re: FPOM: Official Coordination- 12JDA23 MU2 last on/first off 13-15 Dec (UNCLASSIFIED)

Tammy,  As an unscreened unit, unit 12 should be unavailable for normal operation until after 15 December.  I see the FPP language in JDA section 2.4.1.3.a. but do not agree with it (thanks for drawing my attention to it).  Also, please describe "functional testing" that is to occur on the 13th.  Thanks,  Gary

JDA- 

-----Original Message-----
From: Zyndol, Miroslaw A NWP 
Sent: Sunday, December 09, 2012 3:36 PM
To: Mackey, Tammy M NWP; Stocks, Dennis C NWP; Lewis, Rob NWP
Subject: RE: FPOM: Official Coordination- 12JDA23 MU2 last on/first off 13-15 Dec (UNCLASSIFIED)

Classification: UNCLASSIFIED

Caveats: NONE

It is testing by JD Ops and Maintenance of all settings/functions to assure that all turbine's components are performing properly. It pretty much amounts to a number of test startups, shutdowns, changing loads/ before a unit is declared fit for regular service.  Dennis and Rob maybe more detailed/technical, but this is my "biological" understanding of a process, when a turbine returns to service after an overhaul.  Thanks! MZ

Final results- This action went forward as coordinated.
Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

541-374-4552 Bonneville Office
503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 

