OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

NOTIFICATION DATE- 12 November 2010
PROJECT-  The Dalles
RESPONSE DATE- As soon as possible.
Description of the problem- Project engineering and maintenance has been working on getting the fishlock operational again as a potential emergency backup water supply for the east fishladder in the event of the fish unit failure.  
A test was completed during the summer.  A follow-up test is requested for the week of 14 November.  
Type of outage required- No outage required.
Impact on facility operation- No impact to east fishway flow. Will be isolated from east fishway and flushed into cul de sac.
Length of time for repairs- 12-24 hours.
Expected impacts on fish passage – None. Expect ~200 cfs to be discharged into the cul de sac for 12-24 hours.  With the relatively short duration of test it is not expected to have any false attraction to this location, however if adults are attracted to it, the test will be shutdown.  It is a longer flush than previously but with fewer fish in the river, it should be better timing.
Comments from agencies- 
CRITFC-  -----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Sunday, November 14, 2010 2:24 PM
To: Mackey, Tammy M NWP
Subject: Re: FPOM: Official Coordination- TDA fishlock test(UNCLASSIFIED)

I have no problem with this, thanks for the heads up.  tom

Final results- 
Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

503-961-5733 

Tammy.m.mackey@usace.army.mil 














































