CENWP-OD-D








23 May 2012
MEMORANDUM FOR THE RECORD – 12TDA06 Unit 9 morts
SUBJECT:  12TDA07 Juvenile salmonid mortalities found in The Dalles Unit 9 draft tube
The Dalles unit 9 was dewatered for routine maintenance on May 22. Fisheries personnel were first to enter both scroll case and draft tube. No fish were found in the scroll case. Two small sturgeon, 1 juvenile steelhead and 5 juvenile Chinook were removed from the draft tube and released to river. Four juvenile yearling Chinook (1 old) and 1 juvenile hatchery steelhead mortalities were also found. 
A. Species – 4 yearling Chinook and 1 juvenile steelhead
B. Origin – unknown
C. Length – NA
D. Marks and tags – NA
E. Marks and Injuries found on carcass – None
F. Cause and Time of Death – Unknown. Possibly from being flushed from scroll case into draft tube.
G. Future and Preventative Measures – None at this time. Sluiceway level was dropped to prevent backflow into the gatewell. Entire dewater procedure was closely scrutinized with no errors found. Adequate water supply was provided. Timely entry for fish salvage was achieved.
It is assumed that the majority of juveniles that are stranded in The Dalles scroll cases eventually go through the draft tube drain before personnel are able to retrieve them. Fortunately with no intake screens, the numbers are relatively low compared to a screened intake project such as John Day. Gatewells cannot be effectively dipped prior to turbine dewaterings due to design. Therefore, the Fish Passage Plan does not require pre dewatering gatewell dip for fish recovery.

Sincerely,

TDA Project Fisheries
