CENWW-OD-EG







April 1, 2013
MEMORANDUM FOR THE RECORD  (13LGS05)
SUBJECT:  Minimum Flow, Unscheduled AWS Pump Outages, and Turbine Unit Operating Order to Conduct Bathymetric Survey at Little Goose
To support subsurface (bathymetric) survey maintenance inspections of the tailrace, maximum flows through Little Goose Project of 15 kcfs (one turbine unit operating) was scheduled and approved through the Reservoir Control Center from March 21 to 27 from 0700 to 1900 hours each day.  In support of the inspections, unscheduled auxiliary water supply (AWS) pump outages and changes to turbine unit operating priority were required for life safety support.

AWS pump outages occurred on:  March 21 from 1529 to 1655 hours, March 22 from 1145 to 1330 hours, March 24 from 0930 to 1200 hours, and March 26 from 1230 to 1540. 

Turbine units were operated out of Fish Passage Plan operating priority as follows: 
Turbine unit 1 and 2 were removed from service on:
March 21, 1159 - 1309 hours and 1455 - 1628 hours, unit 3 or 4 was operated.

March 25, 0817 to 1245 hours, unit 3 or 4 was operated.
March 26, 0705 to 1217 hours and 1342 - 1543 hours, unit 4 or 6 was operated. 

Overall effects to adult fish passage from the above operations were minimal because very few adult steelhead have been observed in the adult fish ladder during the month of March. 
George Melanson

Little Goose Project Fisheries Biologist
