OFFICIAL COORDINATION REQUEST 

FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 12LMN08 Unit 4 Pre-maintenance Test
COORDINATION DATE- 7 August 2012
PROJECT- Lower Monumental
RESPONSE DATE- ASAP
Description of the problem:
  
Unit 4 is scheduled to go out of service for a 6-year overhaul on August 13, 2012.  Pre-maintenance testing of the unit is scheduled to occur on either August 8 or August 9.  The test requires that Unit 4 run for 1 hour so that baseline data can be gathered prior to the overhaul.  The FPP section 4.3.3 on Turbine Unit Maintenance provides for units to be operated out of priority for pre-maintenance testing for “up to 30 minutes”.  The data required for this test requires the project to operate out of unit priority for up to 1 hour.
Type of outage required:  N/a
Impact on facility operation:  
Unit priority in FPP Table LMN-5 for flows <70 kcfs is 2, 3, 4, 5, 6 then 1.  At current flows (~31 kcfs daily average), the project is only operating one unit and maintaining the FOP spill rate of 17 kcfs.  This test requires that unit 4 run for 1 hour on either August 8 or August 9, sometime during the hours of 0900-1400.  Therefore, this test requires that unit 4 be operated out of unit priority for the one hour test.  
Length of time for repairs:  N/a
Expected impacts on fish passage: 
The effects on fish passage of operating Unit 4 as the priority unit for up to one hour during the late morning/early afternoon hours of 0900-1400 will likely be insignificant or discountable due to the short duration of the test, the low numbers of fish anticipated to be at the project during the test, and the low flows that will pass through the unit (~11-17 kcfs).
Comments from agencies

-----Original Message-----
From: Kiefer,Russell [mailto:russ.kiefer@idfg.idaho.gov] 
Sent: Wednesday, August 08, 2012 10:57 AM
To: Moody, Gregory P NWW
Subject: RE: FPOM MOC 12 LMN 08 Unit 4 testing (UNCLASSIFIED)

Greg,

We have no objections.

Russ

Greg, thank you for coordination 12 LMN 08 Unit 4 Pre-maintenance Test.  We agree with you assessment that any additional adult passage delay in the tailrace at Lower Monumental will be insignficant due to operating unit 4 as the priority unit for up to one hour during the daytime.  NOAA Fisheries supports the Corps' request.  

Bill Hevlin

Senior Fisheries Biologist 

-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Wednesday, August 08, 2012 3:05 PM
To: Moody, Gregory P NWW
Subject: Re: FPOM MOC 12 LMN 08 Unit 4 testing (UNCLASSIFIED)

this should be ok given the flows we are seeing in the snake and the time you are planning the work.

thanks

tom lorz

Final results:
Thank you,
