OFFICIAL COORDINATION REQUEST 

FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE- 
April 5, 2011
PROJECT- 
Lower Granite Dam
RESPONSE DATE-  NOTIFICATION -  Comments will be recorded.
Description of the problem:
  
Operators at Lower Granite dam noted a log wedged across the RSW.  It is showing about 12” above the waterline. The project will have cut this log out by closing spill bays 1 and 2, for safety.  Move the spill to the remaining open spillbays equally.  Then lower a person in a man basket with a chainsaw to cut the log.
Type of outage required:  
The project will have to close spill bays 1 and 2 to safely get to the log.  The discharge from the two closed bays will be moved equally to the discharge of the remaining bays 3 to 8.
Impact on facility operation:  
Minimal.  Closing spill bays 1 and 2.
Length of time for repairs:  
It is expected to take no more than 1.5 to 2 hours to complete this task.  This work will be done on 6 April in the morning.
Expected impacts on fish passage:

Potential short term increase of TDG in tailrace may happen.  Discharge at Lower Granite from the STP is projected to be about 138 kcfs on 6 April. 
Comments from agencies

NOAA – Bill Hevelin, USFWS – Dave Wills, CRITFC - Tom Lorz, BPA- Jason Sweet, Nez Perce – Dave Statler, IDFG – Russ Kiefer, were all contacted by phone and were in agreement with the action. 

Rick Kruger – ODFW was contacted with voice mail left.
Final results:
Thank you,
Greg Moody

509-527-7124

Gregory.p.moody@usace.army.mil
