CENWP-OD-LWG







12-4-12
MEMORANDUM FOR THE RECORD (12LWG 005)
SUBJECT: Lower Granite oil sheen in fishway
At approximately 9:30 AM today, an oil sheen was noted in the tailrace below Lower Granite dam.  A boom was put in place to contain the oil sheen in the tailrace.  Upon further inspection in trying to locate the source of the oil, a sheen was noted exiting diffuser 14 in the fish ladder.  The project has spent most of today verifying that the oil is not being released at or by the project, and sheens were noted upstream of the project in the forebay. We are closing diffuser 14 intake until the oil source can be located and appropriately remediated.   A boom is being placed in the forebay to contain oil approaching the project.  If needed another boom may be placed in front of the adult ladder exit to provide assurance that oil is not entering the ladder.   
