

	Thermal Gradients, Collection and Mortality at the McNary Project, 2012

	Water temperatures and the effect on salmonids

	This report is prepared for the Army Corp of Engineers, Walla Walla District

	

	

	Rosanna L. Mensik

	October, 2012

	Pacific States Marine Fisheries Commission

P.O. Box 428

Umatilla, OR.  97882




Executive Summary


Water temperatures at the McNary Project are influenced by air temperature and wind velocity.  Project operations (turbine unit operations, number and location of operating and non-operating turbine Units) and spill (magnitude and more importantly percent) have an effect on the movements and creation of thermal gradients.  Total project discharge during the temperature monitoring period (June 15 – August 31) averaged 287.0 kcfs in 2012.  The target flows set by the National Marine Fisheries Service Biological Opinion for McNary were met.  The percentage of project discharge diverted through the spill June 15 – August 31, 2012 was 57.6%.  This was the seventh season with “court ordered spill” where it has been ordered that 50% of the flow will go through the spill bays.

McNary Dam had weather that was below the seasonal average, a wet spring and good flows.  Historically, there have been gradients that occur at the southern end of the powerhouse during days with elevated air temperatures and light winds.  In the 2012 season, McNary Dam saw the worst gradients on July 5.  There were differences between the forebay and the gatewell of 9.5°F, 3:30 p.m. in front of Unit 7.

The McNary JFF did not initiate collection for transportation until August 17.  Flows were good for moving fish; therefore, none of the mortalities could be enumerated.  When the facility is in bypass operations and fish are being sampled every-other-day, the only reliable accounting is from the sample holding tank.  From June 15 through August 31, sample tank mortality was 1.0%, 172 of 17,265 fish sampled.  System mortality was 0.09%, 1,158 for the 1,238,437 fish collected.  The highest one-day sample tank mortality percent was 6.5% on June 20.  Transportation by truck did not begin until August 18.
Table of Contents

2Executive Summary


5ACKNOWLEDGMENTS


6INTRODUCTION


6Objectives


7Methods


9Weather


11Project Discharge & Spill


12Thermal Profiles at the Powerhouse


14Forebay & Gatewell Temperature Profiles


17Effects of Forebay Water Temperatures on Project Temperatures and Thermal Gradients


19Collection Channel


21Temperature Gradients at the Orifice Discharge


23Juvenile Fish Facility


23Collection Channel vs. Separator


24Separator vs. Raceway


25Tailrace


25Holding for Transport


27River Temperature and Fish Passage Timing


28Fish Condition


28Collection


29Mortality


31Recommendations


31Powerhouse Operations


32Literature Cited




List of Figures

8Figure 1.  Placement of temperature data recorders at McNary Dam, 2012


9Figure 2.  Differences in degrees Fahrenheit between forebay & gatewell, with wind, at McNary Dam, June 21 – 27, 2012


10Figure 3.  Air temperatures ((F) & wind velocity (mph) at McNary Dam, June 15 – August 31, 2012


12Figure 4.  Project discharge for McNary Dam, 2008 - 2012


12Figure 5.  Percent spill at McNary Dam, 2008 – 2012


13Figure 6.  Forebay temperatures at McNary Dam, July 21, 2012


13Figure 7.  Temperature differences, in degrees Fahrenheit, in 5 gatewells across the McNary powerhouse, August 25 – 31, 2012*


15Figure 8.  McNary Dam forebay temperatures in degrees Fahrenheit, June 15 – Aug. 31, 2012


16Figure 9.  An average of temperatures across all 14 turbine Units at McNary Dam,


16August 25 – 31, 2012


16Figure 10.  Forebay & Gatewell Temperatures at Unit 1 at McNary Dam, from August 29 - August 30, 2012


18Figure 11.  Average Gatewell & Forebay temperatures at McNary Dam, June 15 – August 31, 2012


19Figure 12.  Average collection channel temperatures at McNary Dam, 2008- 2012


20Figure 13.  McNary Dam collection channel temperatures, August 14 – 20, 2012


20Figure 14.  Differences in temperatures between Unit 1 and Unit 12 in the collection channel at McNary Dam, June 16 – August 31, 2012


21Figure 15.  Differences in temperatures between Unit 1 and Unit 12 in the collection channel at McNary Dam, 2011 vs. 2012


21Figure 16.  McNary Dam gatewell & collection channel temperatures at turbine Unit 12,


21August 14 - 27, 2012


22Figure 17.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 12, July 15 – August 27, 2012


22Figure 18.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 8, July 15 – August 31, 2012


23Figure 19.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 1, July 15 – August 31, 2012


24Figure 20.  Temperature differentials between collection channel & separator at McNary Dam, June 16 - August 31, 2012


24Figure 21.  Separator temperatures vs. raceway 1 temperatures at McNary Juvenile Fish Facility, June 15 - August 31, 2012


25Figure 22.  Collection Channel at Unit 1 and Navigation Wingwall Differential at McNary Dam, June 15 – August 15, 2012


26Figure 23.  Average Tailwater Temperatures vs. Raceway Temperatures at McNary Juvenile Fish Facility, August 16 - 31, 2012


30Figure 24.  Turbine Unit 1 Gatewell Temperatures & Sample Tank Percent Mortality, June 15 – 30, 2012


30Figure 25.  Juvenile Fish Sampled at McNary Dam with Percentage of Mortality, June 15 - 30, 2012




List of Tables

11Table 1.  Monthly air temperatures ((F) & wind velocity (mph) at McNary Dam, 2008 – 2012


14Table 2.  Monthly Forebay water temperature averages at McNary Dam, 2007 - 2011


19Table 3.  Collection Channel water temperatures at McNary Dam, 2007 - 2011


26Table 4.  Comparison of Raceway Temperatures vs. Barge Dock Temperatures at McNary Juvenile Fish Facility, 2008 – 2012


27Table 5.  McNary Juvenile Fish Facility Average laboratory water temperatures, June 15 - August 31, 200 - 2012


28Table 6.  McNary Dam collection, mortality, and passage of fall Chinook, June 15 – August 31, 2008 - 20121


29Table 7.  McNary Dam Collection Fall Chinook, June 15 – August 31, 2008 - 2012




ACKNOWLEDGMENTS

This report was accomplished only with aid from the McNary staff.  Les Layng always does a great job of helping out with the technical issues of preparing, downloading probes and compiling data.  Denise Griffith went out early mornings to download probes.  Bobby Johnson and the Corp of Engineers crew at the Juvenile Fish Facility were always available for anything that was needed.
INTRODUCTION


McNary Dam, located at river mile 292 of the Columbia River, is the first hydroelectric project downstream of the confluence of the Snake and Columbia Rivers.  McNary Dam is 7,365 feet long, and rises approximately 183 feet above the streambed.  It consists of a 14 turbine Unit powerhouse, a 22 bay spillway, a navigation lock, and an earthen fill embankment at the Oregon (south) abutment.  The dam raises the water surface approximately 85 feet creating Lake Wallula, which extends 64 miles upstream to the Hanford Reach on the Columbia River and to Ice Harbor Dam on the Snake River.  Lake Wallula has a water surface area of 38,800 acres with 242 miles of shoreline.


The McNary powerhouse is equipped with extended-length submersible bar screens (ESBS) to guide fish into the gatewells of each turbine Unit.  There are three vertical gatewell slots (A, B, and C) for each turbine Unit.  From the gatewells, water and fish enter the collection channel through 12-inch orifices that leads to a wet separator at the juvenile fish facility (JFF) for separation of fish by size and return of adults to the river.  The juvenile fish can be routed back to the river or held in raceways for transport by barge or truck to release locations below Bonneville Dam.  


Since 1987, Washington Department of Fish & Wildlife (WDFW/PSMFC) has recorded water temperatures across the powerhouse from June 15 through August 31 of each year.  This work has been conducted to identify thermal gradients at the McNary Project that might be detrimental to juvenile fish entering the project and fish facility.  Water temperatures were recorded from the scrollcase of all 14 turbine Units.  Prior to 1998, water temperatures were recorded with a dissolved oxygen meter in the B gatewell slot of each turbine Unit, and the forebay surface at odd numbered turbine Units at 1:00 p.m. each day.  Since 1998, temperature monitoring efforts have been expanded over the full 24 hours of each day to recover temperature information using electronic temperature probes.  In 2006, the decision was made to move to MadgeTech Temp1000(.  Over the years as the Stowaway® battery has failed, that probe has been replaced with a Temp1000(.  In 2012, all 36 probes were MadgeTech Temp1000(.
Objectives


The specific objectives at McNary Dam for 2012 were to:

1) Monitor typical temperature patterns in the forebay, tailrace, collection channel, and juvenile fish facility of McNary Dam.

2) Monitor the effects of forebay temperatures on turbine Unit gatewell water temperatures.

3) Monitor the effects of wind speed and air temperature on water temperatures and the creation of thermal gradients at the McNary Dam.

4) Locate areas where thermal gradients are present at McNary Dam and within the juvenile fish facility.

5) Monitor water temperatures in the raceways and the separator.

6) Monitor increased temperature gradients at McNary Dam that might pose a threat to increased mortality at the JFF.
Methods


MadgeTech Temp1000( temperature data loggers were installed at 36 locations throughout the McNary Project and Juvenile Fish Facility (JFF).  It is accurate to +/- 0.5(C at any temperature.  The range is -40 ~ +80(C.  Probes located at the Project and JFF were set to record temperatures at 30-minute intervals.
Temperature probes were downloaded each day for in-season evaluation of thermal gradients at the Project.  A weather station is located on top of the JFF building to record air temperatures and wind speed.  The weather station recorded temperatures on 30-minute intervals to correspond to water temperature information.  Weather information was downloaded every day.  All data presented in this report, unless stated otherwise, was from June 15 through August 31, 2012.

MadgeTech Temp1000( data recorders were positioned in the following locations at McNary Dam in 2012 (Figure 1):

1) In front of spillbay 21, 17, 12, 7 and 2 approximately 5 feet below the surface.  These probes were hung in the center of the spillbay, on the tailrace side.  

2) Forebay, near elevation 335 approximately 5 feet below the surface.  These are attached to the pier noses in front of turbine Units 1, 3, 5, 7, 8, 10, 12 and 14.  

3) Attached to the handrail in the center of the “B” turbine gatewell slots, approximately 2 to 3 feet below the surface, in turbine Units 1, through 14.  

4) The collection channel had probes installed at turbine Units 12, 8 and past Unit 1 at the beginning of the transition screen.

5) Fish separator.

6) Transport holding raceway #1 at a depth of 2 – 3 feet.

7) The barge transportation dock

8) The wingwall of the navigation lock on the tailrace side of the dam.  This was placed 5 feet below the water surface.

9) Tailwater locations were at turbine Unit 1 and 14 (tailrace).  These were placed 5 feet below the water surface.

[image: image1.png]Juvenile! Flsh
Collection! Channel

Fish. ik J
Counling Station! Oregon Shore |
Flsh Ladder Fish C:cunung

n / Stltlnn

Entrances.  Flshway

Entrances Juvenile Fish

Separator
Washington

Shore Fish Ladder.
Juvenlle Fish

Transportation
Facility

E ® Temperature Sensors




Figure 1.  Placement of temperature data recorders at McNary Dam, 2012
Weather


Air temperature and wind velocity have been identified as critical components impacting thermal gradients at McNary Dam (Hoffarth 1999).  Mild (3–5 mph) to moderate (6–10 mph) wind velocities help to break up major temperature differences that may appear between the forebay and the gatewell.  When ambient air temperature exceeds 90 (F, thermal gradients may occur.  Light winds (>3 mph), can break up these gradients (Figure 2).
[image: image2.wmf]0

0

.

5

1

1

.

5

2

2

.

5

3

3

.

5

4

0

2

4

6

8

10

12

14

16

18

20

21

-

Jun

22

-

Jun

24

-

Jun

25

-

Jun

27

-

Jun

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

M

P

H

Unit 

7 

F

Wind Avg


Figure 2.  Differences in degrees Fahrenheit between forebay & gatewell, with wind, at McNary Dam, June 21 – 27, 2012

The 2012 season was the 14th year WDFW/PSMFC has recorded complete and accurate weather information at McNary Dam.  The weather station was located at the JFF immediately below the powerhouse on the Oregon shore.  All of the data was retrieved.

Mean daily air temperatures in June, July and August were 66.4, 73.6 and 74.5(F respectively.  The highs were 88.6, 98.7 and 103.6(F (Table 1).  July saw 12 days of 90(F or greater day time temperatures; August had 12 of 31 days above 90(F.  Two days in July and three in August had an accompanying 3mph breeze to break up thermal gradients.
[image: image3.wmf]0

5

10

15

20

25

0

20

40

60

80

100

120

6

/

15

6

/

22

6

/

29

7

/

6

7

/

14

7

/

21

7

/

28

8

/

5

8

/

12

8

/

19

8

/

26

M

P

H

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Air Temp

Wind


Figure 3.  Air temperatures ((F) & wind velocity (mph) at McNary Dam, June 15 – August 31, 2012
Table 1.  Monthly air temperatures ((F) & wind velocity (mph) at McNary Dam, 2008 – 2012
	
	Daily
	Maximum
	Minimum
	Maximum
	Minimum
	Days
	Wind

	Month
	Average
	Average
	Average
	Range
	Range
	>90F
	Average

	June*
	
	
	
	
	
	
	

	2012
	66.4
	78.2
	55.6
	70.3–88.6
	49.1–64.3
	0
	4.1

	2011
	65.6
	78.1
	55.1
	70.6-89.3
	48.0-62.0
	0
	4.1


	2010
	66.5
	78.8
	56.2
	65.2-90.5
	47.6-61.8
	1
	2.9

	2009
	68.9
	81.7
	57.6
	70.3-92.5
	50.5-64.2
	1
	3.4

	2008
	65.5
	78.4
	54.1
	56.6-98.2
	47.1-69.8
	4
	4.1

	July
	
	
	
	
	
	
	

	2012
	73.6
	88.4
	61.7
	72.1–98.7
	49.5-69.6
	12
	2.9

	2011
	70.1
	84.1
	58.5
	74.7-94.7
	50.8-66.0
	6
	2.8

	2010
	74.0
	88.4
	61.1
	73.5-102.5
	50.8-70.9
	15
	2.0

	2009
	76.8
	91.8
	63.5
	77.7-100.4
	54.7-76.7
	20
	3.0

	2008
	74.5
	88.3
	62.1
	79.6-96.3
	52.9-70.6
	15
	2.6

	August
	
	
	
	
	
	
	

	2012
	74.5
	90.1
	61.6
	77.6-103.6
	49.1-72.1
	18
	2.2

	2011
	74.0
	88.6
	62.6
	74.2-97.5
	53.9-73.0
	13
	2.2

	2010
	72.9
	85.9
	61.1
	68.4-100.4
	51.5-72.3
	11
	1.7

	2009
	74.6
	88.1
	63.3
	75.8-103.1
	54.8-75.1
	12
	2.0

	2008
	72.7
	86.5
	60.8
	71.3-101.0
	49.8-68.1
	12
	3.0


*Report period begins June 15
Project Discharge & Spill


Total project discharge during the temperature monitoring period (June 15 – August 31) averaged 287.0kcfs in 2012.  In 2011, the flow averaged 302.0kcfs (Figure 4).  The target flows set by National Marine Fisheries Service Biological Opinion states that during the spring (April 20 - June 30) will be 220 – 260kcfs.  McNary flows for the period averaged 348.5kcfs.  From June 15 to June 30, flows averaged 363.0kcfs.  According to the Biological Opinion, ideal target flows for July 1 through August 31 should average 200kcfs.  Flows for this period were 267.3kcfs.  The average percentage of project discharge diverted through the spill in 201 was 56.1%, compared to 58.7% in 2011 (Figure 5).  This was the seventh year that there was a spill program mandated by the court.  It was stated that 50% of the flow will be spilled and the remainder for power generation.  

[image: image4.wmf]0

.

0

100

.

0

200

.

0

300

.

0

400

.

0

500

.

0

600

.

0

15

-

Jun

29

-

Jun

13

-

Jul

27

-

Jul

10

-

Aug

24

-

Aug

K

C

F

S

2008

2009

2010

2011

2012


Figure 4.  Project discharge for McNary Dam, 2008 - 2012
[image: image5.wmf]30

.

00

%

40

.

00

%

50

.

00

%

60

.

00

%

70

.

00

%

80

.

00

%

15

-

Jun

29

-

Jun

13

-

Jul

27

-

Jul

10

-

Aug

24

-

Aug

P

e

r

c

e

n

t

a

g

e

2008

2009

2010

2011

2012


Figure 5.  Percent spill at McNary Dam, 2008 – 2012
Thermal Profiles at the Powerhouse


Forebay and gatewell water temperatures were recorded every half hour using MadgeTech Temp1000( temperature data loggers.  This data was recorded in the “B” gatewell slot of all 14 turbine Units and the forebay surface water in front of turbine Units numbered 1, 3, 5, 7, 8, 10, 12 and 14.  Temperatures are also recorded from the mercury thermometers on the scrollcase of each turbine Unit.  Using this data, a daily cross sectional thermal profile of water temperatures at the powerhouse was constructed.  This information was then used to identify thermal gradients at the project.  The temperature profiles are relatively good indicators of thermal stratification.  They also reveal the dynamics of water temperature movements at the powerhouse, peak daily temperatures and identify locations of critical thermal gradients.  This data enables the generation of temperature profiles across the powerhouse during a full 24-hour period.
In previous years, surface water temperatures in the forebay at McNary Dam increases during the day and peaks in the late afternoon or evening (Figure 6).  The trend for river water temperatures in the gatewells and in the forebay across the McNary powerhouse on warm days is cooler river water temperatures at the northern end of the powerhouse (turbine Unit 14) and warmer temperatures toward the southern end (turbine Unit 1).  Turbine Unit operations influence temperature patterns as well.
[image: image6.wmf]64

66

68

70

72

0

:

00

:

00

4

:

00

:

00

8

:

00

:

00

12

:

00

:

00

16

:

00

:

00

20

:

00

:

00

d

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1 

F

Unit 

3 

F

Unit 

5 

F

Unit 

7 

F

Unit 

8 

F

Unit 

10 

F

Unit 

12 

F

Unit 

14 

F


Figure 6.  Forebay temperatures at McNary Dam, July 21, 2012

Figure 7 was made by taking the gatewell water temperature in the turbine Unit and subtracting the gatewell water temperature of Unit 14 from it.  This was done for every turbine starting with Unit 1 and continuing down through turbine Unit 13.  The differences for five of the Units are graphed below.  A negative number indicates that gatewell water temperatures in turbine Unit 14 were warmer.  It is possible to have the differences in a Unit go from positive to negative in one day.
[image: image7.wmf]-

10

-

8

-

6

-

4

-

2

0

2

4

11

-

Aug

12

-

Aug

14

-

Aug

15

-

Aug

17

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1

Unit 

4

Unit 

8

Unit 

10

Unit 

13


Figure 7.  Temperature differences, in degrees Fahrenheit, in 5 gatewells across the McNary powerhouse, August 25 – 31, 2012*
*Unit 8 was off all season.
Forebay & Gatewell Temperature Profiles


Temperatures were recorded every half hour in the forebay at powerhouse turbine Units 1, 3, 5, 7, 8, 10, 12, 14, and spillbays 22, 17, 12, 7, and 2 during 2012.  Temperature probes were located at elevation 335, up to five feet below the surface.  In the spillbays, the probes were deployed on the leafgate side between the gate and the side of the roadway.  Gatewell probes were located in the center of the “B” slot of each turbine Unit, approximately three feet down.  They also recorded temperatures every half hour.  Average forebay temperatures in 2012 were: June, 59.2, July, 62.4 and August, 69.2 (Table 2).
Table 2.  Monthly Forebay water temperature averages at McNary Dam, 2007 - 2011

	Year
	June
	July
	August

	2012
	59.2
	62.4
	69.2

	2011
	58.2
	63.3
	69.3

	2010
	60.1
	67.6
	71.3

	2009
	63.4
	70.3
	71.8

	2008
	60.3
	66.9
	70.4


[image: image8.wmf]52

58

64

70

76

82

15

-

Jun

29

-

Jun

14

-

Jul

28

-

Jul

12

-

Aug

26

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1 

F

Unit 

5 

F

Unit 

8 

F

Unit 

10 

F

Unit 

14 

F


Figure 8.  McNary Dam forebay temperatures in degrees Fahrenheit, June 15 – Aug. 31, 2012
The powerhouse turbines draw the warmer surface water from the forebay toward the fish screens and gatewell slots when in operation (Meyer 1989).  Therefore, gatewell temperatures do follow the same trend as the corresponding forebay temperatures (Figure 9), climbing during the day and into the evening hours.  Around midnight temperatures take a significant drop, cooling down during the morning hours.  This is the coolest portion of the day, just before dawn.  The decrease in river temperatures is most prominent at the southern end of the powerhouse, mostly at turbine Unit 1 (Figure 10).  

[image: image9.wmf]66

68

70

72

74

25

-

Aug

27

-

Aug

29

-

Aug

31

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Gatewells

Forebay


Figure 9.  An average of temperatures across all 14 turbine Units at McNary Dam, 
August 25 – 31, 2012
[image: image10.wmf]66

68

70

72

74

0

:

00

:

00

10

:

00

:

00

20

:

00

:

00

6

:

00

:

00

16

:

00

:

00

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1

Unit 

1 

F


Figure 10.  Forebay & Gatewell Temperatures at Unit 1 at McNary Dam, from August 29 - August 30, 2012
Effects of Forebay Water Temperatures on Project Temperatures and Thermal Gradients

Historically, water temperatures in the gatewells were similar to temperatures in the adjacent forebay, even though the gatewell temperatures typically did not elevate to the extremes recorded in the forebay (Figure 11).  The high in the forebay was 78.3(F at 4:00 pm on August 11 in front of turbine Unit 1.  The high in the gatewell was 76.3(F in turbine Unit 1 also on August 11 at 4:00 pm.  With the onset of warming weather, there can be large water temperature gradients between the forebay and the gatewell.  The gradients that are 8, 10, 12(F between forebay and gatewell are the significant factor that stress fish, and can cause mortality.  The largest gradient was 9.5(F in Unit 7.  This occurred July 5 at 2:30 p.m.  Fish were not being collected in the raceways for transportation at that time.  Fish being held in the sampling tanks did not show any increase in mortality.  In 2011 the high in the forebay was 80.9(F and the high in the gatewells was 77.0(F.  

[image: image11.wmf]55

60

65

70

75

80

15

-

Jun

22

-

Jun

30

-

Jun

8

-

Jul

16

-

Jul

24

-

Jul

1

-

Aug

9

-

Aug

17

-

Aug

24

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Forebay

Gatewells


Figure 11.  Average Gatewell & Forebay temperatures at McNary Dam, June 15 – August 31, 2012
Collection Channel


Each turbine Unit has three gatewells (A, B, and C) and each gatewell has a north and south orifice which discharge into the collection channel.  In order to not overflow the collection channel, only one orifice is open per gatewell.  Temperature probes are installed at three locations in the collection channel, downstream of turbine gatewell orifice marked 12B south, 8B south and downstream of the incline dewatering screen, Unit 1 (Figure 12).
[image: image12.wmf]54

58

62

66

70

74

78

82

15

-

Jun

22

-

Jun

30

-

Jun

8

-

Jul

16

-

Jul

24

-

Jul

1

-

Aug

9

-

Aug

17

-

Aug

24

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

2008

2009

2010

2011

2012


Figure 12.  Average collection channel temperatures at McNary Dam, 2008- 2012
Water temperatures averaged 64.8(F in the collection channel from June 15 through August 31, compared to 64.1 in 2011.  Collection channel water temperature did not reach 70(F until August 3, the same as last year.  The warmest temperature recorded this season was 71.8(F.  It was recorded on August 17 at 4:00 pm below turbine Unit 12 (Figure 13).
Table 3.  Collection Channel water temperatures at McNary Dam, 2007 - 2011
	Year
	Average
	High
	Date

	2012
	64.8
	71.8
	17-Aug

	2011
	64.1
	72.7
	27-Aug

	2010
	66.6
	74.1
	4 & 16-Aug

	2009
	70.7
	76.8
	28-Jul

	2008
	66.3
	75.8
	16-Aug


[image: image13.wmf]68

70

72

74

14

-

Aug

15

-

Aug

17

-

Aug

19

-

Aug

20

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1

Unit 

8

Unit 

12


Figure 13.  McNary Dam collection channel temperatures, August 14 – 20, 2012
Temperature gradients between turbine Unit 1 and turbine Unit 12 within the collection channel averaged -0.7(F (range 1.6 to –3.8) during the monitoring period (Figure 14).  A negative number indicates that turbine Unit 12 was warmer.  Temperature differences in the collection channel between Unit 12 on the northern end and Unit 1 on the southern end exceeded 2.0(F on 10 days.  Of those days, 2 had hours where the temperature exceeded 3.0(F.  This was in comparison to 2011, which exceeded 2 degrees on 13 occasions and exceeded 3 degrees 3 times.  The maximum temperature gradient recorded between turbine Unit 1 and 12, was -3.8(F on July 10, at 3:30pm, where Unit 12 was warmer than Unit 1.  For 2011, the largest gradient was -4.1(F.  The differences in water temperatures between turbine Unit 1 and Unit 12 can be compared to last year (Figure 15).
[image: image14.wmf]-

5

.

0

-

4

.

0

-

3

.

0

-

2

.

0

-

1

.

0

0

.

0

1

.

0

2

.

0

16

-

Jun

23

-

Jun

1

-

Jul

8

-

Jul

15

-

Jul

23

-

Jul

30

-

Jul

6

-

Aug

13

-

Aug

21

-

Aug

28

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t


Figure 14.  Differences in temperatures between Unit 1 and Unit 12 in the collection channel at McNary Dam, June 16 – August 31, 2012
[image: image15.wmf]-

6

.

0

-

4

.

0

-

2

.

0

0

.

0

2

.

0

15

-

Jun

22

-

Jun

29

-

Jun

7

-

Jul

14

-

Jul

22

-

Jul

29

-

Jul

5

-

Aug

13

-

Aug

20

-

Aug

28

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

2011

2012


Figure 15.  Differences in temperatures between Unit 1 and Unit 12 in the collection channel at McNary Dam, 2011 vs. 2012
Temperature Gradients at the Orifice Discharge


Previous temperature profiling identified water temperature gradients between the turbine Unit gatewells and the collection channel (Hoffarth 1999).  Water temperatures in the gatewells vary depending on turbine Unit location, operation and weather.  As previously described, temperature probes were placed at three locations in the collection channel.  The water temperature within the collection channel at any one point reflects the mixture of water drawn in from the upstream gatewell orifices.  Thermal gradients most commonly occurred at the southern end of the powerhouse at turbine Unit 1, however temperature gradients can also occur at the northern (turbine Unit 12 & 14) and center portions (turbine Unit 6, 7 & 8) of the collection channel.  Thermal gradients developed frequently when air temperatures exceeded 90°F.  This was especially true when there was no wind and one or more turbine units were operating.  Water temperatures in the gatewells and collection channel at the northern end of the powerhouse were usually similar (Figure 16).
[image: image16.wmf]
Figure 16.  McNary Dam gatewell & collection channel temperatures at turbine Unit 12, 
August 14 - 27, 2012
The gradients between the gatewell and collection channel at Turbine Unit 12 ranged from 2.0 to –2.5ºF, where a negative number indicates that the channel was warmer (Figure 17).  At Unit 8, gradients were from 1.3 to –4.0 (Figure 18) and turbine Unit 1, ranged from 5.4 to –2.9 ºF (Figure 19).
[image: image17.wmf]-

4

.

00

-

2

.

00

0

.

00

2

.

00

4

.

00

6

.

00

15

-

Jul

22

-

Jul

29

-

Jul

6

-

Aug

13

-

Aug

21

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t


Figure 17.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 12, July 15 – August 27, 2012
[image: image18.wmf]-

4

.

00

-

2

.

00

0

.

00

2

.

00

4

.

00

6

.

00

15

-

Jul

22

-

Jul

29

-

Jul

6

-

Aug

13

-

Aug

21

-

Aug

28

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t


Figure 18.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 8, July 15 – August 31, 2012
[image: image19.wmf]-

4

.

00

-

2

.

00

0

.

00

2

.

00

4

.

00

6

.

00

15

-

Jul

22

-

Jul

29

-

Jul

6

-

Aug

13

-

Aug

21

-

Aug

28

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t


Figure 19.  Temperature differentials between gatewell & collection channel at McNary Dam, turbine Unit 1, July 15 – August 31, 2012
Juvenile Fish Facility

Because portions of the juvenile fish facility are always exposed to direct sunlight, temperature loggers were installed in the separator and raceway 1 at the McNary JFF to monitor the water temperature that may be affected by solar radiation or ambient air temperatures.  The temperatures that these probes record can be compared to the temperatures recorded from the probes located in the collection channel at the beginning of the inclined dewatering screen which is directly down from Unit 1.

Collection Channel vs. Separator

The dewatering structure at the wet separator of the McNary JFF eliminates most of the water from the 36-inch transport pipe allowing only the fish and a small amount of water to reach the separator.  Water in the separator is maintained by a series of upwells supplied by water from the collection channel.  Temperature differentials ranged from 0.7 to –0.9(F (Figure 20).  There was never a full degree Fahrenheit difference between the collection channel and the separator.  The one day in particular that stands out is August 11.  It had both the maximum differential and the minimum between the hours of 4:00p.m. and 6:30p.m.  August 19 had a difference of 0.9(F for one hour between 9:30 and 10:30p.m.
[image: image20.wmf]-

1

-

0

.

5

0

0

.

5

1

16

-

Jun

2

-

Jul

17

-

Jul

2

-

Aug

18

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t


Figure 20.  Temperature differentials between collection channel & separator at McNary Dam, June 16 - August 31, 2012
Separator vs. Raceway

Excess water in the collection channel is removed by the inclined dewatering screen and some of it is used for operation of the JFF, providing inflow for the separator and holding raceways.  Most of the raceways are covered, but those on the far west side are exposed to direct sunlight especially during the late afternoon.  A temperature logger was located in the separator and at the downstream end of raceway 1, the raceway with the highest exposure to direct sunlight.  The water exchange rate in a raceway with normal diffuser inflow was about 15 to 20 minutes.  On the average, water temperatures at the separator showed little difference from the raceway (Figure 21).  There did seem to be a consistent 0.5(F difference all season.  This was attributed to a calibration issue.
[image: image21.wmf]56

58

60

62

64

66

68

70

72

15

-

Jun

22

-

Jun

30

-

Jun

8

-

Jul

16

-

Jul

24

-

Jul

1

-

Aug

9

-

Aug

17

-

Aug

24

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

RW 

1

Sep


Figure 21.  Separator temperatures vs. raceway 1 temperatures at McNary Juvenile Fish Facility, June 15 - August 31, 2012
Tailrace

Temperature loggers were installed in the tailrace below the project at four locations: the barge loading dock, below turbine Unit 1 and 14 and at the wingwall downstream of spillbay 1.  Tailrace temperatures averaged 64.0(F, with a peak temperature of 69.8(F on August 18 at 6:30p.m., below turbine Unit 1.  With the advent of a new primary bypass pipe, fish no longer exit directly in front of the turbine units.  They now exit the flume just above the boat restricted zone line.  A comparison of the water temperature at the end of the collection channel and the navigation lock wingwall in the tailrace shows a differential between range 2.5(F and -2.2(F.  A negative number indicates that the wingwall was warmer (Figure 22).
[image: image22.wmf]-

3

.

00

-

2

.

00

-

1

.

00

0

.

00

1

.

00

2

.

00

3

.

00

16

-

Jun

22

-

Jun

28

-

Jun

4

-

Jul

10

-

Jul

16

-

Jul

22

-

Jul

28

-

Jul

3

-

Aug

9

-

Aug

15

-

Aug


Figure 22.  Collection Channel at Unit 1 and Navigation Wingwall Differential at McNary Dam, June 15 – August 15, 2012
Holding for Transport

Juvenile salmonids are held in raceways at the McNary JFF prior to loading into the fish transportation barge and truck.  Fish may be held up to 48 hours before loading and transport.  Data collected from previous years shows daily fluctuations in water temperatures in the raceways.  Fish collected within the first 12 hours of a 48-hour holding period are often subjected to two daily increases in water temperature.
The water temperatures were recorded in Raceway 1 and at the barge dock, tailwater of Unit 1 and 14 and the wing wall of the navigation lock.  The following graph (Figure 23) shows that there are greater highs and lows in the raceway.  As opposed to the average of the tailrace that is not quite so drastic.  When comparing the average temperature of the tailwater with Raceway 1, there were differences as great as -3.1(F indicating that the tailrace was cooler on that particular day than raceway 1.  Average water temperature in the raceway was 64.9(F with a maximum temperature of 71.8(F.  The average river temperature in the tailrace was 64.0(F with a maximum temperature of 69.8(F.  The temperatures at the barge dock can be directly compared to the temperatures in Raceway1 (Table 4).  Transportation by barge did not occur this season.  Transportation by truck began August 18.  It is not common practice to hold fish in Raceway 1 because of warming in the afternoons.
[image: image23.wmf]66

68

70

72

16

-

Aug

19

-

Aug

22

-

Aug

25

-

Aug

28

-

Aug

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

RW 

1

Tailwater Avg.


Figure 23.  Average Tailwater Temperatures vs. Raceway Temperatures at McNary Juvenile Fish Facility, August 16 - 31, 2012
Table 4.  Comparison of Raceway Temperatures vs. Barge Dock Temperatures at McNary Juvenile Fish Facility, 2008 – 2012
	
	Raceway 1
	Barge Dock

	Year
	Average
	Maximum
	Average
	Maximum

	2012
	64.9
	71.8
	64.3
	69.8

	2011
	64.0
	72.0
	63.7
	71.0

	2010
	66.3
	72.7
	66.1
	72.5

	2009
	70.1
	74.1
	69.8
	73.1

	2008
	66.7
	72.9
	65.9
	72.0


River Temperature and Fish Passage Timing


Water temperatures are recorded at 7:00 am in the wet lab and reported to the Corps of Engineers on a daily basis. These temperatures reflect the temperature at the time of sampling in the fish sampling lab at the Juvenile Fish Facility (JFF).  The water in the lab is fed from water removed by the inclined dewatering screen in the collection channel.  Water temperatures at 7:00 a.m. are typically the coolest temperatures encountered at the JFF each day.  Therefore, these water temperatures reported should be considered minimum temperatures.  They do not provide information on daily maximum, minimum or fluctuations of water temperatures at the project.  Water temperatures recorded in the wet lab during the temperature profiling season were cooler than the recorded averages (Table 5).  

Table 5.  McNary Juvenile Fish Facility Average laboratory water temperatures, June 15 - August 31, 200 - 2012
	
	2008
	2009
	2010
	2011
	2012

	June
	58.3
	61.6
	58.7
	57.1
	58.3

	July
	65.0
	67.9
	65.4
	61.9
	62.9

	August
	69.0
	70.4
	69.8
	67.7
	67.8


Migration of juvenile fall Chinook, particularly wild fall Chinook from the Hanford Reach to McNary Dam is strongly tied to temperature.  During cooler water years fall Chinook rear for a longer period and migrate later.  During warm water years, the fish grow faster and begin the downstream migration sooner.  Both of these scenarios typically have the same result; fish arrive at McNary during critical temperature periods.  

Comparison of water temperatures and mortality rates for juvenile salmonids at the McNary fish facility from previous years suggests that temperature was related to mortality.  Previously, years with warmer water temperatures corresponded to the highest mortality rates for subyearling fall Chinook at the McNary JFF.  Lower mortality was often associated with cooler water years with juvenile fall Chinook.  The critical migration period in regards to thermal gradients occurs from mid-June to early August.  At this time river temperatures at depth in the McNary forebay are in the tolerance zone for salmonids, 58(F - 66(F (Brett, 1952), but increased air temperatures elevate water temperatures at the surface during the afternoon creating thermal gradients in the forebay.  Project operation, air temperature and wind combine to determine the movements and interactions of these cool and warm areas of water.  


Fish passage timing can be critical to the mortality equation but earlier passage does not necessarily correspond to cooler river temperatures and decreased mortality (Table 6).  The outmigration this year was effected by primary bypass and spill from August 15 – 31.  Without collection for transport by barge, the facility continued to operate in every-other-day mode.  This also affected the mortality percentage as without collection in the raceways, the mortalities are not enumerated.  Therefore, the volume of mortality is very limited.  The largest day of mortality, 6.2%, was taken from the sample tank, because that is the only place mortalities would have accumulated for a 24-hour period.

Table 6.  McNary Dam collection, mortality, and passage of fall Chinook, June 15 – August 31, 2008 - 20121
	
	
	System
	Passage

	Year
	Collection
	Mortality
	% Mortality
	25%
	50%
	75%
	90%

	2012
	1,238,437
	1,156
	<0.1
	3-Jul
	20-Jul
	8-Aug
	21-Aug

	2011
	2,173,108
	40,776
	1.9
	12-Jul
	24-Jul
	31-Jul
	11-Aug

	2010
	1,787,545
	6,686
	0.4
	24-Jun
	8-Jul
	20-Jul
	12-Aug

	2009
	1,732,248
	35,318
	2.0
	27-Jun
	11-Jul
	18-Jul
	28-Jul

	2008
	1,123,031
	8,698
	0.8
	28-Jun
	10-Jul
	22-Jul
	14-Aug


1These numbers are reflective of only the dates of this report, not the whole season.
Fish Condition

The migration of juvenile salmonids June 15 – August 31, through the McNary fish facility was dominated by subyearling fall Chinook (99.3%).  The condition of fish prior to arrival at McNary may determine their ability to cope with the added stresses, thermal and physical, during passage through the fish collection system.  Although the overall health of a fish cannot be determined as far as assessing disease and internal issues, external injuries and descaling can.  The percentage of subyearling fall Chinook that were descaled by either concrete structures or predators during the 2012 temperature monitoring period was 1.4%.  In 2011, it was 1.4%.  In 2012, there were 4,274 subyearling Chinook examined between June 15 and August 31 for detailed injuries.  Of those, 272 fish, 9.3%, had injuries, diseases or parasites.  This season the most common injury was a general group called diseases.  This could include anything from hemorrhaging to parasites.
Collection

All fish guided into the McNary JFF are bypassed into the tailrace below the dam from the start of fish facility operation in the spring until it is deemed necessary to transport (Fish Passage Plan, 2012).  Collection and holding of fish in raceways for the juvenile fish transportation program began on August 17 at 0700 hours, when transportation by truck was initiated.
A portion of the daily collection is diverted to the sample holding tanks for examination of fish condition and extrapolation of species passage through the project.  Every-other-day sampling was continued through August 16.  Every day sampling was initiated when collection for transportation began.  According to sampling guidelines, 300 – 500 fish are to be sampled.  The sample rate ranged from 0.0% to 5.0% from June 15 through August 31 in 2012.  A total of 1,238,437 juvenile salmonids were collected during the temperature monitoring period (Table 7).  Of those 1,229,268 were subyearling fall Chinook
Table 7.  McNary Dam Collection Fall Chinook, June 15 – August 31, 2008 - 2012
	
	
	Subyearling
	Peak
	

	
	Collection
	Chinook
	Collection
	Date

	2012
	1,238,437
	1,229,268
	89,405
	20-Jul

	2011
	2,173,108
	2,161,211
	111,300
	24-Jul

	2010
	1,787,545
	1,767,622
	195,570
	26-Jun

	2009
	1,747,186
	1,732,248
	155,999
	20-Jun

	2008
	1,123,031
	1,106,042
	99,008
	6-Jul


Mortality


Sample tank mortality is the best indicator of mortality when in bypass mode.  Sample tank mortality includes fish mortalities removed from the sample holding tank prior to sampling and mortality due to sampling activities.  During early season bypass operation, mortality rates are only available from the daily sample as all other fish are returned directly to the tailrace.  System mortality includes all mortalities recovered from the transport holding raceways, the sample and during bypass, the separator.

During collection operations, system mortality provides the best indication of overall mortality at the JFF, but it is often difficult to assess on a daily basis when in bypass operations.  Fish are held in raceways at the facility prior to loading for transport.  Mortalities can be removed from the tailscreens continually during collection but can only be removed from the raceway floor during loading.  Barges are loaded every other day and trucks are often loaded on alternate days to alleviate stress.  The mortalities removed from the raceway floor during loading can accumulate over a two-day collection period; however collection and mortality are reported daily.  As a result, on transport days, two days of raceway mortality was reported, which may bias the daily estimates of system mortality.  Collections of juvenile fish at the facility can vary by as many as 300,000 fish between days.  The daily reported mortality percentage can be over or underestimated when collection or mortality percentages vary during these two-day periods.  Therefore, a two-day average is best when looking at facility mortality.  


Another consideration when looking at the reporting of mortality is to ascertain when the mortality occurred and the date it is reported.  Temperature-induced mortality related to passage at the McNary Project was most likely to occur in the afternoon and early evening when temperature gradients are at maximum.  Mortality resulting from a thermal event on day 1 will be reported on day 2.  Mortality that occurred in the evening on June 19 would not be reported until the daily report for June 20.  The graph below illustrates how mortality percentages fluctuate daily even when there are no great fluctuations in temperatures (Figure 24).  Fish were not being collected for transport until August 17.  Therefore, the sample numbers were used to illustrate the mortality that occurred before that date (Figure 25).  It appears that there was a spike in mortality to 6.2% on June 20.  The reason for this is not entirely understood as the gradients were at a minimum for those two days.  From August 18 - 31, fish were trucked every day.
[image: image24.wmf]0

.

0

%

1

.

0

%

2

.

0

%

3

.

0

%

4

.

0

%

5

.

0

%

6

.

0

%

7

.

0

%

55

56

57

58

59

60

61

62

63

15

-

Jun

16

-

Jun

18

-

Jun

19

-

Jun

21

-

Jun

22

-

Jun

24

-

Jun

25

-

Jun

27

-

Jun

29

-

Jun

30

-

Jun

P

e

r

s

e

n

t

 

M

o

r

t

a

l

i

t

y

D

e

g

r

e

e

s

 

F

a

h

r

e

n

h

e

i

t

Unit 

1

% Mortality


Figure 24.  Turbine Unit 1 Gatewell Temperatures & Sample Tank Percent Mortality, June 15 – 30, 2012
[image: image25.wmf]0

.

0

%

1

.

0

%

2

.

0

%

3

.

0

%

4

.

0

%

5

.

0

%

6

.

0

%

7

.

0

%

0

100

200

300

400

500

600

15

-

Jun

16

-

Jun

17

-

Jun

18

-

Jun

19

-

Jun

20

-

Jun

21

-

Jun

22

-

Jun

23

-

Jun

24

-

Jun

25

-

Jun

26

-

Jun

27

-

Jun

28

-

Jun

29

-

Jun

30

-

Jun

P

e

r

c

e

n

t

 

M

o

r

t

a

l

i

t

y

N

u

m

b

e

r

 

S

a

m

p

l

e

d

Fish Sampled

% Sample Mortality


Figure 25.  Juvenile Fish Sampled at McNary Dam with Percentage of Mortality, June 15 - 30, 2012

A total of 1,156 system mortalities were recovered from June 15 through August 31.  This was 0.09% of the 1,238,437 fish collected.  The reason for such a radical difference is because there was no collection for barging this year.  Therefore, there were no mortalities in the raceways to be enumerated.  The highest one-day sample tank mortality percentage was 6.2% on June 20.
Recommendations

Powerhouse Operations

Turbine Unit loading should be kept as uniform as possible across the powerhouse.  North powerhouse loading criteria should be used when turbine Units are taken out of service due to low power demands or flows below powerhouse capacity.  North powerhouse loading should be implemented when forebay water temperatures reach 70°F.  This would be a preventative measure that could be taken in advance of hot weather.  Starting and stopping of turbine Units during critical temperature periods should be conducted from 12:00 midnight to 12:00 noon, 4:00 a.m. to 10:00 a.m. being the most preferred times.  Trashracks should be raked as often as possible.  When temperatures in the raceway consistently average 66°F, every day transport should begin.  This alleviates the stress of being held for more than 24 hours in warm water.
Literature Cited

Brett, J. R.  1952.  Temperature tolerance in young Pacific salmon, genus Oncorhynchus.  Journal of Fisheries Research Board of Canada, 9: 265-323.

Hoffarth, Paul A. Thermal Gradients, Collection, and Mortality at the McNary Project.  October 2000.  Joint study Washington Department of Fish & Wildlife with U.S. Army Corps of Engineers Walla Walla, Washington.  
Meyer, Edward B.  Evaluation of Data Collected on the Thermal Stress Problem for Juvenile Chinook Salmon at McNary Dam, Washington.  CEWES-HS-R (1105-2-10b).  June 1989.

National Marine Fisheries Service (NMFS).  1995. Endangered Species Act – Section 7 Consultation.  Biological Opinion.  Northwest Region, Seattle, Washington. 

PAGE  
32

