 
CENWP-OP-B                                                                                                    25 January 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 3 of 2000, which covers the period 16 through 22 January.
1.  OPERATION SUMMARY.

1.1. Daily average river flow ranged from 193.9 to 209.4 kcfs.  Daily average tailwater elevation for the project ranged from 17.5’ to 18.6’ msl.  River temperature ranged from 41 to 42° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and B-branch ladder, respectively, remain on sill. 

1.2.  Unit 10 remained out of service for stator rewind.  Unit 5 was out of service from 0918-1242 on 16 January due to a flooded turbine bearing.  Units 1, 2, and 3 were out of service from approximately 0700-1700 on 17 through 21 January for divers to install surface collector equipment.  

1.3.  The first powerhouse ice and trash sluiceway remained open for debris removal.  The second powerhouse sluiceway was operated on 16-18 January this reporting week to supply additional AWS water for the PH2 fishway due to fish unit 2 being out of service.  The sluiceway was closed on 18 January when fish unit 2 returned to service. 

1.4.  Second powerhouse fish unit 1 remained in service, fish unit 2 returned to service on 18 January following maintenance. 
2.  ACTIVITIES. 
2.1.  Fish Ladder and DSM Service.  The Bradford Island ladder including A and B-branches remain out of service for winter maintenance.  The PH1 DSM was dewatered for winter maintenance on 18 January and the PH2 DSM and flume remained out of service.

2.2. AWS Closures.  There were no AWS closures this reporting week.   

2.3. Dewaterings and Fish Salvage.  The PH1 DSM was dewatered on 18 January for winter maintenance.  Project biologists recovered approximately 20 juvenile salmonids and several resident fish.  All fish were released in good condition.       

3.  RESEARCH. 
3.1. Normandeau MGR Testing.  Normandeau and Mid-Columbia Consultants continued biological MGR testing at units 5 and 6 this reporting week. 

3.2. WDFW Fish Counting.  WDFW continued 24-h/d video counting at Washington shore. 

4.  FISHWAYS.  Project biologists inspected on 18, 19 and 20 January this reporting week.

4.1. Fish Passage Plan Observations.  There were no Fish Passage Plan deviations this reporting week. 

4.2. Sensor Calibration.  Water level sensors were checked for calibration on 18 January this reporting week.   

4.3. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

2
2

