 
CENWP-OP-B                                                                                                    8 February 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 5 of 2000, which covers the period 30 January through 5 February.
1.  OPERATION SUMMARY.

1.1. Daily average river flow ranged from 189.0 to 235.5 kcfs.  Daily average tailwater elevation for the project ranged from 17.2’ to 19.9’ msl.  River temperature ranged from 39 to 40° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and B-branch ladder, respectively, remain on sill. 

1.2.  Unit 10 remained out of service for stator rewind.  Units 1, 2, and 3 were out of service from approximately 0700-1700 on 31 January and 1 February for divers to install surface collector equipment.  Units 5 and 6 were out of service from 0842-1100 and 0706-0836 respectively, to remove STS’s following biological MGR testing.  

1.3.  The first powerhouse ice and trash sluiceway remained open and the second powerhouse sluiceway remained closed this reporting week. 
1.4.  Second powerhouse fish units remained in service.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
2.  ACTIVITIES. 
2.1.  Fish Ladder and DSM Service.  The Bradford Island ladder including A and B-branches, PH1 DSM, and PH2 DSM and flume remained out of service for winter maintenance.  

2.2. AWS Closures.  FV6-9 was closed from 1010-1538 on 1 February to assist maintenance crews repairing the Washington shore exit sheer boom.   

2.3. Dewaterings and Fish Salvage.  There were no dewaterings or fish salvage this reporting week.       

3.  RESEARCH. 
3.1. WDFW Fish Counting.  WDFW continued 24-h/d video counting at Washington shore. 

4.  FISHWAYS.  Project biologists inspected on 31 January, and 1, 2, and 3 February this reporting week.

4.1. Fish Passage Plan Observations. 

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All Week
PH2 collection channel velocity meter.
Meter was not working and should register 1.5-4.0 fps.
Unknown.
No action taken.

4.2. Sensor Calibration.  Water level sensors were checked for calibration on 3 February this reporting week.   

4.3. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

5. CONSTRUCTION UPDATE.
5.1. The Bradford Island A-branch ladder is scheduled to be watered-up on 7 February.

5.2. The PH2 DSM and flume are now scheduled to be watered-up the week of 14 February.

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

1
2

