 
CENWP-OP-B                                                                                                        18 April 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 15 of 2000, which covers the period 9 April through 15 April.
1.  OPERATION SUMMARY.

1.1. Daily average river flow ranged from 197.1 to 315.0 kcfs.  Daily average spill ranged from 22.3 to 69.3 kcfs on 10 thru 15 April.  Daily average tailwater elevation for the project ranged from 18.1’ to 24.1’ msl.  River temperature ranged from 51 to 52° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and Bradford Island ladder respectively, remain open 4”.

1.2.  First powerhouse unit 10 remained out of service for stator rewind, and unit 18 returned to service on 13 April.   

1.3.  The first powerhouse ice and trash sluiceway remained open until 10 April this reporting week.  The ITS will be closed until 21 April when repairs to the main gate should be completed.   
1.4.  Second powerhouse fish units remained in service this reporting week.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
2.  ACTIVITIES. 
2.1. AWS Closures.  There were no AWS closures this reporting week.

2.2. Dewaterings and Fish Salvage.  There was no dewaterings or fish salvage this reporting week. 

2.3. STS Inspections.  Two units’ STS’s were inspected this reporting week.  All screens were in good condition unless otherwise noted below.  See Table 1.

Unit
Date
Run Hours
Comments

16
4/13
713


13
4/14
720


Table 1.  STS Inspection Data.


3.  RESEARCH. 
3.1. AFC&MF Adult PIT-tag Interrogation.  NMFS installed the 18” orifice inserts on 11 April and will begin testing the following week.  They will be testing 18” and 26” detectors using PIT-tagged adult chinook and steelhead from the lab to get estimates of reading efficiencies for the two orifices.  They will be testing several times throughout the season. 

3.2. AFC&MF Adult Sampling and Tagging.  The University of Idaho continues radio tagging adult chinook.  CRITFC and ODFW began sampling on 12 April this reporting week.  

3.3. PH2 Bypass System Evaluation.  NMFS has completed releasing PIT tagged juvenile chinook and steelhead through the new bypass system.  They will resume releases in early May as part of their post construction evaluation to determine if fish condition is adversely affected by system passage. 

3.4. PSMFC JMF Smolt Monitoring.  NMFS continued 24-h/d PIT tag interrogation at PH2 JMF.  They are collecting fish for approximately 10 minutes per hour and sampling daily at 0800. 

3.5. PSMFC DSM1 Smolt Monitoring.  PSMFC began 24-h/d PIT tag interrogation at PH1 DSM.  They are sampling daily from 1600-2400.

3.6. WDFW Fish Counting.  WDFW continued 16-h/d visual counting at Bradford Island and Washington shore. 

4.  FISHWAYS.  Project biologists inspected on 10, 11, 13, and 14 April this reporting week.

4.1. Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

4/11-4/14
PH1 chain gates
closed
ITS main gate is broken
Main gate should be repaired by 4/21

4.2. Fish Ladder Temperatures.  Readings are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder below the count station at Washington shore.  Temperatures are supplied by The Fisheries Field Unit.
Date
Wash. Shore
Bradford Is.

4/9
9.3
9.3

4/10
9.5
9.5

4/11
9.9
9.8

4/12
10.1
10.1

4/13
10.3
10.3

4/14
10.2
10.2

4/15
10.2
10.1

                                                 Fish Ladder Temperatures ((C) 
4.3. Sensor Calibration.  Water level sensors were checked for calibration on 12 April this reporting week.   Cascades Island Entrance was .5’ low.

4.4. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

//S//

2
2

