 
CENWP-OP-B                                                                                                         16 May 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 20 of 2000, which covers the period 14 through 20 May.
1.  OPERATION SUMMARY.

1.1. Daily average river flow ranged from 240.4 to 282.8 kcfs.  Daily average spill ranged from 78.4 to 95.4 kcfs.  Daily average tailwater elevation for the project ranged from 19.3’ to 21.4’ msl.  River temperature ranged from 56 to 57° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and Bradford Island ladder respectively, remain open 4”.

1.2.  Unit 10 remained out of service and is scheduled to return to service the subsequent reporting week. 

1.3.  The first powerhouse ice and trash sluiceway remained open this reporting week.  PH1 chain gates are being operated according to PSC testing requirements.  The second powerhouse sluiceway was opened from 0900-1030 on 17 May this reporting week.   
1.4.  Second powerhouse fish units remained in service this reporting week.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
2.  ACTIVITIES. 
2.1. AWS Closures.  There were no AWS closures this reporting week.

2.2. Dewaterings and Fish Salvage.  Unit 10 tailogs were removed on 19 May.  Project biologists recovered 13 sturgeon, 11 sculpins, and 2 juvenile steelhead from the tailogs.  All fish were released in good condition.  

2.3. STS Inspections.  Four units’ STS’s were inspected this reporting week.  All screens were in good condition unless otherwise noted below.  See Table 1.

Unit
Date
Run Hours
Comments

1
5/15
756


2
5/15
755


3
5/17
711


4
5/17
699


Table 1.  STS Inspection Data.


3.  RESEARCH. 
3.1. AFC&MF Adult PIT-tag Interrogation.  NMFS removed the 26” orifice inserts and reinstalled the 18” inserts on 17 May this reporting week.  They will resume testing and PIT-tagging adult chinook from the lab to get estimates of reading efficiencies for the two orifice sizes following shad passage season.

3.2. AFC&MF Adult Sampling and Tagging.  The University of Idaho continued radio tagging and tracking adult chinook for their adult telemetry research.  They are currently sampling 7 days per week.  CRITFC and ODFW are sampling adult chinook and steelhead approximately 2 days per week for their age composition research.  

3.3. Fisheries Field Unit Video Monitoring.  The Fisheries Field Unit is assisting NMFS adult PIT-tag interrogation work this year during their testing at the AFC&MF.  They are monitoring submerged orifice and overflow weir passage in the return ladder of the AFC&MF and assisting NMFS in verifying passage of streamer-marked PIT-tag fish during their testing.  They are also periodically monitoring submerged orifice and overflow weir passage at Cascades Island and Washington shore ladders this year.  

3.4. NMFS FGE and OPE Testing.  NMFS continued FGE and OPE testing in unit 8B and 9B slots this reporting week.  Testing was conducted nightly from approximately 1700-2330 on 15 through 17 May this reporting week.

3.5. PH2 Bypass System Evaluation.  NMFS continued releasing PIT-tagged juvenile chinook and steelhead through the new bypass system this reporting week to determine if fish condition is adversely affected by system passage.  They also released juvenile sockeye in the PH2 forebay for recovery at the JMF and monitoring.  USGS began radio-tagging juveniles this reporting week for release in the DSM and tracking from the outfall release to Beacon Rock.

3.6. PSMFC DSM1 and JMF Smolt Monitoring.  PSMFC continued 24-h/d PIT tag interrogation at DSM1 and PH2 JMF.  They are sampling daily from 1600-2400 at DSM1 and approximately 0800-1100 at PH2 JMF.  

3.7. USGS Radio-Tracking.  USGS continued releasing and radio-tracking juveniles this reporting week.  They are tracking juveniles as part of the PH1 surface collector monitoring.

3.8. WDFW Fish Counting.  WDFW continued 16-h/d visual and 8-h/d video counting at Bradford Island and Washington shore. 

3.9. WES/Battelle Hydroacoustic Monitoring.  WES and Battelle continued hydroacoustic monitoring of the PH1 surface collector this reporting week.

4.  FISHWAYS.  Project biologists inspected on 15, 16, and 17 May this reporting week.

4.1. Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All Week
PH2 collection channel.
Electronic velocity meter was not working and should register 1.5-4.0 fps per the FPP.
Unknown.
A trouble report has been submitted and meter is awaiting repair.

5/15, 5/16
Bradford Island A and B-branch staff gauges and Washington shore ladder staff gauges at weirs 37 and 38.
Water over the weir measured ~1.0’ and should register 1.3’ +/- 0.1’ for shad passage per the FPP.

Adjustments were made on 5/17.

5/15, 5/16, 5/17
Cascades Island staff gauge.
See above.  

Adjustments were made on 5/18.

4.2. Fish Ladder Temperatures.  Readings are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder below the count station at Washington shore.  Temperatures are supplied by The Fisheries Field Unit.
Date
Wash. Shore
Bradford Is.

5/14
12.5
12.4

5/15
12.8
12.8

5/16
13.0
12.9

5/17
12.9
12.8

5/18
12.9
12.9

5/19
13.2
13.2

5/20
13.5
13.5

                                                 Fish Ladder Temperatures ((C) 
4.3. Sensor Calibration.  Water level sensors were checked for calibration on 18 May this reporting week.

4.4. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week. 

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

//S//

3
4

