 
CENWP-OP-B                                                                                                         03 July 2000

MEMORANDUM FOR CENWP-OP, ATTN:  Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 26 of 2000, which covers the period 25 June through 01 July.
1.  OPERATION SUMMARY.

1.1. Daily average river flow ranged from 156.1 to 225.9 kcfs.  Daily average spill ranged from 84.4 to 120.1 kcfs.  Daily average tailwater elevation for the project ranged from 14.2’ to 18.5’ msl.  Daily average forebay elevation for the project ranged from 74.4’ to 73.1’ msl.  River temperature ranged from 64 to 67° F.  Spill bays 1 and 18, which supply attraction flow for the Cascades Island ladder and Bradford Island ladder respectively, remain open 4”.

1.2.  Unit 12 remained out of service for stator rewedge and 4-year overhaul.  Units 16, 17, and 18 were out of service from 0430 until 1042 for U16, U18 and, until 1518 for U17 on 29 June for dives and transducer repair.

1.3.  The first powerhouse ice and trash sluiceway remained open this reporting week.  PH1 chain gates are being operated according to PSC testing requirements.  The second powerhouse sluiceway was operated according to Normandeau survival test requirements and for the riggers removing and spraying down the TIES this reporting week.   
1.4.  Second powerhouse fish units remained in service this reporting week.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
2.  ACTIVITIES. 
2.1. AWS Closures.  There were no AWS closures this reporting week.

2.2. Dewaterings and Fish Salvage.  There was no dewaterings or fish salvage this reporting week.  

2.3. STS Inspections.  No STS’s were inspected this reporting week.  
3.  RESEARCH. 
3.1. AFC&MF Adult PIT-tag Interrogation.  The 18” orifice inserts remain installed in the return ladder of the AFC&MF.  NMFS will resume testing and PIT-tagging adults from the lab to get estimates of reading efficiencies for the 18” and 26” orifice inserts following shad passage season.

3.2. AFC&MF Adult Sampling and Tagging.  The University of Idaho continued radio tagging and tracking adult chinook for their adult telemetry research.  They are currently sampling 7 days per week.  CRITFC and ODFW are sampling adult chinook and steelhead approximately 2 days per week for their age composition research.  

3.3. Fisheries Field Unit Video Monitoring.  The Fisheries Field Unit is assisting NMFS adult PIT-tag interrogation work this year during their testing at the AFC&MF.  They are monitoring submerged orifice and overflow weir passage in the return ladder of the AFC&MF and assisting NMFS in verifying passage of streamer-marked PIT-tag fish during their testing.  They are also periodically monitoring submerged orifice and overflow weir passage at Cascades Island and Washington shore ladders this year.

3.4. Normandeau/Mid-Columbia Consulting/Battelle PH2 Sluicechute Survival Testing.  Researchers completed releasing balloon tagged fish through the second powerhouse ice and trash sluiceway for their survival testing on 18 June this reporting week.  They will resume a second set of tests in mid September.  This work is in support of corner collector research.  

3.5. NMFS FGE and OPE Testing.  NMFS resumed FGE and OPE testing in unit 8B and 9B slots this reporting week. Testing was conducted nightly from approximately 1700-2330 on 12 through 16 June this reporting week.

3.6. NMFS Lamprey Tagging and Radio Tracking.  NMFS continued trapping and tagging lamprey in the AFC&MF.  They are releasing the radio tagged fish downstream and tracking the fish back through the project in cooperation with the University of Idaho.

3.7. PH2 Bypass System Evaluation.  NMFS did not release PIT-tagged juvenile chinook and steelhead through the new bypass system this reporting week to determine if fish condition is adversely affected by system passage.  They will resume testing on 26 June by releasing 300 juveniles per week for the next 4 weeks to complete their testing.  USGS did not radio-tag juveniles this reporting week for release in the DSM and for tracking from the outfall release to Beacon Rock.  They are scheduled to resume testing on 26 June.

3.8. PSMFC DSM1 and JMF Smolt Monitoring.  PSMFC continued 24-h/d PIT tag interrogation at DSM1 and PH2 JMF.  They are sampling daily from 1600-2400 at DSM1 and approximately 0800-1000 at PH2 JMF.

3.9. University of Idaho Lamprey Test Flume.  The University of Idaho continued testing lamprey-swimming capabilities under various flow conditions in the lamprey test flume at the AFC&MF this reporting week.  Testing will continue through early August depending on lamprey availability.    

3.10. USGS Radio-Tracking.  USGS continued releasing and radio-tracking juveniles this reporting week.  They are tracking juveniles as part of the PH1 surface collector monitoring.

3.11. WDFW Fish Counting.  WDFW continued 16-h/d visual and 8-h/d video counting at Bradford Island and Washington shore. 

3.12. WES/Battelle Hydroacoustic Monitoring.  WES and Battelle continued hydroacoustic monitoring of the PH1 surface collector this reporting week.

4.  FISHWAYS.  Project biologists inspected on 27, 28 and 30 June this reporting week.

4.1. Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All week
Cascades Island diffuser FG6-18.
Diffuser is stuck partially open and should be closed.
Unknown.
Will repair during winter maintenance period.

All week.
PH1 and PH2 collection channel electronic velocity meter.
Meter was not working and should register 1.5-4.0 fps per the FPP.
Unknown.
No action currently taken.  

4.2. Fish Ladder Temperatures.  Readings are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder below the count station at Washington shore.  Temperatures are supplied by The Fisheries Field Unit.
Date
Wash. Shore
Bradford Is.

6/25
17.6
17.5

6/26
18.0
18.0

6/27
18.5
18.4

6/28
19.0
18.9

6/29
19.2
19.1

6/30
19.1
18.9

7/01
18.8
18.6

                                                 Fish Ladder Temperatures ((C) 
4.3. Sensor Calibration.  Water level sensors were checked for calibration on 28 June this reporting week.

4.4. Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

//S//

4
3

