 
CENWP-OP-B                                                                                                     14 August 2000

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 32 of 2000, which covers the period 06 August through 12 August.
1.  OPERATION SUMMARY.

1.1 Average daily river flow ranged from 129.2 to 176.2 kcfs.  Daily average spill ranged from 87.5 to 132.8 kcfs.  Average daily tailwater elevation for the project ranged from 12.0’ to 15.1’ msl.  Average daily forebay elevation for the project ranged from 73.2’ to 75.2’ msl.  River temperature ranged from 71 to 72° F.  Spill bays 1 and 18, which supply attraction flow for Cascades Island ladder and Bradford Island ladder respectively, remain open 4”.

1.2 Unit 12 remained out of service for stator rewedge and 4-year overhaul.  Unit 3 remained out of service for turbine rehab.  Unit 4 remained out of service for its 100 day inspection.  Unit 6 remained out of service for index testing.  Units 7, 8, and 9 went out of service from 0600 until 1224 7 August for PSC dives.  Units 15, 16, 17, and 18 went out of service from 0430 until 1430 8 August for T12 outage.  Unit 8 went out of service again at 1254 8 August so that ESBSs could be replaced with STSs.  Unit 10 had an emergency shutdown due to a hot bearing alarm from 2354 8 August until 1200 9 August.  Unit 5 went out of service from 0745 until 1700 11 August for dive work. Unit 13 was operated from 1400 until 1512 and from 1518 until 1548 on 10 August for asbestos testing.
1.3 The first powerhouse ice and trash sluiceway was closed from 0855 9 August until 0530 10 August for PSC removal work.  It also was closed periodically for dives and trash raking.
1.4 Second powerhouse Fish Unit 1 went out of service from 1600 until 1700 9 August for wiring modifications.  Fish Unit 2 went out of service from 1554 until 1642 10 August for auto sync work.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
2.  ACTIVITIES. 
2.1 AWS Closures.  FV3-9 closed from 1605 until 1626 10 August for cleaning.

2.2 Dewatering and Fish Salvage.  No salvaging this week.

2.3 STS Inspections.  Two STSs not previously reported were inspected last reporting week.  

Unit
Date
Run Hours
Comments

3
7/31
267


6
7/31
329


3.   RESEARCH. 
3.1 AFC&MF Adult PIT-tag Interrogation.  The 18” orifice inserts remain installed in the return ladder of the AFC&MF.  NMFS will resume testing and PIT-tagging adults from the lab to get estimates of reading efficiencies for the 18” and 26” orifice inserts following shad passage season.

3.2 AFC&MF Adult Sampling and Tagging.  The University of Idaho continued radio tagging and tracking adult chinook for their adult telemetry research.  They are currently sampling 7 days per week.  CRITFC and ODFW are sampling adult chinook and steelhead approximately 2 days per week for their age composition research.  

3.3 Fisheries Field Unit Video Monitoring.  The Fisheries Field Unit is assisting NMFS adult PIT-tag interrogation work this year during their testing at the AFC&MF.  They are monitoring submerged orifice and overflow weir passage in the return ladder of the AFC&MF and assisting NMFS in verifying passage of streamer-marked PIT-tag fish during their testing.  They are also periodically monitoring submerged orifice and overflow weir passage at Cascades Island and Washington Shore ladders this year.

3.4 Normandeau/Mid-Columbia Consulting/Battelle PH2 Sluicechute Survival Testing.  Researchers will resume releasing balloon tagged fish through the second powerhouse ice and trash sluiceway for survival testing in mid September.  This work is in support of corner collector research.  

3.5 NMFS Lamprey Tagging and Radio Tracking.  NMFS continued trapping and tagging lamprey in the AFC&MF.  They are releasing the radio tagged fish downstream and tracking the fish back through the project in cooperation with the University of Idaho.

3.6 PSMFC DSM1 and JMF Smolt Monitoring.  PSMFC continued 24-h/d PIT tag interrogation at DSM1 and PH2 JMF.  They are sampling daily from 1600-2400 at DSM1 and approximately 0800-1000 at PH2 JMF.

3.7 University of Idaho Lamprey Test Flume.  The University of Idaho continued testing lamprey-swimming capabilities under various flow conditions in the lamprey test flume at the AFC&MF this reporting week.  Testing will continue through early August depending on lamprey availability.    

3.8 WDFW Fish Counting.  WDFW continued 16-h/d visual and 8-h/d video counting at Bradford Island and Washington shore. 

4.  FISHWAYS. 
4.1 Project biologists inspected on 07, 08 and 10 August this reporting week.

4.2 Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All week
Cascades Island diffuser FG6-18.
Diffuser is stuck partially open and should be closed.
Unknown.
Will repair during winter maintenance period.

All week.
PH1 and PH2 collection channel electronic velocity meter.
Meter was not working and should register 1.5-4.0 fps per the FPP.
Unknown.
Investigating alternative method of measure.  



4.2  Fish Ladder Temperatures.  Readings are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are supplied by Fisheries Field Unit.
Date
Wash. Shore
Bradford Is.

8/6
21.9
21.7

8/7
21.9
21.7

8/8
21.8
21.6

8/9
21.8
21.6

8/10
21.6
21.5

8/11
21.4
21.2

8/12
21.2
21.0

                                                 Fish Ladder Temperatures ((C) 
4.3 Sensor Calibration.  Water level sensors were checked for calibration on 09 August this reporting week.  

4.4 Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

5. Miscellaneous

5.1 FV1-1 returned to auto 2048 8 August.  

5.2 FG6-15 moved to manual 1405 6 August due to cycling problems.

5.3 The monitoring facility switched to bypass at 0800 12 August and the ERG was tripped at 1015 12 August to facilitate the upper and lower switchgate seal repairs.

                                                                                                     DEBORAH L. CHENOWETH

                                 

                                                              Operations Project Manager

//S//

2
2

