 
CENWP-OP-B                                                                                                                                   29 May 2001

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 21 of 2001, which covers the period 20 through 26 May.
1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 125.8 to 170.1 kcfs.  Daily spill averaged 35.6 to 49.9 kcfs.  Daily project tailwater elevation averaged 11.7’ to 14.8’ msl.  Daily project forebay elevation averaged 74.4’ to 75.9’ msl.  River temperature averaged 57 to 61° F.  

1.2 Spill bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, remain open 4” during daylight hours.  They are closed for water conservation between sunset and one hour before sunrise per BPA request.   Spillbays were closed because of high dissolved gas levels at Camas on 24 May.  There was no spill from 0842-1507 that day.

1.3 Unit 3 remained out of service for turbine rehab.  Unit 15 is placed on standby each night after FGE testing.  Unit 7 went out of service from 0430 until 1500 on 21 May for semi annual maintenance.  Unit 2 went out of service from 0454 on 21 May until 1142 on 24 May for roof disconnect work.  Unit 9 went out of service from 0530 until 1519 on 22 May for air cooler and slip ring work.

1.4 Powerhouse Two fish units remain in service.  They provide attraction flow for the Washington Shore fish ladder.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

2.  ACTIVITIES. 
2.1 AWS Closures.   FV4-3 and FV4-4 at B-branch and FV5-3 and FV5-4 are all operating in manual until the new computer system is installed.  FV3-9 was closed for cleaning from 0840 until 0856 on 23 May.

2.2 STS/VBS Inspections.  No STS/VBS inspections this reporting week.

2.3 Dewatering and Fish Salvage.   No fish salvage this week.

 
3.   RESEARCH. 

3.1 WDFW Fish Counting.  WDFW continues 16-hour visual counts and 8-hour video counts at Bradford Island and Washington Shore ladders.

3.2 NMFS Saltwater rearing. The Saltwater rearing facility is in operation.

3.3 OCFWRU Barging condition study.  Began 24 April.

3.4 PSMFC Adult PIT.  Chinook are collected and tagged on Wednesdays.

3.5 PSMFC Smolt Monitoring Program.  Collection continues 24h/d at the monitoring facility.  Monitoring at DSM1 also continues.

3.6 WES Hydroacoustic Monitoring.  Monitoring began 20 April.

3.7 UI Barging condition study. They began sampling juvenile fish from transport barges on 22 April.

3.8 USGS Juvenile Radiotracking.  Radio tagging began 1 April.  Tracking in progress as well.

3.9 USGS Adult EMG tracking.  Fish release and tracking began 18 April.  

3.10 UI Adult Fallback. UI Adult Radiotracking/Tagging.  PCC entrance gates at Powerhouse One operated according to UI request until 31 October.  Tagging of Chinook began at the AFC&MF 2 April and will continue seven days a week until the end of September. 

3.11 CRITFC/ODFW.  Tagging Spring Chinook and steelhead on Tuesdays and Thursdays, with Friday as an extra day if needed.

3.12 WDFW.  Tagging Spring Chinook with jaw tags in conjunction with their tooth-net studies.

3.13 NMFS FGE/OPE.  Work began 23 April.  Spring testing ended ~ 23 May.  Summer tests begin ~19 June.

4.  FISHWAYS. 
4.1 Project biologists inspected on 21, 22, and 24 May this reporting week.

4.2 Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All week.
PH1and PH2 collection channel electronic velocity meter.
Meter was not working and should register 1.5-4.0 fps.
Unknown.
New velocity meters to be installed during mid-season dives.

5/21, 5/22
BI, A and B Branch, CI, Weir 37 and 38
Water elevations low.
Still programming for Shad Passage Season.
Electricians working on the problem.

5/24
SDE gate
Incorrect elevation.
Unknown
Operator to check.

4.3  Fish Ladder Temperatures.  Temperatures are measured 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.

Date
Wash. Shore
Bradford Is.

5/20
13.9
13.7

5/21
14.3
14.1

5/22
14.9
14.8

5/23
15.3
15.3

5/24
15.8
15.7

5/25
16.1
16.1

5/26
16.4
16.3

4.4 Sensor Calibration.  Water level sensors were checked for calibration on 23 May this reporting week.  

4.5 Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

5. MISCELLANEOUS

5.1 As of 08 May, DSM2 Add-in flow has been shut off and a caution order tag hung on the valve.
5.2 11A-S remains closed in manual, orifice lights are off.
5.3 The high outfall hydrocannons for the Second Powerhouse monitoring facility remain in service.
5.4 No sign of seals or sea lions in the powerhouse tailraces.  The Project did not take any action towards removing the natural predators from the river system.
                                                                                                                GENE L. LADOUCEUR

                                 

                                                             Operations Project Manager

//S//

2
2

