 
CENWP-OP-B                                                                                                                                   11 June 2001

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 23 of 2001, which covers the period 03 through 09 June.
1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 116.4 to 163.6kcfs.  Daily spill averaged 49.3 to 49.8 kcfs.  Daily project tailwater elevation averaged 11.2’ to 14.4’ msl.  Daily project forebay elevation averaged 74.6’ to 75.4’ msl.  River temperature averaged 61 to 62° F.  

1.2 Spill bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, remain open 4” during daylight hours.    

1.3 Unit 3 remained out of service for turbine rehab. Unit 17 remains out of service for its four-year overhaul.  Unit 2 went out of service from 0500 on 04 June until 0924 on 07 June for roof disconnect work.  Unit 15 went out of service from 1400 until 1906 for transducer repairs on 05 June.  From 1700 on 07 June until 0600 11 June, the Project had Unit 15 as last on first off to see if that effected the mortality rate seen at the Washington Shore Monitoring Facility.  

1.4 Powerhouse Two fish units remain in service.  They provide attraction flow for the Washington Shore fish ladder.  The units are being placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

2.  ACTIVITIES. 
2.1 AWS Closures.   FV4-3 and FV4-4 at B-branch and FV5-3 and FV5-4 are all operating in manual until the new computer system is installed.   The Bradford Island fish exit was closed for cleaning from 1455 until 1502 on 04 June.

2.2 STS/VBS Inspections.  No inspections this reporting week.

2.3 Dewatering and Fish Salvage.  No fish salvage this reporting week.  

 
3.   RESEARCH. 

3.1 WDFW Fish Counting.  WDFW continues 16-hour visual counts and 8-hour video counts at Bradford Island and Washington Shore ladders.

3.2 NMFS Saltwater rearing. The Saltwater rearing facility is in operation.

3.3 OCFWRU Barging condition study.  Began 24 April.

3.4 PSMFC Adult PIT.  Looking at A and B branch and Cascade Island for noise interference.  Analyzing data collected at the Washington Shore ladder.

3.5 PSMFC Smolt Monitoring Program.  Collection continues 24h/d at the monitoring facility.  24 h/d flat plate monitoring at DSM1.

3.6 WES Hydroacoustic Monitoring.  Monitoring began 20 April.

3.7 UI Barging condition study. They began sampling juvenile fish from transport barges on 22 April.

3.8 USGS Juvenile Radiotracking.  Radio tagging began 1 April.  Tracking in progress as well.

3.9 USGS Adult EMG tracking.  Fish release and tracking began 18 April.  

3.10 UI Adult Fallback. UI Adult Radiotracking/Tagging.  PCC entrance gates at Powerhouse One operated according to UI request until 31 October.  Tagging of Chinook began at the AFC&MF 2 April and will continue seven days a week until the end of September. 

3.11 CRITFC/ODFW.  Tagging Spring Chinook and steelhead on Tuesdays and Thursdays.

3.12 WDFW.  Tagging Spring Chinook with jaw tags in conjunction with their tooth-net studies.

3.13 NMFS FGE/OPE.  Work began 23 April.  Spring testing ended ~ 23 May.  Summer tests begin ~19 June.

4.  FISHWAYS. 
4.1 Project biologists inspected on 03, 04, 05, 06, 07, 08, and 09 June this reporting week.

4.2 Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE

All week.
PH1and PH2 collection channel electronic velocity meters.
Meter s work intermittently or not at all.
Unknown.
New velocity meters to be installed during mid-season dives.

6/4-5
FG3-25, FG3-26
Not in correct position for TW elevation.
Computer system not yet installed, all diffusers at B-branch are operated in manual
Operator corrected diffuser positioning

6/5
A and B branch weirs
Water levels too high
Unknown
FV3-9 looked at and reset.

4.3 Fish Ladder Temperatures.  Temperatures are measured 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.

Date
Wash. Shore
Bradford Is.

6/03
16.3
16.1

6/04
16.3
16.0

6/05
16.2
16.1

6/06
16.0
15.9

6/07
16.3
16.3

6/08
16.8
16.7

6/09
17.0
16.9

4.4 Sensor Calibration.  Water level sensors were checked for calibration on 07 June this reporting week.  

4.5 Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week.

5. MISCELLANEOUS

5.1 F2A-N and F2B-N orifices will remain open as of 29 May while the Add-in is closed.
5.2 On 04 June, 11A-S orifice returned to auto.  Grating was secured down.
5.3 At 1300 on 05 June, an adult hatchery Steelhead was found atop DSM2 grating between 11A-N and 11A-S.  All grating had been securely fastened down, there were no large openings.  The last inspection had been during graveyard shift on 04 June.  The carcass was sent down the channel. 

5.4 On 7 June, a blown hose on a spillway gantry crane released approximately 15-20 gallons of  hydraulic oil onto the deck.  Absorbent materials prevented about 1/3 of the material from entering the river, the remainder went off the downstream side of the deck., with a small amount entering the forebay side.  An oily sheen remained on the upstream side for two hours.  The incident was reported to the Coast Guard.

5.5 Injured and dead juvenile fish seen at the JMF decreased this week according to PSMFC.  Project biologists released a beach ball into the transport pipe on 6 June.  The ball exited the pipe at the JMF 2.5 hours later.  The ball had a small tear.  As we have found no definite cause for the fish injuries, we will coordinate a dewatering of the DSM and JMF to inspect for obstructions or other potential causes of the problem.  

                                                                                                                GENE L. LADOUCEUR

                                 

                                                             Operations Project Manager

//S//

2
2

