 
CENWP-OP-B                                                                                                                           16 September, 2001

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 37 of 2001, which covers the period 09 through 15 September.
1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 76.5 to 104.4kcfs.   Daily project tailwater elevation averaged 6.9’ to 9.3’ msl.  Daily project forebay elevation averaged 74.7’ to 75.6’ msl.  River temperature averaged 66 to 68° F.

1.2 Spill bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, remain open 4”.  This translates to a daily spill average of 2.3kcfs.

1.3 Unit 3 remains out of service for turbine rehab.  Unit 17 remains out of service for its four-year overhaul.  Unit 5 remains out of service for turbine rehab.  Unit 6 went out of service at 0530 on 10 September for efficiency testing.  Unit 8 went out of service from 0730 until 1130 on 10 September for ESBS removal.  Unit 9 went out of service at 1206 on 10 September for roof disconnect work.  Unit 4 went out of service at 1148 on 12 September so contractors could set up for testing.  Units 7, 8 and 10 went out of service at 0454 on 15 September for switching work, Units 7 and 8 returned to service at 0506 that same day.

1.4 Second Powerhouse fish units remain in service.  They provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  

2.  ACTIVITIES. 
2.1 AWS Closures. FV4-3 and FV4-4 at B-branch and FV5-3 and FV5-4 are all operating in manual until the new computer system is calibrated.  Bradford Island exit was closed for cleaning from 0710 until 0719 on 10 September.  FV5-9 was closed for cleaning from 0729 until 0740 on 10 September and from 1450 until 1502 on 15 September.  

2.2 STS/VBS Inspections.  No STSs were video inspected this reporting week.

2.3 STS removal. PH1 STS remain OOS per NMFS request.

2.4 Dewatering and Fish Salvage.  No dewatering or fish salvage this reporting week.

3.  RESEARCH.

3.1 WDFW Fish Counting.  WDFW continues 16-hour visual counts and 8-hour video counts at Bradford Island and Washington Shore ladders.

3.2 NMFS Saltwater rearing. The Saltwater rearing facility is in operation.  Sampling May- November.

3.3 PSMFC Adult PIT.  Tagging to begin again on 18 September at the AFF.

3.4 PSMFC Smolt Monitoring Program.  Collection continues 24h/d at the monitoring facility.  All flat plate monitoring at DSM1 ended at 0800 on 02 August.  GBT exams concluded 30 August.

3.5 UI Barging Condition and Separation By Code study.  Fall Chinook separation by code study runs 15 July through 17 September. 

3.6 UI Adult Fallback. UI Adult Radiotracking/Tagging.  PCC entrance gates at the first powerhouse are being operated according to UI request until 31 October.  Tagging of Chinook began at the AFC&MF 2 April and will continue seven days a week until the end of September.   Researchers are adding ice to the anesthetic tank when water temperatures approach 70° F.

3.7 CRITFC/ODFW/WDFW Adult Trapping/Tagging.  Tagging Chinook and steelhead on Tuesdays and Thursdays.  

3.8 NMFS Lamprey.  Tagging complete.  Tracking continues.  Spillway ladder entrances manually operated at night for a .5’ differential.   377 lamprey were collected for USGS and 138 were collected for the Warm Springs Tribe.

3.9 YIN Northern Pikeminnow Dam Angling.  Fishing 25 June – 30 September.

3.10 WDFW/ODFW Fall Chinook Counting.  Observations of the fall Chinook continue.

4.  FISHWAYS. 
4.1 Project biologists inspected 09 through 15 September this reporting week.   Salmon Corps volunteers inspected 09, 13, 14, 15 September. 

4.2 Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE
TR/WAR

All week
PH2 collection channel electronic velocity meter.
The velocity meter is not yet working.
Not fully installed.
Working on final installation.


All week
FG3-28
Out of service
Manually closed because of displaced diffuser valve cover.
New covers are designed, and will be installed during winter maintenance.
20013904

All week
FG3-27
Not in correct position for TW elev.
FG3-27 is open to replace FG3-28.
No action taken.


9/9-14
PH1 Collection channel velocity
Velocity meter registers less than 1.5 fps.
Water backs up in the channel during OG/SG tests.  
Monitoring situation.


All week
Main Dam Avian wires
Wires removed.
Spillway deflector installation.
Wire grid to be replaced in Mid-April.


9/10
B-branch staff gauge
Reading < 1.0’
BI exit closed for cleaning.
Returned to normal after the exit was reopened.


9/11-13
B-branch staff gauge
Reading <1.0’
Unknown.  A-branch in criteria.
No action taken.


9/10
UMT staff gauge
Reading >1.0’
FV5-9 float not controlling properly.
Float controls sometimes stick.  Problem corrected.


4.3 Fish Ladder Temperatures.  Temperatures are measured 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.

Date
Wash. Shore
Bradford Is.

9/9
19.7
19.6

9/10
19.9
19.7

9/11
19.9
20.0

9/12
20.0
20.0

9/13
20.3
20.2

9/14
20.6
20.6

9/15
20.7
20.7

4.4 Sensor Calibration.  Water level sensors were checked for calibration on 15 September.  

4.5 Zebra Mussel Monitoring.  The zebra mussel monitoring station was inspected and showed no signs of colonization this reporting week. 

5. MISCELLANEOUS

5.1 PH2 JBS injury/mortality issue: Juvenile mortality remains low at the JMF, according to PSMFC reports.  

5.2 Because of low tailwater elevations and the physical limits of the weir gates, entrance openings for PH1 Collection Channel are less than 8.0’.   Gate 64 has been reprogrammed to maintain at least an 8’ opening.  

5.3 Closed OG/SG testing causes low differential at the north end of PH1 collection channel.  FV1-1 normally controls south channel differential, but is now reprogrammed to maintain north channel differential.  This change should also help maintain proper collection channel velocity during OG/SG tests.  

5.4 The B-Branch and Cascade Island computers were installed.  Sensors need calibrated and some parameters need setting.  Until then, entrance gates and FV4-3, 4-4, 5-3, and 5-4 are operated in manual.  Waiting on parts.

5.5 Spillway avian wires were removed 19 July to facilitate deflector work.  

5.6 Salmon Corps continue volunteer work. 

5.7 Large numbers of fish have been passing via Washington Shore ladder.  Many of those are fish holding below the AFF picket leads when the trap is in use.  Picket lead #1 is open continuously during the day to try to move fish through the project in a timely manner.  On Thursday 13 September, NMFS requested lead #2 be open with lead #1.  

5.8 The outfall hydrocannon remains off.  We have not observed any bird activity.

5.9 On 9 September the ERG was accidentally tripped in DSM2 at 1750, and closed by 1800.

5.10 On 14 September, one dead adult Chinook was found on the grating at the south end of DSM2.  A cover is being constructed to prevent fish from jumping out of the channel.

                                                                                                                DEBORAH L. CHENOWETH

                                 

                                                             Operations Project Manager

//S//

3
3

