
CENWP-OP-B                                                                                                                          26 December, 2001

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 51 of 2001, which covers the period 16 through 22 December.
1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 113.8 to 172.4kcfs.  Daily project tailwater elevation averaged 13.7’ to 16.5’ msl.  Daily project forebay elevation averaged 73.3’ to 75.4’ msl.  River temperature averaged 47° F.
1.2 Spill Bay 18 and 1 are closed for spill deflector work.  
1.3 Units 3 and 5 remain out of service for turbine rehab.  Unit 8 returned to service at 1700 on 20 December.  Unit 0 returned to service at 1454 on 19 December.  Unit 15 was out of service for STS dive/removal from 0700 until 1300 on 19 December.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly, if drawdown exceeds 1.0’.  F1 remains out of service for winter maintenance.    The ice and trash chute is being used to augment entrance attraction flow at PH2.  F2 went to standby from 0600 until 0754 to facilitate trashrack raking on 19 December.
2.  ACTIVITIES. 
2.1 AWS Closures. Bradford Island AWS valves closed for winter maintenance.

17 December- FV5-9 closed for cleaning from 1606 until 1615.

20 December- FV6-9 closed for cleaning from 1458 until 1518.

2.2 STS/VBS Inspections.  All STSs have been removed for winter maintenance.

Unit
Date
Run Hours
Comments

11
12/17
912
Removed for season

12
12/17
775
Removed for season

13
12/17
856
Removed for season

14
12/17
722
Removed for season

15
12/19
595
Bent lifting lug in A-slot.  Divers used to help remove screen.  Removed for season

16
12/18
325
Removed for season

17
12/18
859
Removed for season

18
12/19
988
Removed for season

Table 1.  STS Removal Dates.

2.3 Dewatering and Fish Salvage.  No dewatering or fish salvage activity this reporting week.

3.  RESEARCH.

3.1 WDFW Fish Counting.  24-hour video count ongoing the WA Shore ladder.

3.2 NMFS Saltwater rearing. Shut down for the winter.  Clean up activities continue.

3.3 PSMFC Adult PIT.  Installation underway at Bradford Island ladder.

3.4  WDFW Winter Steelhead tagging.  Trapping continues three or four days a week.

3.5 NMFS Lamprey.  Tracking continues.  Plans for a trap in FV3-9 AWS channel underway.  More lamprey plates to be installed in the Washington Shore ladder in February.

4.  FISHWAYS. 
4.1 Project biologists inspected 17 through 20 December this reporting week.

4.2 Fish Passage Plan Observations.

DATE
LOCATion
FPP Deviation
CAUSE
RESPONSE
TR/WAR

All week
PH2 electronic velocity meter.
Meter not yet working
Need new cable.
Will be installed in February.


All week
PH2 ITC
Flushed only once.

Maintenance reminded to flush 2x/week.


All week
Weir 37
Reading >1.0’
Faulty sonic transducer.
Will replace in February.


4.3 Fish Ladder Temperatures.  Temperatures are measured 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are not recorded during winter maintenance season.

4.4 Sensor Calibration.  Calibration was not checked as there were no sensors in working condition this reporting week.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 Due to low tailwater elevations and the physical limits of the weir gates, entrance openings for PH1 Collection Channel are less than 8.0’.   Gate 64 has been reprogrammed to maintain at least an 8’ opening.  

5.2 The B-Branch and Cascade Island computers were installed.  Until sensors have been calibrated, entrance gates, diffusers, valves FV4-3, FV4-4, FV5-3, FV5-4 are operated in manual.

5.3 Weir 37 float control doesn’t adequately control water level over the weir.  A sonic transducer will be installed this winter, which should correct the problem.  

5.4 To aid spawning Chum below Bonneville, a tailwater restriction of 11.4’ to 11.6’ went into effect at 1054 on 28 November.  The restriction will continue until further notice.

5.5 PH2 ice and trash chute was flushed from 1310 until 1400 on 18 December.  170-180 live adult salmonids, 20-30 long-dead adult salmonids, and debris were flushed out.

5.6 DSM2 Add-in water was open in auto from 0510 until 1624 on 20 December and from 0041 until 0720 on 22 December due to low forebay and DSM channel elevations.

 DEBORAH L. CHENOWETH

                                 

                                                             Operations Project Manager

//S//

1
2

