
CENWP-OP-B                                                                                                                                  26 August 2002

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 34 of 2002, which covers the period 18 through 24 August 2002.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 139.1 to 162.2kcfs.  Daily project tailwater elevation averaged 12.1’ to 14.1’ msl.  Daily project forebay elevation averaged 71.2’ to 74.3’ msl.  River temperature averaged 66 to 67° F.  Daily turbidity measured 6.0’ to 7.0’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, are operational and included in the spill pattern.  Spill averaged 86.3 to 124.4kcfs.  

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 2 was out of service from 1354 until 1624 on 22 August for transducer removal.

1.3.3 Unit 3 was out of service from 1100 until 1354 on 22 August for transducer removal.

1.3.4 Unit 4 was out of service from 0700 until 1100 on 22 August for transducer removal.

1.3.5 Unit 5 remains out of service for turbine rehab.

1.3.6 Unit 6 was out of service from 0654 until 1024 on 21 August for transducer removal.

1.3.7 Unit 7 was out of service from 1400 until 1748 on 20 August for transducer removal.

1.3.8 Unit 8 was out of service from 1130 until 1400 on 20 August for transducer removal.

1.3.9 Unit 9 was out of service from 0930 until 1130 on 20 August for transducer removal.

1.3.10 Unit 10 was out of service from 0748 on 19 August until 0930 on 20 August for transducer removal.

1.3.11 Unit 11 was out of service from 0430 on 19 August until 2036 on 20 August for T11 annual maintenance.  The unit was also out of service from 2106 on 20 August until 0712 on 21 August because of an exciter ground.

1.3.12 Units 12-14 were out of service from 0500 on 19 August until 2036 on 20 August for T11 annual maintenance.

1.3.13 Units 15-18 were out of service from 2124 on 20 August until 1812 on 22 August for T12 annual maintenance.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   F1 and F2 were out of service from 1912 until 2124 on 20 August for T11/12 switching.  F2 was out of service from 2126 until 2236 on 22 August for more switching.

1.5 Gatewell drawdowns were measured on 21 August.

2.  ACTIVITIES. 
2.1 AWS Closures.  No AWS closures this reporting week.

2.2 STS/VBS Inspections.  No STS/VBSs were inspected this reporting week.

2.3 Dewatering and Fish Salvage.  No dewatering or fish salvage activities this reporting week.

3.  RESEARCH.

3.1 CRITFC Age and Length Composition.  Collected 40 chinook and one coho this reporting week.  Will collect one day a week until the fall run increases.

3.2 NMFS Lamprey.  The lamprey flume is in operation at the Bradford Island AWS channel.  Radio tagging has concluded, tracking continues.

3.3 NMFS Saltwater Rearing.  Rearing continues.  Specific data available from Lyle Gilbreath. 

3.4 Normandeau Balloon-tag at Spillway.  Low flow study 18 August – 31 August. 

3.5 ODFW Summer Steelhead sampling.  Sampling 2 days/week 8 hours/day.  Will sample 1% of the run.

3.6 PSMFC Adult PIT.  Detectors are installed in all ladders.  Some of the detectors have developed leaks and will be monitored throughout the season.  Repairs are scheduled for 2002-03 winter maintenance season.

3.7 PSMFC JMF.  Scheduled power outages occurred on 17 and 20 August.  Each lasted approx. five minutes.  100 sub yearling chinook were examined for GBT.

3.8 PSMFC/NMFS Juvenile PIT.  DSM1 flow is running south.

3.9 U of I Adult Radio tracking.  Trapping began 1 April and will continue 7 days/week until October.

3.10 U of I lamprey testing.  The AFF lamprey flume is in operation.  Tests ongoing.

3.11 U of I Transportation Study.  Evaluation of physiological condition of river run v. barged Snake River juveniles to occur June-September.

3.12 WDFW Fish Counting.  16-hr visual and 8-hr video counts at Bradford Island and Washington Shore.

3.13 WES/Battelle/Mevatech Juvenile Hydroacoustics.  Transducer removal in progress.  

3.14 WES Spillway Deflector Testing.  WES monitoring water quality equipment to determine effectiveness of new flip lips.   TDG tests scheduled for 24-29 August.

4.  FISHWAYS 
4.1 Project biologists inspected 18-24 August this reporting week.  

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	8/18-20, 8/23
	PH1 PCC velocity
	Velocity <1.5fps on the electronic meter.
	Unknown
	No action at this time.
	

	All week
	Main dam
	Two avian wires broken.
	Vandalism
	Will be repaired this winter maint. season.
	

	8/18-22
	Weir 37
	Reading >1.0’
	In manual
	Operators to adjust.
	

	8/18-20, 8/23
	PH2 PCC velocity
	Velocity <1.5fps on the electronic meter.
	Low tailwater causes an inaccurate reading.
	Sensor relocation this winter maint. Season.
	

	8/19, 21-22
	A and B branches
	Reading >1.0’
	Still in shad passage mode.
	Electricians to correct on 8/26
	


4.3 Fish Ladder Temperatures.  Measurements are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Celsius.  

	Date
	Wash. Shore
	Bradford Is.

	8/18
	20.8
	20.9

	8/19
	20.7
	20.8

	8/20
	20.5
	20.5

	8/21
	20.1
	20.2

	8/22
	20.1
	20.1

	8/23
	20.3
	20.3

	8/24
	20.6
	20.6


4.4 Sensor Calibration.  Checked calibration on 21 August this week.  

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 B-branch and Cascade Island are in manual mode until tailwater stillwells can be installed this winter.

5.2 Turbulent flows from spillbay 18 enter the side entrance gate of Bradford Island B-branch ladder, causing poor entrance conditions.  CG funds will be used to build a bulkhead for B-branch.

5.3 During low tailwater, the PH2 monoliths are unable to maintain greater than 13’ openings.  

5.4 The digital temperature probe at the AFF appears to be out of calibration.  We cannot recalibrate it until the lab is dewatered this winter.  University of Idaho is using a thermometer to track temperatures.

5.5 Bradford Island is still in shad passage mode.  There is a new control system in FV3-9, the electrician who works with it is currently out of the office.  Corrections should be made on  28 August

5.6 Orifices 11A-N and 11A-S were closed for Unit 11 A-slot STS repair from 1459 until 1535 on 20 August.

5.7 The spillway was on seal, from 1710 until 1930 on 24 August, to facilitate access to the WES near field TDG test equipment.

 DEBORAH L. CHENOWETH

                                 

                                                             Operations Project Manager

//S//

1
2

