CENWP-OP-B                                                                                                                                      21 October 2002

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 42 of 2002, which covers the period 13 through 19 October 2002.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 81.3 to 120.4 kcfs.  Daily project tailwater elevation averaged 8.1’ to 10.6’ msl.  Daily project forebay elevation averaged 74.5’ to 75.6’ msl.  River temperature averaged 57 to 59° F.  Daily turbidity measured 7.0’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island ladders respectively, are open 6” during daylight hours.  Spill averaged. 1.9 to 2.1 kcfs.

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 2 was out of service from 0512 until 1636 on 17 October for semi annual maintenance.

1.3.3 Unit 3 was out of service from 0506 until 1712 on 15 October for semi annual maintenance.

1.3.4 Unit 4 was out of service from 0506 until 1712 on 15 October for semi annual maintenance.

1.3.5 Unit 5 remains out of service for turbine rehab.

1.3.6 Unit 6 was out of service from 0500 until 1700 on 16 October for semi annual maintenance.

1.3.7 Unit 7 remains forced out of service for crane rail work.

1.3.8 Unit 8 remains forced out of service for crane rail work.

1.3.9 Unit 9 remains out of service for an overhaul.

1.3.10 Unit 10 remains forced out of service for crane rail work. 

1.3.11 Unit 16 remains out of service for an overhaul.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  

1.5 Gatewell drawdowns were measured on 16 October.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS closures occurred this reporting week.

On 15 October  FV1-1 closed for cleaning from 1244 until 1536.

2.2 STS/VBS Inspections.  No  STS/VBSs were inspected this reporting week. 

2.3 Dewatering and Fish Salvage.  No dewatering or fish salvage activities this reporting week.

3.  RESEARCH.

3.1 CRITFC Age and Length Composition.  Collected 30 chinook and 60 coho.  Sampling has concluded for the season.

3.2 NMFS Lamprey.  Tracking continues.

3.3 NMFS Saltwater Rearing.  Rearing continues.  Specific data available from Lyle Gilbreath. 

3.4 ODFW Summer Steelhead sampling.  Sampling concluded for the season.

3.5 PSMFC/NMFS Adult PIT.  Detectors have been installed in all ladders, some have developed leaks.  Repairs are scheduled for 2002-03 maintenance season.  

3.6 PSMFC JMF.  One salmon and one unknown salmonid were recorded as fallback over the separator bars.

3.7 U of I Adult Radio tracking.  Trapping concluded for the season.

3.8 WDFW Fish Counting.  16-hr visual and 8-hr video counts at Bradford Island and Washington Shore.

4.  FISHWAYS 
4.1 Project biologists inspected 13 through 19 October this week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	All week
	Main dam, 

PH2
	Avian wires broken or removed
	Vandalism and BCC work. 
	Will be repaired this winter.
	

	10/19
	PH1 PCC velocity
	Velocity <1.5 fps on electronic meter.
	Unknown
	No action taken.
	

	10/15, 10/17-
	PH2 PCC velocity
	Velocity <1.5fps on the electronic meter.
	Low TW causes an inaccurate reading.
	Sensor relocation this winter.
	

	10/13-14, 10/18-19
	Weir 37, 38
	Reading > or < 1.0’
	In manual
	Stillwell to be installed this winter.
	

	10/15
	B-branch
	Entrance gates not in correct position for TW elevation.
	In manual
	Operators to adjust.  
	

	10/17-19
	SA24 Board
	NDE not reading accurate elevation.
	Unknown
	Electricians to look at.
	WAR #15148

	10/17
	DSM 1
	Orifice 8A, 8B, and 10B lights out for more than 24 hours.
	Crane rail contractors in the way.
	Operators to change bulbs in the evening.  TR submitted for 8B electrical cord.
	


4.3 Fish Ladder Temperatures.  Measurements are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Celsius.  

	Date
	Wash. Shore
	Bradford Is.

	10/13
	15.2
	15.2

	10/14
	15.0
	14.9

	10/15
	14.8
	14.8

	10/16
	14.9
	14.8

	10/17
	15.0
	14.9

	10/18
	15.1
	15.0

	10/19
	15.3
	15.3


4.4 Sensor Calibration.  Checked calibration on 13 October this week.  

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 B-branch and Cascade Island are in manual mode until tailwater stillwells can be installed this winter.

5.2 During low tailwater, the PH2 monoliths are unable to maintain greater than 13’ openings.  

5.3 During low tailwater, the PH1 weir gates are unable to maintain greater than 8’ openings.

5.4 Repairing the PDS screen cleaner requires the JMF go to bypass.  The screen will be cleaned manually until the end of the season (31 October).

5.5 As of 30 September, Units 7, 8 and 10 are out of service due to the inability to deploy headgates during the crane rail construction. 

 JAMES R. MAHAR

                                 

                                                           Operations Manager

//S//

1
2

