CENWP-OP-B                                                                                                                                  24 February 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 08 of 2003, which covers the period 16 through 22 February 2003.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 112.3 to 133.3 kcfs.  Daily project tailwater elevation averaged 11.5’ to 13.0’ msl.  Daily project forebay elevation averaged 74.6’ to 76.0’ msl.  River temperature averaged 40 to 41° F.  Daily turbidity measured 4.0’ to 5.0’ on the secchi disk.

1.2 Spill Bay 18, which supplies attraction flow for Bradford Island ladder, is closed 24 hours.   Spill Bay 1, which supplies attraction flow for Cascade Island ladder, is open .5’ during daylight hours.  See misc. 5.5.
1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 10 was out of service from 1500 until 1654 on 19 February for trashrack raking.

1.3.3 Unit 11 went out of service at 2042 on 17 February because of brake problems.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  During fish passage season, the units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  Fish Unit 1 remains out of service for overhaul and stator rewind.

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  No AWS closures to report this week.

2.2 STS/VBS Inspections.  No STS/VBSs were inspected this reporting week. 

Dewatering and Fish Salvage.  Biologists removed three sculpin, one crayfish and four chubs from the Bradford Island exit on 19 February.

3.  RESEARCH.

3.1 University of Idaho/WDFW jaw tagging.  Tagging began 20 February.  Steelhead and spring chinook will be tagged for studies involving the tangle tooth fishery on the Columbia.

3.2 NMFS Lamprey.  Tracking continues.

3.3 WDFW Fish Counting.  16-hr video counts at Washington Shore.

3.4 WDFW steelhead.  Trapping and tagging of winter steelhead continues.

4.  FISHWAYS 
4.1 Project biologists inspected 18-21 February this week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	All week
	PH1, PH2
	Wires removed.
	Contractor work.
	Will replace wires in early March.  
	

	All week
	Main dam
	Two wires broken
	Vandalism
	Will repair this winter/spring.
	

	All week
	PH2 PCC velocity meter
	No velocity measure.
	Meter is missing
	see misc. 5.1
	

	2/18-19, 2/21
	Weir 37
	Reading < or > 1.0’
	Unknown
	Operators to adjust.
	


4.3 Fish Ladder Temperatures.  Temperatures are not recorded in the winter.

4.4 Sensor Calibration.  Calibration could not be checked as there were no calibrated sensors in operation.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 Divers discovered the PH2 velocity meter was missing from the collection channel.  A new meter will be installed during the mid season dives this summer.

5.2 Cascade Island controls are in manual mode awaiting tailwater sensor calibration.  Electricians are awaiting parts.  B-branch is also in manual mode, pending installation of a tailwater stillwell.

5.3 On 24 January, the Project tailwater hard constraint decreased to 11.0’ msl for all hours.  The soft constraint went to 11.2’ msl between 0700-1900 hours.  This is for the protection of the chum redds around Ives Island.

5.4 On 06 February, and continuing until further notice, Project spill increased to approximately 1.7 Kcfs from spill bay 1 during daylight hours.  This action was deemed necessary to attract wild winter steelhead to Cascades Island entrance while the south monolith and Bradford Island entrances are out of service.

5.5 On 17 February, BPA agreed to a hard tailwater constraint of 11.3’ msl and a soft constraint of 11.5’ msl when inflows to Bonneville are >120Kcfs.

 JAMES R. MAHAR

                                 

                                                           Operations Manager

//S//

1
2

