CENWP-OP-B                                                                                                                                     09 March 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 10 of 2003, which covers the period 02 through 08 March 2003.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 125.3 to 176.1 kcfs.  Daily project tailwater elevation averaged 12.0’ to 16.0’ msl.  Daily project forebay elevation averaged 73.9’ to 75.6’ msl.  River temperature averaged 40 to 42° F.  Daily turbidity measured 3.2’ to 5.2’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ during daylight hours in accordance to the FPP.  Spill averaged 1.7 to 1.9 kcfs.

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 9 was out of service from 1848 on 06 March until 0930 on 07 March due to regulator trouble.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  During fish passage season, the units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  Fish Unit 1 remains out of service for overhaul and stator rewind.

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed for cleaning this reporting week.

FV1-1 closed from 1250 until 1315 on 04 March.

BI exit closed from 1346 until 1356 on 06 March.

2.2 STS/VBS Inspections.  No STS/VBSs inspections this reporting week. 

2.3 Dewatering and Fish Salvage.  See misc. 5.4
2.3.1 On 02 March, biologists removed 25 adult steelhead, one adult chinook, one juvenile chinook and two whitefish from the SMF bypass flume.  These fish were all alive and released back to the river.  Biologists also removed the bodies of eight adult shad, 17 juvenile shad, two juvenile chinook, one 2’ sturgeon, two adult smelt and one stickleback.  These dead fish were dumped back into the river.

2.3.2 On 05 March, biologists rescued 12 adult steelhead and one juvenile chinook from the SMF bypass flume.  The bodies of 22 juvenile shad, six adult shad, one peamouth and one clipped adult steelhead were recovered.  All fish were put back into the flume below the lower switchgate.

3.  RESEARCH.

3.1 University of Idaho/WDFW jaw tagging.  Steelhead and spring chinook will be tagged for studies involving the tooth tangle net fishery on the Columbia.

3.2 NMFS Lamprey.  Tracking continues.

3.3 PSMFC.  Smolt monitoring to start at the JMF on 10 March.

3.4 WDFW Fish Counting.  16-hr video counts at Washington Shore and Bradford Island.

3.5 WDFW steelhead.  Trapping and tagging of winter steelhead continues.

4.  FISHWAYS 
4.1 Project biologists inspected 02-08 March this week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	3/2-3/4
	PH1, PH2
	Wires removed.
	Contractor work.
	Wires replaced  4-6 March.  
	

	3/2-3/6
	Main dam
	Two wires broken
	Vandalism
	See above
	

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	PH2 velocity meter
	No velocity measure.
	Meter is missing
	see misc. 5.1
	

	03/02
	PH1 PCC
	OG/SGs open
	
	Operators closed entrance gates 62, 58, 34, 21, and 09.
	

	03/2, 3/05-08
	DSM2
	ERG open
	Debris plug in SMF bypass flume.
	See misc. 5.4
	


4.3 Fish Ladder Temperatures.  Temperatures are not recorded in the winter.

4.4 Sensor Calibration.  Calibration checked on 08 March.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 Divers discovered the PH2 velocity meter was missing from the collection channel.  A new meter will be installed during the mid season dives this summer.

5.2 Cascade Island and B-Branch controls are in manual mode awaiting tailwater sensor calibration.  Electricians are awaiting software.   

5.3 On 24 January, the Project tailwater hard constraint decreased to 11.0’ msl for all hours.  The soft constraint went to 11.2’ msl between 0700-1900 hours.  This is for the protection of the chum redds around Ives Island.  On 17 February, BPA agreed to a hard tailwater constraint of 11.3’ msl and a soft constraint of 11.5’ msl when inflows to Bonneville are >120Kcfs.

5.4 On 02 March , from 1057 until 1610,  the bypass flume was drained  to facilitate removing a debris plug comprised of woody debris and aquatic macrophytes.  The plug formed just above the lower switchgate.  A similar plug formed the morning of 05 March and the ERG was again opened and the flume drained.   PH2 debris can no longer be diverted through the ice and trash chute because of corner collector construction.  The alternative is to rake trash from the trashracks.  During raking, debris can be forced through the trashrack.  The debris moves into the gatewell and eventually passes through the orifices into the DSM.  Trashraking had been ongoing for a week when the plugs formed.  Biologists requested the ERG be left open until 10 March , when sampling of Spring Creek fish will begin.

5.5 At 2240 on 02 March, the PH1 orifice and sluice gates were closed.  Bulkheads will be installed this spring.

5.6 Hydrocannons were turned on at 1220 on 04 March.

5.7 PH1, PH2, and main dam avian wires were replaced/repaired on 04-06 March.  

5.8 PH1 ITS was closed from 0945 until 1130 on 05 March to allow research boats in the BRZ.  The researchers were taking sediment samples as part of the Bradford Island cleanup.

5.9 Contractor repairs to the PDS were completed on 07 March.

5.10 Spring Creek is scheduled to release 7.6 million fall chinook on 08 March.  

5.11 DSM1 is running south as we are waiting for NMFS to complete repairs to their PIT box.  We expect to return the DSM to normal flow on Monday, 17 March.  

 JAMES R. MAHAR

                                 

                                                           Operations Manager

//S//

1
2

