CENWP-OP-B                                                                                                                                     06 April 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 14 of 2003, which covers the period 30 March through 05April 2003.
1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 181.4 to 208.1 kcfs.  Daily project tailwater elevation averaged 16.4’ to 17.8’ msl.  Daily project forebay elevation averaged 74.2’ to 75.2’ msl.  River temperature averaged 46° F.  Daily turbidity measured 3.5’ to 6.0’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ during daylight hours in accordance to the FPP.  Spill averaged 1.8 to 2.0 kcfs.  Spill Bay 1 was closed and Bay 18 was open 1’ from 0813 until 1510 on 03 April to facilitate dive operations at the Main Dam in conjunction with the Bradford Island cleanup.

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Units 11, 12 and 13 were in standby from 1200 until 1600 on 04 April to facilitate the PH2 hydrosurvey.

1.3.3 Unit 15 had an emergency shutdown from 0206 on 30 March until 0900 on 31 March due to exciter limit and regulator power supply alarms.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  During fish passage season, the units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  Fish Unit 1 remains out of service for overhaul and stator rewind.

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed for dive operations this reporting week.

FV5-3, FV5-4 and FV5-9 were closed from 0813 until 1510 on 03 April for dive operations in the Main Dam forebay.

2.2 STS/VBS Inspections.  The following STS/VBS inspections were conducted this reporting week.

VBSs were reseated in units 12 and 13 this week.

	Unit
	Date
	Run Hours
	Comments

	1
	
	
	Out of service

	2
	4/7
	153
	

	3
	4/7
	609
	

	4
	4/7
	419
	

	5
	4/3
	780
	
Stick stuck in C-slot guide.  STS OK.

	6
	4/3
	329
	

	7
	4/2
	449
	

	8
	2/24
	0
	ESBSs

	9
	4/2
	502
	

	10
	4/2
	564
	


Table 1.  STS Inspection Dates.

2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities this reporting week.

3.  RESEARCH.

3.1 NMFS Lamprey.  Tracking continues once a month.

3.2 ODFW Pikeminnow Tagging.  Electrofishing in Bonneville’s forebay and tailrace.

3.3 ODFW Steelhead.  Trapping 1% of the summer steelhead run began 01 April.  Trapping will occur two days a week.

3.4 PSMFC at DSM1.  Continuous PIT tag interrogation began at 0800 on 01 April.  GBT and monitoring are scheduled to begin 07 April.  

3.5 PSMFC at the SMF.  Two dead kelts were stuck on the separator bars.  115 steelhead, 17 salmon, one unknown salmonid and nine smolts slid over the separator bars.

3.6 University of Idaho.  Adult tracking antennas will be installed in the spillway tailrace this year.  Installation to begin around 07 April.

3.7 University of Idaho/WDFW jaw tagging.  Steelhead and spring chinook will be tagged for studies involving the tooth tangle net fishery on the Columbia.

3.8 USGS Juvenile Radiotracking.  USGS still installing equipment around the project.

3.9 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

3.10 WES/Battelle/BAE systems Juvenile hydroacoustic monitoring.  Installing equipment.

4.  FISHWAYS 
4.1 Project biologists inspected 30 March through 05 April this week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	PH2 PCC
	No velocity measure.
	Meter is missing
	See misc. 5.1
	

	3/30
	Weir 37
	Staff gauge reading >1.0’
	Unknown
	No action taken.
	

	4/3
	Cascades Island
	Ladder elevations
	Dive operations
	Ladder returned to criteria at end of dive.
	

	
	Bonneville
	Calibration not checked
	
	
	


4.3 Fish Ladder Temperatures.  Measurements are taken 3 weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Kelvin.  

	Date
	Wash. Shore
	Bradford Is.

	3/30
	
	

	3/31
	
	

	4/1
	
	281.9

	4/2
	
	281.8

	4/3
	
	281.6

	4/4
	281.8
	281.7

	4/5
	281.7
	281.7


4.4 Sensor Calibration.  Calibration was not checked this week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. MISCELLANEOUS

5.1 Divers discovered the PH2 velocity meter was missing from the collection channel.  A new meter will be installed during the mid season dives this summer.

5.2 On 24 January, the Project tailwater hard constraint decreased to 11.0’ msl for all hours.  The soft constraint went to 11.2’ msl between 0700-1900 hours.  This is for the protection of the chum redds around Ives Island.  On 17 February, BPA agreed to a hard tailwater constraint of 11.3’ msl and a soft constraint of 11.5’ msl when inflows to Bonneville are >120Kcfs.

5.3 The Project is currently operating under new guidelines for one fish unit operation.  Even with the mods to the floating orifice gates, we still have some trouble maintaining differential at the south end.  We will manipulate entrance gates to try to achieve proper differential.

5.4 Cascade Island and B-Branch are mostly operating in Auto.  FV4-3 and FV5-3 (conduit supplies) are still in manual due to faulty transducers. 

5.5 DSM2 screen cleaner #2 was out of service from 0500 until 1330 on 31 March due to a broken chain.

5.6 Sediment samples are still being taken as part of the Bradford Island cleanup.  Spillway operations were only impacted on 03 April when Bay 1 was closed and Bay 18 open 1’.

5.7 PH2 diffuser B1 was closed at 1610 on 04 April for installation of the valve motor.  The diffuser is only open 15” until the motor can be wired to the SA-24 Board.  Differential is in criteria even with the valve only partially open.

5.8 A request for a contract for a tug to remove debris from PH2 forebay has been made. 

5.9 Sea lions and harbor seals have been observed in the tailrace of both powerhouses and the spillway.  No action is being taken by the project to harass, harm, or otherwise annoy these animals.  FFU is monitoring and recording their activity.

 JAMES R. MAHAR

                                 

                        

                                   Operations Manager

//S//

1
3

