CENWP-OP-B                                                                                                                        08 September 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 36 of 2003, which covers the period 31 August through 06 September 2003.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 93.8 to 147.0 kcfs.  Daily project tailwater elevation averaged 9.0’ to 11.7’ msl.  Daily project forebay elevation averaged 74.4’ to 76.2’ msl.  River temperature averaged 68 to 69° F.  Daily turbidity measured 6.0’ to 7.4’ on the secchi disk.

1.2 FPP spill ceased at 2354 on 31 August.  Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ from 0530 until 1930 each day.  Spill averaged 1.7 to 91.9 kcfs.  

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 2 remains out of service due to crane rail replacement.  
1.3.3 Unit 3 remains out of service due to crane rail replacement.  

1.3.4 Unit 4 remains out of service due to crane rail replacement. 
1.3.5 Unit 5 remains out of service due to crane rail replacement. 

1.3.6 Unit 6 remains out of service due to crane rail replacement. 

1.3.7 Unit 7 remains out of service for its five year overhaul.

1.3.8 Unit 8 remains out of service due to crane rail replacement. 

1.3.9 Unit 14 remains out of service for its four year overhaul.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed this reporting week.

2.1.1 FV5-9 closed for cleaning from 0853 until 0915 on 03 September

2.1.2 BI Exit closed for cleaning from 0800 until 0810 on 04 September.

2.2 STS/VBS Inspections.  No STS/VBS inspections were conducted this reporting week.

2.3 Dewatering and Fish Salvage.  No dewatering or fish salvage activities occurred this week.  

3.  RESEARCH.

3.1 CRITFC.  Sampling has resumed though water levels are still above 70º F.

3.2 NMFS Lamprey.  Trapping, tagging and tracking continue four or more days a week.

3.3 ODFW Steelhead.  Trapping continues one to two days a week.

3.4 PSMFC at the SMF.  GBT exams continue.  One salmonid slid over the separator bars.

3.5 University of Idaho.  Adult tracking tagging and tracking continues four days a week.

3.6 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

3.7 WDFW Tule counter.  Visual counts continue at Washington Shore and Bradford Island.

4.  FISHWAYS 
4.1 Project biologists inspected 31 August through 06 September this reporting week.  

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR/WAR

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	PH2 PCC
	No velocity measure.
	Logic board was short circuited
	Sending in to mfr for repair
	

	All week
	PH1 ITS
	Chain gate 7A and ITS end gate closed.
	Crane rail work
	8B opened.  See const. 5.2.1
	

	9/3, 9/5
	Weir 37 and Weir 38
	Reading >1.0’
	
	Operators to blow off screen.
	


4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Celsius this week.  http://students.washington.edu/kyle/temptable.jpg   (295.37K = 22.22C= 72F)

	Date
	WA Shore
	Bradford Is.
	AFF exit

	8/31
	21.65
	21.55
	21.65

	9/1
	21.45
	21.45
	21.45

	9/2
	21.35
	21.45
	21.45

	9/3
	21.35
	21.35
	21.45

	9/4
	21.65
	21.55
	21.75

	9/5
	21.85
	21.85
	21.95

	9/6
	21.85
	21.85
	21.85


4.4 Sensor Calibration.  Calibration was checked on 09 September this reporting week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. CONSTRUCTION

5.1 PH 2 Corner Collector

5.1.1 In a 10 July teletype the Project was given a hard constraint maximum tailwater of 16’ until 01 September.  This is for the B2CC work at PH2.  In a 15 July teletype, the maximum tailwater constraint overrules spill to the 120% gas cap if spill raises tailwater over 16’.

5.2 PH 1 Crane Rail Replacement- started on 01 August and will continue until 16 December.
5.2.1 As a safety precaution, chain gate 7A has been closed (8A to compensate) and the end gate will be closed during the hours of 0530 until 1900 for the contractors working over the ITS.  The end gate will be opened each evening to flush fish.  

5.2.2 PH1 priority is as follows until 16 September; Unit 9 before Unit 10 without screens.  After 16 September; Unit 10 before Unit 9 with screens.  The ITS will be opened during unit operation and allowed to run for not less than four hours after the units have been shutdown (to flush fish that may have been attracted into PH1 forebay).

5.2.3 PH1 ITS, Unit 9 and Unit 10 operations summary

01 September- Unit 9 in service at 2012, Unit 10 in service at 2300.

02 September- ITS closed from 0545 until 1730, Unit 9 and 10 in service until 0200.

03 September- ITS closed from 0530 until 1610

04 September- ITS closed from 0530 until 1605, Unit 9 in service at 1615.

05 September- ITS closed from 0530 until 1630, Unit 9 in service until 0404.

06 September- ITS closed from 0530 until 1705

6. MISCELLANEOUS

6.1 FV6-9 remains in manual.

6.2 The hydrocannons at the SMF were turned off at 1700 on 31 August.

JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

