CENWP-OP-B                                                                                                                        20 October 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 42 of 2003, which covers the period 12 through 18 October 2003.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 80.4 to 115.9 kcfs.  Daily project tailwater elevation averaged 8.5’ to 10.7’ msl.  Daily project forebay elevation averaged 74.6’ to 75.5’ msl.  River temperature averaged 60 to 62° F.  Daily turbidity measured 6.5’ to 7.0’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ from 0530 until 1930 each day.  Spill averaged 2.3 to 2.4 kcfs.  

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Units 2 through 6 remain out of service due to crane rail replacement.  
1.3.3 Unit 7 remains out of service for its five year overhaul.

1.3.4 Unit 8 remains out of service due to crane rail replacement. 

1.3.5 Unit 11 went out of service at 2109 on 17 October due to an emergency shutdown.

1.3.6 Unit 14 remains out of service for its four year overhaul.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed for cleaning this reporting week.

FV5-9- closed from 0811 until 0820 on 14 October.

2.2 STS/VBS Inspections.  No STS/VBS inspections were conducted this reporting week.

2.3 Dewatering and Fish Salvage.  One dewatering or fish salvage activities occurred this week.  

2.3.1 B2CC was watered up and dewatered on 15 October.  No fish were handled.   See Const. 5.1 

3.  RESEARCH.

3.1 CRITFC.   Sampling of chinook, sockeye, and coho continues until 23 October.  

3.2 ODFW Steelhead.  Trapping concluded this week.

3.3 PSMFC at the SMF.  Three adult steelhead and 10 fallback salmon slid off the separator bars.  Sampling ends on 31 October.
3.4 University of Idaho.  Adult tracking tagging and tracking concluded this week.

3.5 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

4.  FISHWAYS 
4.1 Project biologists inspected 12 through 17 October and NMFS inspected on 15 October this reporting week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	PH2 PCC
	No velocity measure.
	Logic board was short circuited
	Sending in to mfr for repair
	

	All week
	FG3-3, FG3-4
	FG3-3 OOS
	Mechanical binding.
	FG3-4 to compensate.  
	

	10/14
	Weir 37
	Reading < 1.0’ +/-
	Unknown
	Operators to check.
	

	10/15
	FG6-14
	Not in correct position.
	TW sensor needs calibrated.
	Operators manually opened diffuser.
	

	10/18
	Bon Dam
	Missed one inspection
	Personnel shortage
	No action taken
	


4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Celsius this week.  http://students.washington.edu/kyle/temptable.jpg   (295.37K = 22.22C= 72F)

	Date
	WA Shore
	Bradford Is.
	AFF exit

	10/12
	17.35
	17.25
	17.25

	10/13
	17.05
	17.05
	17.05

	10/14
	16.95
	16.85
	16.95

	10/15
	16.85
	16.75
	16.75

	10/16
	16.85
	16.85
	16.75

	10/17
	16.85
	16.85
	16.85

	10/18
	17.05
	17.05
	17.05


4.4 Sensor Calibration.  Calibration was checked on 15 October this week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. CONSTRUCTION

5.1 PH 2 Corner Collector- Opened from 0910 until 1000 on 15 October.
5.1.1 A teletype on 16 October requests not more than 100kcfs from PH2 from 0700 until 1800 on 16 and 17 October, Unit 11 to be on standby from 1256 until 1720 on 16 October, and Units 11 and 12 be put on standby from 0700 until 1600 on 17 October.  This is to facilitate the riprap repairs by the contractor.

5.2 PH 1 Crane Rail Replacement- started on 01 August and will continue until 16 December. 

5.2.1 Units 5 through 10 are due back in service by 03 November.

5.2.2 As a safety precaution, chain gate 7A (8B to compensate) and the ITS end gate are closed during construction.  Please see 5.2.4 for ITS closure times.  

5.2.3 When Units 9 and 10 are in operation, the ITS will be opened and allowed to run for not less than four hours after the units have been shutdown (to flush fish that may have been attracted into PH1 forebay).

5.2.4 PH1 ITS, Unit 9 and Unit 10 operations summary

12 October- Unit 10 in service until 0054.
13 October- ITS closed from 0600 until 1930.  

14 October- ITS closed from 0530 until 1930.  Unit 10 in service at 2127.

15 October- Unit 10 in service until 0531.   ITS closed from 0540 until 0705.  Units 9 and 10 in service from 0707 until 0805.  Unit 10 in service from 1514 until 2354.

16 October- Unit 10 in service at 0554.  Unit 9 in service at 0816.

17 October- Units 9 and 10 in service until 1610.  Unit 10 in service at 2112.

18 October- Unit 9 in service from 0042 until 0148.  Unit 10 in service until 0254.  ITS closed from 0730 until 1752.

5.3 Main dam excavation work.  Excavation began 20 October.  Kiewit expects to be done by 25 October.  All excavation work is done on the graveyard shift.
JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

