CENWP-OP-B                                                                                                                        27 October 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 43 of 2003, which covers the period 19 through 25 October 2003.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 81.1 to 135.4 kcfs.  Daily project tailwater elevation averaged 7.8’ to 12.3’ msl.  Daily project forebay elevation averaged 73.9’ to 75.7’ msl.  River temperature averaged 60 to 61° F.  Daily turbidity measured 3.0’ to 7.0’ on the secchi disk.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascade Island and Bradford Island fishways respectively, are open .5’ from 0530 until 1930 each day.  Spill averaged 2.3 to 2.7 kcfs.  

1.3 Unit Operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Units 2 through 6 remain out of service due to crane rail replacement.  
1.3.3 Unit 7 remains out of service for its five year overhaul.  Tail logs to be pulled 27 October.

1.3.4 Unit 8 remains out of service due to crane rail replacement. 

1.3.5 Unit 9 was out of service from 0456 until 1705 on 21 October for annual maintenance.

1.3.6 Unit 10 was out of service from 0500 until 1711 on 22 October for annual maintenance.

1.3.7 Unit 14 remains out of service for its four year overhaul.  Tail logs pulled 23 October.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  No AWS valves were closed for cleaning this reporting week.

2.2 STS/VBS Inspections.  No STS/VBS inspections were conducted this reporting week.

2.3 Dewatering and Fish Salvage.  The following dewatering or fish salvage activities occurred this week.  

2.3.1 Unit 14 tail logs were pulled on 23 October.  No fish salvaged.

3.  RESEARCH.

3.1 CRITFC.   Sampling of chinook, sockeye, and coho concluded this week.  

3.2 PSMFC at the SMF.  Three fallback salmon slid off the separator bars.  Sampling ends on 31 October.
3.3 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

4.  FISHWAYS 
4.1 Project biologists inspected 19 through 25 October this reporting week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	PH2 PCC
	No velocity measure.
	Logic board was short circuited
	Sending in to mfr for repair
	

	All week
	FG3-3, FG3-4
	FG3-3 OOS
	Mechanical binding.
	FG3-4 to compensate.  
	

	10/25
	B-Branch
	Diffusers not correct for TW elev.
	Fishway computers in manual.
	Operators to correct.
	


4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Celsius this week.  http://students.washington.edu/kyle/temptable.jpg   (295.37K = 22.22C= 72F)

	Date
	WA Shore
	Bradford Is.

	10/19
	16.95
	16.95

	10/20
	16.95
	16.95

	10/21
	17.05
	17.05

	10/22
	17.25
	17.15

	10/23
	16.95
	16.95

	10/24
	16.45
	16.45

	10/25
	15.95
	15.75


4.4 Sensor Calibration.  Calibration was checked on 24 October this week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. CONSTRUCTION

5.1 PH 2 Corner Collector- Finishing up any last minute contract items.

5.2 PH 1 Crane Rail Replacement- started on 01 August and will continue until 16 December. 

5.2.1 Units 6 through 10 are due back in service by 03 November.

5.2.2 As a safety precaution, chain gate 7A (8B to compensate) and the ITS end gate are closed during construction.  Please see 5.2.4 for ITS closure times.  

5.2.3 When Units 9 and 10 are in operation, the ITS will be opened and allowed to run for not less than four hours after the units have been shutdown (to flush fish that may have been attracted into PH1 forebay).

5.2.4 PH1 ITS, Unit 9 and Unit 10 operations summary

19 October- ITS closed from 0615 until 1710.

20 October- ITS closed from 0528 until 1205.  Units 9 and 10 in service at 1157.

21 October- Units 9 and 10 to standby at 0108.  ITS closed from 0529 until 1110.  Unit 10 in service at 1107.  Unit 9 in service from 1705 until 2305.

22 October- Unit 10 to standby at 0150.  ITS closed from 0527 until 0553.  Unit 9 in service from 0553 until 2300.  Unit 10 in service at 1711.

23 October- Unit 10 to  standby at 0106.  Unit 10 in service at 0603.  Unit 9 in service at 0643.

5.3 Main dam excavation work.  Excavation work started on 20 October and finished by 25 October.  All excavation work was done on the graveyard shift.
JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

