CENWP-OP-B                                                                                                                        08 December 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 49 of 2003, which covers the period 30 November through 06 December 2003. 

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 120.1 to 128.5 kcfs.  Daily project tailwater elevation averaged 11.5’ to 13.1’ msl.  Daily project forebay elevation averaged 73.1’ to 75.6’ msl.  River temperature averaged 44 to 45° F.  Daily turbidity measured 5.0 to 7.0 on the secchi disk.  

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and Bradford Island fishways respectively, are open .5’ from 0530 until 1930 each day.  Spill averaged .9 to 2.5 kcfs.  Spillbay 1 was closed at 1830 on 30 November in preparation of the Cascades Island fishway dewatering.  It will remain closed until Cascades Island returns to service.

1.3 Unit operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Units 2 through 4 remain out of service due to crane rail replacement. 

1.3.3 Unit 8 went out of service at 0006 on 06 December due to an ESBS failure.

1.3.4 Unit 10 returned to service at 1548 on 01 December. 

1.3.5 Unit 11 remains out of service due to an emergency shutdown on 17 October.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.4.1 F1 went out of service at 0719 on 03 December for testing and winter maintenance.

1.4.2 F2 went out of service at 0300 on 03 December for F1 testing and winter maintenance.

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed for cleaning this reporting week.

FV1-1- from: 1300 until 1320 on 30 November, 1554 until 1615 on 01 December, 1459 until 1624 on 04 December, 1330 until 1356 on 06 December.

FV3-7- from: 0731 until 0805 and from 1415 until 1515 on 06 December.

FV3-9- from: 1320 until 1350 on 30 November, 1010 until 1020 on 01 December, 1015 until 1024 and 1236 until 1254 on 04 December, and 1500 until 1615 on 06 December.

2.2 STS/VBS Inspections.  No STS/VBS were inspected this reporting week.

2.3 Dewatering and Fish Salvage.  

2.3.1 The following dewatering activities occurred this reporting week.

2.3.1.1 DSM2 went out of service at 0758 on 01 December.  No fish were salvaged.

2.3.1.2 The two-mile pipe was inspected on 02 December.  One gouge was found just downstream from the first access hatch.  

2.3.1.3 Cascades Island fishway went out of service at 0735 on 01 December.  Dewatering activities were conducted on 03 December.  WDFW, PSMFC, and Project Biologists recovered 16 adult steelhead and one lamprey from the UMT; 100 lamprey, five crawdads, 100 sticklebacks, two juvenile steelhead, two juvenile chinook, one pikeminnow, and 250 peamouth from the CI ladder/FV5-9 channel; and two adult steelhead, two juvenile steelhead, and one lamprey from the CI diffuser pools.  We noticed most all the lamprey were hiding in the wee triangle section of the FV5-9 channel.  

2.3.2 Upcoming dewatering activities-

2.3.2.1 AFF dewater on 08 December.

2.3.2.2 Washington Shore dewater on 10 December.

2.3.2.3 Washington Shore/CI fishway dive on 11 December.

3.  RESEARCH.

3.1 WDFW Fish Counting.  16-hr video counts at Washington Shore and Bradford Island.

3.2 WDFW Chum.  Chum trapping and tagging continues until 07 December.

4.  FISHWAYS 
4.1 Project biologists inspected 30 November, 01, 02, and 04 December this reporting week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	12/4
	PH2 PCC
	Velocity <1.5fps
	No attraction flow.
	Stab plates installed and entrance gates adjusted.
	

	All week
	FG3-3, FG3-4
	FG3-3 OOS
	Mechanical binding.
	FG3-4 to compensate.  
	

	12/1-2, 12/4
	Weir 37/38
	Reading >1.0’ over the weir.
	UMT bulkhead installed.  Mechanics working on weir 67 bleed-off.
	No action taken at this time.
	


4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Kelvin this week.  http://students.washington.edu/kyle/temptable.jpg   (295.37K = 22.22C= 72F)

	Date
	WA Shore
	Bradford Is.

	11/30
	281.7
	281.8


4.4 Sensor Calibration.  Calibration was checked on 05 December this week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. CONSTRUCTION

5.1 PH 2 Corner Collector- Repairs to the ogee underway.  Another gate test will be scheduled once the concrete has cured, tentatively expected for late December.

5.2 PH 2 Corner Collector Hi-Q PIT tag detector- Prototype still planned for installation in 2004.

5.3 PH 1 Crane Rail Replacement- started on 01 August and will continue until 16 December. 

5.3.1 As a safety precaution, chain gate 7A (8B to compensate) is closed during construction.  

6. MISCELLANEOUS

6.1 Per a teletype sent on 17 November, Project tailwater will have a soft constraint of 11.4’ to 11.7’ msl between the hours of 0700 until 1900.  This constraint is for chum spawning habitat located below the dam.

6.2 Project Fisheries is working with Bonneville Rangers in submitting a grant proposal for the Trout Unlimited Embrace A Stream grant.  We are looking at weed removal, re-vegetation, and in stream restoration at Bass Lake.

6.3 Per a teletype issued on 25 November, PH2 forebay flow will be restricted on 02 December to facilitate the installation of the boat exclusion device at the B2CC.

JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

