CENWP-OP-B                                                                                                                        22 December 2003

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 51 of 2003, which covers the period 14 though 21 December 2003. 

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 141.1 to 172.3 kcfs.  Daily project tailwater elevation averaged 14.5’ to 15.5’ msl.  Daily project forebay elevation averaged 73.5’ to 74.7’ msl.  River temperature averaged 42 to 43° F.  Daily turbidity measured 5.0 to 7.0 on the secchi disk.  

1.2 Spill Bay 18, which supplies attraction flow for the Bradford Island fishway, is open .5’ from 0630 until 1600 each day.  Spill averaged 0.7 to 0.8 kcfs.  Spillbay 1 will remain closed until Cascades Island returns to service.

1.3 Unit operation

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 2 was out of service from 0647 until 0922 on 17 December for STS removal. 

1.3.3 Unit 3 was out of service from 0926 until 1624 on 17 December for STS removal.  

1.3.4 Unit 4 was out of service from 0630 until 0835 on 18 December for STS removal.

1.3.5 Unit 5 was out of service from 0837 until 1156 on 18 December for STS removal.

1.3.6 Unit 6 was out of service from 1038 until 1442 on 16 December for STS removal.

1.3.7 Unit 7 was out of service from 1232 until 1613 on 15 December for STS removal.

1.3.8 Unit 8 was out of service from 0615 until 1035 on 16 December for ESBS removal.

1.3.9 Unit 9 was out of service from 0903 until 1139 on 15 December for STS removal.

1.3.10 Unit 10 was out of service from 0639 until 0901 on 15 December for STS removal.

1.3.11 Unit 11 remains out of service due to an emergency shutdown on 17 October.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.4.1 F1 remains out of service for testing and winter maintenance.

1.4.2 F2 remains out of service for F1 testing and winter maintenance.

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed for cleaning this reporting week.

FV1-1- from: 0803 until 0908 on 15 December, 0715 until 0900 on 16 December, 1523 until 1637 on 18 December, 1045 until 1145 on 19 December, and 1100 until 1215 on 20 December.  

FV3-7- from: 0710 until 0754 on 15 December and 0840 until 0920 on 16 December. 

FV3-9- from: 0840 until 0920 on 16 December, 1320 until 1330 on 18 December, 0950 until 1045 on 19 December, and 0900 until 1035 on 20 December.  

2.2 STS/VBS Inspections.  

	2
	12/17
	596
	Removed for winter maintenance 

	3
	12/17
	514
	Removed for winter maintenance 

	4
	12/18
	433
	Removed for winter maintenance 

	5
	12/18
	518
	Removed for winter maintenance 

	6
	12/16
	616
	Removed for winter maintenance 

	7
	12/15
	768
	Removed for winter maintenance 

	8
	12/16
	2468
	Removed for winter maintenance 

	9
	12/15
	1238
	Removed for winter maintenance 

	10
	12/15
	1131
	Removed for winter maintenance


Table 1.  STS Inspection Dates.
2.3 Dewatering and Fish Salvage.  

2.3.1 The following dewatering activities occurred this reporting week.

2.3.1.1 Powerhouse one JBS went out of service on 17 December.  Biologists recovered 50 juvenile chinook, 25 juvenile steelhead (2 dead), 3 sculpin, 15 sticklebacks, 120 adult shad, 200 juvenile shad, and 12 adult salmonids that have been dead for some time (2 chinook and 10 unidentifiable to species).

3.  RESEARCH.

3.1 WDFW Fish Counting.  16-hr video counts at Bradford Island.

3.2 WES/Battelle/BAE Systems.  Collecting preliminary hydroacoustic data on MU 10.   

4.  FISHWAYS 
4.1 Project biologists inspected 15, 16, and 18 December this reporting week.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5fps
	Meter in slowest part of channel
	No response at this time.
	

	All week
	FG3-3, FG3-4
	FG3-3 OOS
	Mechanical binding.
	FG3-4 to compensate.  
	


4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are not recorded during winter maintenance season.

4.4 Sensor Calibration.  Calibration was checked on 15 December this week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

5. CONSTRUCTION

5.1 PH 2 Corner Collector- Repairs to the ogee underway.  Another gate test is scheduled on 8-9 January.  

5.2 PH 2 Corner Collector Hi-Q PIT tag detector- Prototype still planned for installation in 2004.

5.3 PH2 Corner Collector Avian Wires- Frame work completed for avian wire installation scheduled in February over the plunge pool.   

5.4 PH 1 Crane Rail Replacement- Started on 01 August and will continue until 31 December.   

6. MISCELLANEOUS

6.1 Project Fisheries is working with Bonneville Rangers in submitting a grant proposal for the Trout Unlimited Embrace A Stream grant.  We are looking at weed removal, re-vegetation, and in stream restoration at Bass Lake.

6.2 The PSC is scheduled for removal starting 5 January.  

6.3 Per a teletype sent on 18 December, Project tailwater will have a hard constraint of 11.8’ and a soft constraint of 11.8’ to 12.1’ between the hours of 0700 until 1700.  This constraint is for chum spawning habitat located below the dam.

JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

