CENWP-OP-B                                                                                                                                     29 March 2004

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 14 of 2004, which covers the period 28 March through 03 April 2004.

1.  OPERATION SUMMARY.

1.1 Daily river flow averaged 136.4 to 166.0 kcfs.  Daily project tailwater elevation averaged 12.6’ to 14.6’ msl.  Daily project forebay elevation averaged 72.4’ to 74.9’ msl.  River temperature averaged 45 to 46° F.  Daily turbidity measured 4.0 to 6.0 on the secchi disk.  

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B Branch respectively, are open .5’ during daylight hours.  Spill averaged 2.1 to 2.5 kcfs.  

1.3 Unit operation.

1.3.1 Unit 1 remains out of service for turbine rehab.

1.3.2 Unit 10 remains out of service.

1.3.3 Unit 11 returned to service at 1727 on 31 March.

1.3.4 Unit 14 returned to service at 1709 on 30 March.

1.3.5 Unit 17 remains out of service for VBS modifications.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.  

1.5 Gatewell drawdowns are measured on Wednesdays.

2.  ACTIVITIES. 
2.1 AWS Closures.  The following AWS valves were closed this reporting week.

FV1-1—closed from 1404 until 1418 and from 1515 until 1528 on 29 March.  Closed from 1551 until 1608 on 01 April.

2.2 STS/VBS Inspections.  The following STSs were inspected this reporting week.

	Unit
	Date
	Run Hours
	Comments

	11
	
	
	OOS

	12
	4/1
	785
	

	13
	4/1
	780
	

	14
	3/30
	603
	

	15
	3/31
	774
	

	16
	3/31
	772
	

	17
	
	
	OOS VBS Modifications

	18
	3/30
	772
	


Table 1.  STS Installation Dates.

2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities this reporting week. 

3.  RESEARCH.

3.1 Battelle FGE testing.  Hydroacoustic installation complete.

3.2 CRITFC.  Scheduled to start in mid-March.

3.3 ERDC TDG.  Sensors remain installed in the tailrace.

3.4 NOAA FISH lamprey.  Lamprey ladder installation in April.  

3.5 PSMFC SMF.  Three steelhead slid over the separator bars this week. 

3.6 PSMFC PIT tag.  Testing an antenna for the serpentine sections of the fishways.

3.7 USGS FPE testing.  Radio telemetry equipment to be installed on the Project throughout March.  

3.8 University of Idaho.  Scheduled to start sampling fish on 05 April.

3.9 Wildlife Services/Avian Abatement.  The 30 day comment period for the Avian Predation Deterrent Program EA is open until 11 April.  www.nww.usace.army.mil/reports/avian/default.htm  
3.10 WDFW Fish Counting.  16-hr video counts at Washington Shore and Bradford Island.

4.  FISHWAYS 
4.1 Project biologists inspected 28 March through 03 April this reporting week.  FPC inspected on 30 March.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5 fps
	Meter in slowest part of the channel.
	This is a normal condition.
	

	3/29-4/2
	FG3-4
	Incorrect position for TW
	Bent shaft
	No action taken.
	

	4/1, 4/3
	Weir 37
	Reading >1.0’ +/- .1’
	AFF operations, unknown
	Ladder reached equilibrium.  No action taken.  
	

	4/1
	DSM2
	13C-S jammed shut
	Loose bolts.
	Mechanics repaired.
	


4.3 Fish Ladder Temperatures.  .  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Fahrenheit.

	Date
	Wash. Shore
	Bradford Is.

	3/28
	47.1
	47.5

	3/29
	47.9
	48.0

	3/30
	48.0
	48.3

	3/31
	47.9
	48.3

	4/1
	48.3
	48.5

	4/2
	48.5
	48.7

	4/3
	48.8
	49.1


4.4 Sensor Calibration.  Calibration was checked on 01 April this reporting week.

4.5  Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week. 

4.6 Fishway Status.  

4.6.1 DSM2 airburst system training for operators and bios scheduled for 0800 on 06 April.

4.6.2 DSM1 remains out of service.

5 CONSTRUCTION

5.1 PH 2 Corner Collector Hi-Q PIT tag detector- Prototype antenna construction started on Cascades Island.  If feasible the prototype antenna will then be constructed into the existing channel during the in-water work period in FY05.
5.2 Unit 17 VBS mods.  From the hours between 1200-1800, after 1 March 2004 until completion, no work such as concrete saw cutting, bush and vibro-hammering may be done inside the gatewells of unit 17 at PH2.  Between 0000-1200 and 1800-2400 hours, the contractor may complete work inside the gatewells with the associated equipment and construction techniques dealing with concrete saw cutting, bush and vibro-hammering.  VBS delivery currently scheduled for 09 April.

5.3 B2 Follow-on.  The airburst system has been programmed to run in auto.

5.4 SMF hydrocannons.  The hydro cannons at the SMF are not operational at this time.  The Project is working on repairs.  

5.5 Adult PIT tag exit detectors.  Current schedule is set for installation in both ladders for Winter 04/05.

5.6 Head Gate Delivery.  Off loading of headgates at PH1 is scheduled for 07 June 2004.

5.7 PH 1 Gantry Crane Delivery and Erection.  Scheduled for 9 August through 4 December.    

6 MISCELLANEOUS

6.1 Sea lions and harbor seals have been observed in the tailrace of both powerhouses and the spillway.  No action is being taken by the project to harass, harm, or otherwise annoy these animals.  

6.2 Sometime during the early morning hours of Wednesday 31 March, 23,330 gallons of chlorinated water was unintentionally released into the environment.  Washington and Oregon were notified of the release.  Concentration was estimated to be about 4 ppm.  The concentrations may have been even lower by the time the spill reached the river.  No signs of negative impacts to fish and wildlife were seen on Wednesday morning.  Please see memo sent out on 05 April.

JAMES R. MAHAR, P.E.

Operations Manager

//S//

1
2

