CENWP-OP-B                                                                                                                                  06 September 2004

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 36 of 2004, which covers the period from 29 August through 04 September 2004.

1.  OPERATION SUMMARY

1.1 Daily river flow averaged 100.4 to 189.5 kcfs.  Daily project tailwater elevation averaged 10.0’ to 14.8’ msl.  Daily project forebay elevation averaged 74.4’ to 76.4’ msl.  Daily river temperature averaged 68 to 69°F.  Daily turbidity measured 6.0 to 7.0 on the secchi disk.  

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B Branch respectively, are part of the FPP spill pattern.  Spill averaged 2.2 to  98.0 kcfs.  Control room indications do not reflect actual flow through the main dam.  Corrective actions are being coordinated at this time.  See misc. 6.1 
1.2.1  Juvenile spill ended at 2359 on 31 August.  

1.2.2 Adult attraction continues during daylight hours (0530 until 1930).

1.3 Unit operation.  See Fishway status 6.2. 
1.3.1 Unit 0 remains out of service for a 5-year overhaul.

1.3.2 Unit 1 remains out of service for turbine rehab.

1.3.3 Unit 2 was out of service from 0155 until 1634 on 01 September.

1.3.4 Units 7 and 8 were out of service from 0750 until 0845 on 30 August, from 1115 until 1340 on 31 August and from 1206 on 01 September until 0420 on 02 September for gantry crane three construction activities.

1.3.5 Units 9 and 10 remain out of service for gantry crane three construction.

1.3.6 Unit 12 returned to service at 0930 on 30 August.

1.3.7 Unit 14 returned to service at 1806 on 30 August.  

1.3.8 Unit 18 remains out of service for 4-year overhaul.   

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.5 Gatewell drawdowns are measured on Wednesdays.  Drawdowns are measured daily on Unit 17.

2.  ACTIVITIES

2.1 AWS Closures.  No AWS valves were closed this reporting week. 

2.2 STS/VBS Inspections.    No STSs/VBSs were inspected this reporting week.  

2.3 Dewatering and Fish Salvage. The following dewatering or salvage activities occurred this reporting week.  
2.3.1 B2 Corner Collector was closed at 1500 on 31 August.  Biologists found no fish.
3.  RESEARCH
3.1 CRITFC.  Sampling continues twice a week.  Temperatures remain below 72ºF. 

3.2 ERDC TDG.  Sensors remain installed in the tailrace.

3.3 NOAA FISH lamprey.  Lamprey tagging continues.  

3.4 PSMFC SMF.  Three adult steelhead were observed sliding over the separator bars this week.   PDS screen sweep returned to Auto on 31 August.

3.5 Univ. of Idaho.   Sampling until noon continues.   Temperatures remain below 72ºF.

3.6 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

3.7 WDFW/ODFW.  Tule counting started on 15 August and will continue until 15 October.

4.  FISHWAYS

4.1 Project biologists and FFU inspected 29 August through 04 September this reporting week.  FPC inspected on 30 August.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5 fps
	Meter in slowest part of the channel
	This is a normal condition.
	

	All week
	PH2 PCC
	Velocity < 1.5 fps
	No acoustic sensor
	Will repair during winter 04/05
	

	8/30-31, 9/2
	FG3-4
	Not at correct position for TW
	Diffuser is broken and cannot operate.
	Will be repaired during winter 05/06.
	

	9/4
	B-Branch
	Water elevations <1.0’
	Unknown
	
	


4.3 Fish Ladder Temperatures.   Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Measurements for the AFF are taken in the exit ladder.  Temperatures are in Fahrenheit.

	Date
	Wash. Shore daily average
	Bradford Is. daily average
	AFF exit daily maximum

	8/29
	71.6
	71.5
	71.8

	8/30
	71.7
	71.5
	71.9

	8/31
	71.8
	71.8
	72.0

	9/01
	71.3
	71.3
	71.4

	9/02
	70.0
	69.9
	70.2

	9/03
	69.3
	69.4
	69.5

	9/04
	68.9
	68.8
	69.0


4.4 Sensor Calibration.  Calibration was checked on 02 September this reporting week.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5.   CONSTRUCTION

5.1 Adult PIT tag exit detectors.  Current schedule is set for installation in WA ladder for Winter 04/05.

5.2 PH 1 Gantry Crane Delivery and Erection.  Construction will continue through 04 December.    

6.  FISHWAY STATUS

6.1 B2 Corner Collector.  The corner collector was closed at 1500 on 31 August and will remain closed until the 2005 fish passage season.

6.2 Adult Fishway.  As per the FPP, two priority units were operated at PH1 when fish numbers met or exceeded 25,000 fish.  This unit operation will continue until fish numbers drop below 25,000.

6.3 Adult Fish Facility.  Temperatures have dropped below 70.0ºF.  Trapping can continue as normal.
6.3.1 On 07 September, the AFF will be closed to trapping at 1000.  This is to facilitate fish safety modifications to the exit ladder.

6.4 PH1 Ice and trash sluiceway.  Hydraulic engineers will be taking flow measurements over the chain gates on 07 September.  Chain gates may be adjusted for measurements.

7.  MISCELLANEOUS AND OTHER NOTEWORTHY ITEMS
7.1  On 09 August, the Project received the latest teletype for spill.  Increase each spill bay opening by 0.3 foot over the opening shown in the Fish Passage Plan during daytime and minimum spill periods to meet BiOp spill requirements.  
7.2 A teletype issued on 25 August requests a hard forebay constraint of 75.0- 76.5’ from 0600 on 31 August until 1800 on 03 September.  This restriction is to accommodate the treaty gill net fishing.

7.3 A teletype issued on 19 August requests a flow restriction not to exceed 150 Kcfs from 0700 until 1130 on 06 September.  This is to reduce currents in the river for the cross channel swim at Hood River.

JAMES R. MAHAR, P.E.

Operations Manager

//S/

1
2

