CENWP-OP-B                                                                                                                                  25 October 2004

MEMORANDUM FOR CENWP-OP, ATTN: Gary Johnson

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for week 43 of 2004, which covers the period from 17 through 23 October 2004.

1.  OPERATION SUMMARY

1.1 Daily river flow averaged 83.3 to 143.4 kcfs.  Daily project tailwater elevation averaged 9.0’ to 13.3’ msl.  Daily project forebay elevation averaged 74.9’ to 76.2’ msl.  Daily river temperature averaged 61 to 64(F.  Daily turbidity measured 7.0 on the secchi disk.  

1.2 Spill Bays 1 and 18, which supply adult attraction flow for Cascades Island and B Branch respectively, are open during daylight hours (0500 until 1930).  Spill averaged 1.9 to 4.2 kcfs.  

1.3 Unit operation.  

1.3.1 Unit 0 remains out of service for a 5-year overhaul.

1.3.2 Unit 2 remains out of service for turbine rehab.

1.3.3 Unit 10 remains out of service for gantry crane three construction.

1.3.4 Unit 11 had a 1% violation from 0740 until 0840 on 18 October due to STS inspections.

1.3.5 Unit 13 had a 1% violation from 0720 until 0809 on 21 October due to STS inspections.

1.3.6 Unit 15 3D CAM remains in manual.  

1.3.7 Unit 16 was out of service from 1015 until 1800 on 18 October and from 0900 until 1803 on 19 October for index testing.  Unit 16 had a 1% violation from 0810 until 0910 on 21 October due to STS inspections.

1.3.8 Unit 18 remains out of service for 4-year overhaul.   

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.   

1.4.1 F1 was at speed no load from 1400 until 1415 on 21 October to float trash.

1.4.2 F2 was at speed no load from 1300 until 1345 on 21 October to float trash.

1.5 Gatewell drawdowns are measured on Wednesdays.  Drawdowns are measured daily on Unit 17.
2.  ACTIVITIES

2.1 AWS Closures.  The following AWS valves were closed this reporting week:

2.1.1 FV1-1 from 1630 until 1645 on 20 October.

2.2 STS/VBS Inspections.  The following  STSs/VBSs were inspected this reporting week. 

	Unit
	Date
	Run Hours
	Comments

	11
	10/18
	672
	

	12
	10/18
	623
	

	13
	10/21
	619
	

	14
	10/18
	654
	

	15
	10/18
	705
	

	16
	10/21
	709
	

	17
	10/12
	817
	Upper panels of VBS have debris


Table 1.  STS/VBS Inspections. 

2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities occurred this reporting week.  
3.  RESEARCH
3.1 CRITFC.  Sampling continues twice a week. 

3.2 ERDC TDG.  Sensors remain installed in the tailrace.

3.3 PSMFC SMF.   Three steelhead and four salmon were observed sliding over the separator bars this week.   

3.4 USGS.  Monitoring continues.

3.5 WDFW Fish Counting.  16-hr visual counts at Washington Shore and Bradford Island.

4.  FISHWAYS

4.1 Project biologists inspected 17 through 23 October this reporting week.  

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 PCC
	Velocity <1.5 fps
	Meter in slowest part of the channel
	This is a normal condition.
	

	All week
	PH2 PCC
	Velocity < 1.5 fps
	No acoustic sensor
	Will repair during winter 04/05
	

	10/20
	NUE & NDE
	Entrance head differential <FPP Criteria>
	Unknown
	
	

	10/21
	B-Branch
	TW/Entrance head differential <1.0’
	Unknown
	Operators corrected
	

	10/21
	B-Branch 
	Water elevation <1.0’
	Unknown
	No response
	

	10/21
	A-Branch
	FG3-4 not at correct position for TW elev.
	Meter currently broken.
	Repairs are planned for Winter 05/06
	


Table 2.  FPP Out of Criteria items.

4.3 Fish Ladder Temperatures.   Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  Temperatures are in Fahrenheit.

	Date
	Wash. Shore daily avg.
	Bradford Is. daily avg.

	10/17
	63.9
	63.8

	10/18
	62.9
	63.0

	10/19
	62.4
	62.5

	10/20
	62.4
	62.5

	10/21
	62.2
	62.4

	10/22
	61.2
	61.3

	10/23
	60.9
	60.9


Table 3.  Fishway Temperatures.

4.4 Sensor Calibration.  Calibration was checked on 22 October this reporting week.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5.   CONSTRUCTION

5.1 Adult PIT tag exit detectors.  Current schedule is set for installation in WA ladder for Winter 04/05.

5.2 PH 1 Gantry Crane Delivery and Erection.  Construction will continue through 04 December.    

6.  FISHWAY STATUS

6.1 Adult Fishways.  

6.1.1 Due to the Cascades Island computer not properly controlling, the fishway is now in manual and maintaining criteria.  

6.1.2 Due to B-Branch computer not properly controlling, the fishway went to manual at 2055 on 22 October.

6.2 Juvenile Fishways.

6.2.1 DSM1 continues to run south with STSs and VBSs in Units 1 and 3.

6.2.2 DSM2 airburst has been put to heavy debris loads and the burst time increased for the three most upstream screens (11, 4 and 1).  The mechanical screen cleaners were ran on 20 and 22 October.

7.  HAZMAT, SPILLS AND CLEANUP
8.  MISCELLANEOUS AND OTHER NOTEWORTHY ITEMS
8.1 A teletype issued on 13 October requests the Project calibrate spillbays 1-18 on 18-20 October.  Special operations include maintaining forebay within 1’ from 0700 until 1700 on 18 October; raise each gate between 0-10’ (estimate max. instantaneous spill of 20 Kcfs) from 0700 until 1700 on 18 and 20 October; perform sill calibrations on 19 October (no spill).

8.2 Please note there is an updated winter maintenance schedule.  Please call Fisheries for a copy.

JAMES R. MAHAR, P.E.

Operations Manager

//S/

1

