CENWP-OP-B                                                                                                                                  04 July 2005

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 27 of 2005, which covers the period from 26 June through 02 July 2005.

1.  OPERATION SUMMARY

1.1 Daily average river flows ranged from 193.8 to 210.4 kcfs.  Daily average project tailwater elevation ranged from 16.5’ to 17.6’ msl.  Daily average powerhouse forebay elevation ranged from 74.0’ to 75.0’ msl.  Daily average river temperature ranged from 65 to 67(F.  Secchi disk measurements ranged from 5.0 to 6.5 feet.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 91.0 to 97.1 kcfs.   

1.3 Unit operation.   

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 1 was out of service from 0301 on 27 June until 1652 on 30 June for bank 1 and 2 outage.  

1.3.3 Unit 2 remains out of service for turbine rehab. 

1.3.4 Unit 3 was out of service from 0730 until 1124 on 28 June for a dive.   

1.3.5 Unit 10 remains out of service for gantry crane three construction.

1.3.6 Unit 11 had a 1% violation on 27 June for STS inspection.  Was out of service from 0739 until 1054 on 30 June for STS repair.

1.3.7 Unit 12 had a 1% violation on 28 June for STS inspection.

1.3.8 Unit 13 was out of service from 0915 until 1106 on 27 June for STS inspection.  Was out of service from 1118 until 1524 on 29 June for transducer repair.

1.3.9 Unit 14 had a 1% violation on 27 June for STS inspection.

1.3.10 Unit 15 had a 1% violation on 27 June for STS inspection.  Was out of service from 0645 until 1112 on 29 June for transducer repair.

1.3.11 Unit 16 had a 1% violation on 27 June for STS inspection.

1.3.12 Unit 17 was out of service from 0749 until 0910 on 27 June for STS inspection.

1.3.13 Unit 18 had a 1% violation on 27 June for STS inspection.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.
1.5 Gatewell drawdowns are measured on Wednesdays.  Drawdowns are measured daily on Unit 17.

2.  ACTIVITIES

2.1 AWS Closures.  The following AWS valves were closed this reporting week.  

2.1.1 FV1-1 closed for cleaning from 1516 until 1525 on 30 June.

2.1.2 FV6-9 closed for cleaning from 1456 until 1505 on 30 June.

2.2 STS/VBS Inspections.   The following STSs/VBSs were inspected this reporting week.  

	Unit
	Date
	Run Hours
	Comments

	11
	 6/27
	816
	A-slot STS had rivets replaced on 6/30.

	12
	6/27
	696
	

	13
	6/27
	514
	

	14
	6/27
	602
	

	15
	6/27
	743
	

	16
	6/27
	419
	

	17
	6/27
	649
	

	18
	6/27
	809
	


Table 1.  STS/VBS Inspections.
2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities occurred this reporting week.  
3.  RESEARCH
3.1 Battelle FPE and FGE.  Monitoring continues.

3.2 CRITFC.  Sampling continues twice a week through the summer.

3.3 CTUIR.  Collecting adult lamprey for re-establishment in the Umatilla River Basin. 

3.4 ERDC TDG.  Sensors remain installed in the tailrace.

3.5 NOAA Fish Lamprey.   Fish have been collected for the Warm Springs and Umatilla tribes.

3.6 PSMFC.   Zero fallbacks were observed crossing the separator bars this week.  Subyearling chinook research fish collection: 990 for USGS and 303 for NMFS.  
3.7 Univ of Idaho.  Trapping in the AFF concluded on Saturday.  Researchers will return later this summer.
3.8 USDA Wildlife Services.   Hazing activities for gulls continue.

3.9 USGS FPE and Survival.  Juvenile tracking continues.  
3.10  WDFW Fish Counting.  16-hr visual counting at Washington Shore and Bradford Island. 

4.  FISHWAYS

4.1 Project biologists inspected 26 June through 02 July.  NOAA Fisheries inspected on 29 June.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 N PCC
	Velocity <1.5 fps
	Slow water
	Normal condition.
	

	All week
	PH2 SCCH
	Velocity <1.5 fps
	Improper install.
	Repairs scheduled for 06/07
	

	All week
	Cascades Is.
	FG6-12 OOS
	Bent shaft
	See 6.1.2
	

	All week
	DSM2 12A-S
	Closed/inoperable
	Unknown.
	Operators submitted TR
	

	6/26, 6/30
	Weir 37
	Reading >1.3’
	Shad stuck on drain.
	Operators notified/riggers cleaned screen
	


Table 2.  FPP Out of Criteria items.

4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island as well as at the junction of the UMT and the main ladder at Washington shore.   The AFF is measured inside the lab at the fish return.  

	Date
	WA Shore

Average
	Bradford Is

Average
	AFF exit max

	6/26
	64.7
	64.8
	64.8

	6/27
	64.8
	64.8
	64.9

	6/28
	64.6
	64.7
	64.7

	6/29
	65.1
	65.0
	65.1

	6/30
	66.1
	66.1
	66.1

	7/01
	66.7
	66.7
	66.8

	7/02
	66.5
	66.5
	66.5


Table 3.  Bonneville Fishway temperatures.

4.4 Sensor Calibration.  Calibration was checked on 02 July.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5.   CONSTRUCTION

5.1 B2CC PIT Tag Detector.  Installation is planned for winter 05/06.

5.2 B2 Fish Unit Trash rake.  Delivery and installation scheduled for late summer 2005.

5.3 B2 VBS modifications.  Gatewell modifications are scheduled to begin in winter 05/06.

5.4 Bradford Island Adult PIT Tag Detectors.  Installation scheduled for winter 05/06.

5.5 PH 1 Gantry Crane Delivery and Erection.  Nothing new to report.

5.6 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be removed in August.

5.7 SMF Full flow PIT Tag Detectors.  CH2M Hill has been contracted to write the letter report.

6.  FISHWAY STATUS

6.1  Adult Fishways.    
6.1.1 B-Branch and Cascades Island fishway PLCs are in manual.  B-branch entrance and ladder transducers are being replaced and calibrated.
6.1.2 Cascades Island diffuser FG6-12 has a bent shaft and will remain out of service until winter 2006/07.  FG6-11 is used to compensate.
6.1.3 A-branch has been reprogrammed.  FG3-4 will remain out of service until winter 2005/06.
6.1.4 PH1 NCCH sensor still OOS.  Channel elevation is now controlled from CCCH.
6.1.5 SLEDS remain in the out position until further notice due to structural damage.  
6.2 Juvenile Fishways. 
7.  HAZMAT, SPILLS AND CLEANUP – Nothing to report this week.
8.  TELETYPES AND OTHER NOTEWORTHY ITEMS.
8.1 A teletype was issued on 01 July requesting that Bonneville pool be operated between elevation 74.5’ – 76.0’ for treaty gillnet fishing effective 0600 hrs Tuesday, 05 Jul 2005 - 1800 hrs Thurs, 07 Jul 2005.

JAMES R. MAHAR, P.E.

Operations Manager

//S/

1

