CENWP-OP-B                                                                                                                                  10 October 2005

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 41 of 2005, which covers the period from 02 through 08 October 2005.

1.  OPERATION SUMMARY

1.1 Daily average river flows ranged from 78.8 to 126.7 kcfs.  Daily average project tailwater elevation ranged from 8.1’ to 11.7’ msl.  Daily average powerhouse forebay elevation ranged from 74.8’ to 76.1’ msl.  Daily average river temperature ranged from 64 to 65(F.  Secchi disk measurements averaged ranged from 4.0 to 7.0 feet.

1.2 Daily average spill ranged from 1.2 to 1.4 kcfs.   Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are open 6” during daylight hours.  

1.3 Unit operation.

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 1 was in standby from 1335 until 1621 on 08 October due to oil in river.

1.3.3 Unit 2 remains out of service for turbine rehab. 

1.3.4 Unit 3 was out of service from 1202 until 1440 on 06 October for bank 3/4 differential.  In standby from 1336 until 1628 on 08 October due to oil in river.

1.3.5 Unit 4 was out of service from 1202 until 1438 on 06 October for bank 3/4 differential.

1.3.6 Unit 6 remains out of service for a five-year overhaul.  

1.3.7 Unit 7 was out of service from 1720 on 04 October until 1201 on 05 October for AVR cycling.  

1.3.8 Unit 10 remains out of service for gantry crane three construction.

1.3.9 Unit 11 remains out of service due to a possible rotor failure.

1.3.10 Unit 17 remains out of service for main unit circuit breaker replacement and T-12 switching.

1.3.11 Unit 18 remains out of service for main unit circuit breaker replacement and T-12 switching.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby from approximately 0000-0300 nightly if drawdown exceeds 1.0’.

1.5 Gatewell drawdowns are measured on Wednesdays.  Drawdowns are measured daily on Unit 17.
2.  ACTIVITIES

2.1 AWS Closures.  The following AWS valves were closed this reporting week

2.1.1 FV1-1, FV3-7, FV3-9, FV4-3, FV4-4, FV5-3, FV5-4, FV5-9, FV6-9 were closed from 1458 until 1617 on 08 October due to an oil discharge near Cascade Locks, Oregon.  Please see 7.1
2.2 STS/VBS Inspections.  No STSs/VBSs were inspected this reporting week.  

2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities occurred this reporting week. 
3.  RESEARCH
3.1 CRITFC.  Sampling two days a week continues.  

3.2 ERDC TDG.  Sensors remain installed in the tailrace.

3.3 NOAA Fish PIT tag.  Tagging started the week of 26 September.

3.4 PSMFC.  42 fallback salmon and 12 steelhead were observed crossing the separator bars this week.  
3.5 Univ of Idaho.  Trapping and tagging concluded on 01 October.
3.6 WDFW Fish Counting.  16-hr visual counting at Washington Shore and Bradford Island.   

3.7 WDFW and ODFW.  Tule counting at Washington Shore and Bradford Island concluded on 30 September.

4.  FISHWAYS

4.1 Project biologists inspected 02 through 08 October.

4.2 Fish Passage Plan Observations.

	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH1 N PCC
	Velocity <1.5 fps
	Slow water
	Normal condition.
	

	All week
	PH2 SCCH
	Velocity <1.5 fps
	Improper install.
	Will repair in 06/07
	

	All week
	B-Branch 
	North gate closed
	Separated from shaft
	See 6.1.4
	

	10/03
	Cascades Is
	Tailwater/Entrance differential low
	Unknown
	Operators corrected
	

	10/06
	Cascades Is
	FG6-14 open
	System in manual
	Operators closed diffuser
	

	10/08
	BI fishway
	Orifice flow
	Oil in river
	See 6.1.5
	

	10/08
	CI fishway
	Orifice flow
	Oil in river
	See 6.1.5
	

	10/08
	WA Shore 
	Orifice flow
	Oil in river
	See 6.1.5
	

	10/08
	PH1 ITS
	Closed
	Oil in river
	See 6.2.2
	

	10/08
	DSM1
	Closed
	Oil in river
	See 6.2.2
	

	10/08
	PH1 Unit priority
	Units 1 and 3 in standby
	Oil in river
	Units 8and 9 operated. 
	


Table 2.  FPP Out of Criteria items.

4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island as well as at the junction of the UMT and the main ladder at Washington shore.  

	Date
	WA Shore Average
	Bradford Is Average

	10/02
	64.7
	64.4

	10/03
	64.2
	64.0

	10/04
	64.0
	63.8

	10/05
	63.7
	63.6

	10/06
	63.6
	63.5

	10/07
	63.7
	63.6

	10/08
	63.9
	63.8


Table 3.  Bonneville Fishway temperatures.

4.4 Sensor Calibration.  Calibration was checked on 06 October.  

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5.   CONSTRUCTION

5.1 B2CC PIT Tag Detector.  Installation is planned for winter 05/06.

5.2 B2 Fish Unit Trash rake.  Delivery and installation sometime before winter.

5.3 B2 VBS modifications.  Gatewell modifications to begin in Unit 13 starting early November.

5.4 Bradford Island Adult PIT Tag Detectors.  Installation scheduled for winter 05/06.

5.5 Main Unit Circuit Breaker.  Mods continue with Units 17/18.

5.6 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.

5.7 SMF Full flow PIT Tag Detectors.  Site visit scheduled for 11 October.

6.  FISHWAY STATUS

6.1  Adult Fishways.    
6.1.1 B-Branch fishway PLC is in manual.  Cascades Island PLC is in manual.
6.1.2 Cascades Island diffuser FG6-12 has a bent shaft and remains out of service until winter 2006/07.  FG6-11 is used to compensate.
6.1.3 A-branch has been reprogrammed.  FG3-4 remains out of service until winter 2005/06.
6.1.4 B-Branch north gate has separated from the shaft.  The south gate compensates when possible.  

6.1.5 All AWS valves (please see 2.1.1) were closed on 08 October due to an oil spill upstream of the dam.  WA shore and Bradford Is. fishway exits were throttled from 1230 until 1617 on 08 October.  Fish ladders were near orifice flow.  Please see 7.1
6.2 Juvenile Fishways.
6.2.1 DSM2 screen sweeps are exercised on Sunday evenings.

6.2.2 DSM1 orifices and the ITS were closed from 1230 until 1601 on 08 October due to an oil spill upstream of the dam.  Please see 7.1
6.3 Upcoming Events.
6.3.1 FPOM will be held at Bonneville Dam on 13 October.

6.3.2 The JMF will go to bypass at 0700 on 31 October.

6.3.3 The UMT is scheduled to go OOS (to accommodate VBS modification work) on 31 October.

6.3.4 Cascades Island is scheduled to open on 31 October.

7.  HAZMAT, SPILLS AND CLEANUP 
7.1 On 08 October, oil was discharged into the Columbia River near Cascade Locks, Oregon.  Operators and Fisheries took necessary actions to keep oil from entering the fishways.  
8.  TELETYPES AND OTHER NOTEWORTHY ITEMS.
8.1 Proposed FPP changes to Appendix G and the inclusion of a new appendix for the JMF are available from Project Fisheries.

8.2 The 2005/06 Winter Maintenance Schedule is available from Project Fisheries.

JAMES R. MAHAR, P.E.

Operations Manager

//S/

1

