CENWP-OP-B                                                                                                                                  03 April 2006

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 13 of 2006, which covers the period from 26 March through 01 April 2006.
1.  OPERATION SUMMARY

1.1 Daily average river flows ranged from 136.3 to 203.6 kcfs.  Daily average project tailwater elevation ranged from 12.9’ to 17.3’ msl.  Daily average powerhouse forebay elevation ranged from 74.5’ to 75.3 msl.  Daily average river temperature ranged from 44 to 47(F.  Secchi disk measurements averaged 5.5 to 6.5 feet.

1.2 Daily average spill averaged 1.3 to 1.5 kcfs.   Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are open 0.5’ during daylight hours.
1.3 Unit Operation.

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 2 remains out of service for turbine rehab.
1.3.3 Unit 10 remains out of service for turbine rehab.

1.3.4 Unit 11 returned to service at 0746 on 27 March.   Went out of service at 1021 on 27 March due to a bearing problem.

1.3.5 Unit 12 remains out of service for VBS modifications.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.

1.5 Gatewell drawdowns are measured on Wednesdays.  Drawdowns are measured daily on Unit 17.

2.  ACTIVITIES

2.1 AWS Closures.  The following AWS valves were closed this reporting week.  
2.1.1 FV1-1 closed for cleaning from 1304 until 1340 on 29 March.   
2.2 STS/VBS Inspections.   No STSs/VBSs were inspected this reporting week.  
2.3 Dewatering and Fish Salvage.  The following dewatering or salvage activities occurred this reporting week.
2.3.1 On 30 March, Unit 11 tail logs were pulled and two sturgeon were removed from them and returned to the tailrace in good condition.
RESEARCH
3.1 ERDC TDG.  Sensors remain installed in the tailrace.
3.2 Fish Field Unit.  Sea lion observation and acoustic deterrent evaluations continue.

3.3 NOAA Fisheries lamprey.  Permanent installation of the BI AWS lamprey ramp completed.
3.4 PSMFC.  Two adult steelhead were observed crossing the separator bars this week.  One steelhead kelt was removed from the separator bars and released alive.
3.5 USDA Wildlife Services.  Sea lion hazing continues using 15mm cracker/screamer shells and rubber bullets.

3.6 WDFW Fish Counting.  16-hr video counting at Bradford Island and Washington Shore ended on 31 March and visual counting began on 1 April.
3.  FISHWAYS 

4.1 Project biologists inspected 26 March – 01 April.
4.2  Fish Passage Plan Observations.
	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH2 SCCH
	Velocity <1.5 fps
	Improper installation
	Will repair in 06/07
	

	All week
	Cascades Is.
	FG6-12 closed
	Bent shaft
	Will repair in 06/07
	

	All week
	PH1 CCH Diffusers
	FG2-22A closed, 2-19 stuck half open
	Unknown.  Failed during water up.
	Will repair in 07/08
	

	3/28-3/29
	DSM2
	14C-S stuck closed
	Broken hydraulic arm
	Repaired on 3/30
	

	3/31-4/1
	PH2  SUE
	Tailwater gate<13’
	SA-24 board needs calibration
	TR submitted
	06-29824

	4/1
	Brad. Island ladder
	All weirs < 1.0’
	Unknown
	Automatically corrected
	


Table 2.  FPP Out of Criteria items.

4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  
	Date
	Wash. Shore
	Bradford Is.

	3/26
	44.7
	44.8

	3/27
	45.0
	45.2

	3/28
	45.5
	45.7

	3/29
	45.8
	45.8

	3/30
	46.2
	46.3

	3/31
	46.6
	46.7

	4/1
	47.0
	47.1


4.4 Sensor Calibration.  Calibration was checked on 31 March.  Cascades Is. and B-branch need to be recalibrated.

4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.   CONSTRUCTION

4.1 B1 ITS Wall Removal.  A letter report is expected in 2006.

4.2 B2CC PIT Tag Detector.  Installation began on 23 March.  Final walk through scheduled for 07 April.
4.3 B2 VBS modifications.  VBS delivery occurred on 3 April.  
4.4 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.

4.5 SMF Full flow PIT Tag Detectors.  Construction continues.
5.  FISHWAY STATUS

5.1  Adult Fishways.    
5.1.1 Bradford Island and Cascades Island PLC’s are in manual.  
5.1.2 New sensors for B-branch and Cascades Island tailrace, entrance and ladder have been installed. 
5.1.3 Cascades Island diffuser FG6-12 has a bent shaft and remains out of service until winter 2006/07. 
5.1.4 SLADDs and SLEDs are installed at all fishway entrances. 
5.1.5 The Adult Fish Facility was watered-up on 01 April and is in bypass. 
5.2 Juvenile Fishways.
5.2.1 DSM1 remains out of service until 15 September.
5.2.2 DSM2 air burst screen number nine solenoid failed open at 1625 on 30 March.  Screen nine run manually until it can be fixed.   
6.  HAZMAT, SPILLS AND CLEANUP - Nothing to report.
7.  TELETYPES AND OTHER NOTEWORTHY ITEMS.  
7.1 A teletype issued on 31 December authorizes a minimum tailwater of 11.5’ for all hours, starting at 0000 on 01 January until further notice.  This operation is to provide chum incubation flows below Bonneville.

7.2 A teletype issued on 29 March requests Bonneville tailwater elevation remain below 20 ft. as a hard constraint from 0700-1600 hrs on Sunday 02 April.  The request is to reduce flows for replacement of gas meters at Ives Island and Multnomah Falls.

7.3 A single sea lion was observed in the WA shore ladder this reporting week.  
7.4 On 27 March, Unit 11 was rolled to evacuate fish prior to tail log placement.  Approximately 25 sturgeon fatalities were observed by fisheries personnel.  The investigation of the exact cause is ongoing.
JAMES R. MAHAR, P.E.

Operations Manager

//S/

1

