CENWP-OP-B                                                                                                                                  21 May 2006

MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 20 of 2006, which covers the period from 14 through 20 May 2006.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 274.0 to 377.6 kcfs.  Daily average project tailwater elevation ranged from 21.0’ to 26.2’ msl.  Daily average powerhouse forebay elevation ranged from 73.0’ to 75.3 msl.  Daily average river temperature ranged from 55 to 58(F.  Secchi disk measurements averaged 3.0 to 4.5 feet.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 77.4 to 152.8 kcfs.
1.3 Unit Operation.

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 2 remains out of service for turbine rehab.
1.3.3 Unit 9 had a 1% violation on 18 May, due to trash raking.
1.3.4 Unit 10 remains out of service for turbine rehab.

1.3.5 Unit 11 remains out of service for bearing alignment.
1.3.6 Unit 18 was out of service from 1235 until 1629 on 15 May for cooling water strainer work.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris. 

1.5 Gatewell drawdowns are measured on Wednesdays.  VBS drawdowns are measured daily on Units 12, 13, and 17.

2 ACTIVITIES

2.1 AWS Closures.  The following AWS valves were closed this reporting week.           

2.1.1 FV3-7 was closed for cleaning from 1552 until 1622 on 15 May; from 1245 until 1338 on 17 May.
2.1.2 FV6-9 was closed for cleaning from 1525 until 1540 on 15 May.

2.2 STS/VBS Inspections.   No STSs/VBSs were inspected this reporting week.
2.3 Dewatering and Fish Salvage.  No dewatering or salvage activities occurred this reporting week.
3 RESEARCH
3.1 CRITFC.  Sampling adult fish in the AFF. 
3.2 CTUIR.  Collecting adult lamprey for continuation of Umatilla Basin lamprey re-introductions. 

3.3 ERDC TDG.  Sensors remain installed in the tailrace.

3.4 Fish Field Unit.  Sea lion observation and acoustic deterrent evaluations continue.

3.5 NOAA Fisheries - juvenile salmonids.  Sampling juvenile salmonids to determine prevalence of pathogens.  

3.6 NOAA Fisheries - barge vs. bypass.   Assessment of the health differences between barged and bypassed hatchery salmon.
3.7 PSMFC.  One kelt was removed from the separator bars this week.  18 steelhead and seven salmon were observed crossing the separator bars.  There were 1,989 clipped yearling chinook, 636 steelhead, and 25 coho collected for NOAA researchers this reporting week. 
3.8 U of I.  Radio tagging of spring chinook for SLED evaluation continues in the AFF.

3.9 USDA Wildlife Services.  Sea lion hazing continues using 15mm cracker/screamer shells and rubber bullets.

3.10 WDFW Fish Counting.  Visual fish counting continues.
3.11 WDFW/ODFW.  Sea lion hazing from boats continues.

4 FISHWAYS 

4.1 Project biologists inspected 14 through 20 May 2006.
4.2  Fish Passage Plan Observations.
	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	PH2 SCCH
	Velocity <1.5 fps
	Improper installation
	Will repair in 06/07
	

	All week
	Cascades Is.
	FG6-12 closed
	Bent shaft
	Will repair in 06/07
	

	All week
	FG2-22A and 19
	Incorrect position
	Unknown
	Will repair in 07/08
	

	5/17-20
	SUE 
	Gate < 13’
	Unknown
	
	

	5/14
	DSM2
	14C-S open
	Unknown
	Manually closed
	#

	5/15
	PH1 PCC
	Entrance diff <1.5’
	Unknown
	Manually adjusted
	

	5/16-18, 5/20
	A & B branch staff gauges
	Reading >1.3’
	BI weir set @ 1.3’
	No changes made at this time.
	

	5/18-20
	SDE
	Gate <13’
	Unknown
	
	

	5/19-20
	FOGs
	One stuck with water flowing over the top.
	Unknown
	
	


Table 2.  FPP Out of Criteria items.

4.2.1 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.
4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  
	Date
	Wash. Shore
	Bradford Is.

	5/14
	55.7
	55.7

	5/15
	56.2
	56.1

	5/16
	56.6
	56.6

	5/17
	57.2
	57.3

	5/18
	57.7
	57.8

	5/19
	58.1
	58.1

	5/20
	59.1
	59.2













Table 3.  Bonneville Fishway temperatures
4.4 Sensor Calibration.  Calibration was not checked this reporting week.
4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5 CONSTRUCTION
5.1 B1 ITS Wall Removal.  A letter report is expected in 2006.

5.2 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.

5.3 SMF Full flow PIT Tag Detectors.  Construction continues.
6 FISHWAY STATUS

6.1  Adult Fishways.    
6.1.1 Cascades Island PLC is in manual.  
6.2 Juvenile Fishways.
6.2.1 DSM1 remains out of service until 15 September.
6.2.2 DSM2 orifices F2A-N and F2B-N were opened at 2000 on 16 May.
7 HAZMAT, SPILLS AND CLEANUP - Nothing to report.
8 TELETYPES AND OTHER NOTEWORTHY ITEMS. 
8.1 A teletype was issued on 19 May setting priority by project for voluntary and involuntary spill to limit total dissolved gas.

8.2 A teletype was issued on 17 May requesting to keep Bonneville pool greater than 74.0 feet as a soft constraint if The Dalles’ average flow is expected to be greater than 250 kcfs.  
JAMES R. MAHAR, P.E.

Operations Manager

1

