CENWP-OP-B                                                                                                                                  05 August 2006
MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 31 of 2006, which covers the period from 30 July through 05 August 2006.
1 OPERATION SUMMARY
1.1 Daily average river flows ranged from 138.8 to 160.9 kcfs.  Daily average project tailwater elevation ranged from 12.3’ to 13.7’ msl.  Daily average powerhouse forebay elevation ranged from 75.0’ to 76.3 msl.  Daily average river temperature ranged between 70( and 71(F.  Secchi disk measurements averaged 6.0 to 7.0 feet.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 84.8 to 92.0 kcfs.
1.3 Unit Operation.

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 2 remains out of service for turbine rehab.
1.3.3 Unit 10 remains out of service for turbine rehab.
1.3.4 Unit 15 went of service at 0400 on 31 July for T12 maintenance and remains out while waiting for spare parts.
1.3.5 Unit 16 returned to service at 1730 on 04 August.
1.3.6 Unit 17 was out of service from 0400 on 31 July until 1730 on 04 August for T12 maintenance.

1.3.7 Unit 18 was out of service from 0400 on 31 July until 1730 on 04 August for T12 maintenance.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris. 

1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  No AWS valves were closed.
2.2 STS/VBS Inspections.  No STSs/VBSs were inspected this reporting week.
2.3 Dewatering and Fish Salvage.  The following dewatering activities occurred this reporting week.
2.3.1 One clipped adult chinook was removed from the DSM2 add-in water.  The fish was released at the north end of the DSM.
3 RESEARCH
3.1 CRITFC.  Sampling adult fish in the AFF.  Every other day restriction due to temperatures reaching 70(F
3.2 CTUIR.  Collection of lamprey for Umatilla Basin re-introductions is complete.    
3.3 ERDC TDG.  Sensors remain installed in the tailrace.

3.4 NOAA Fisheries- Gilbreath.  Salt water rearing subyearling chinook at the SMF continues.    

3.5 NOAA Fisheries- McComas.  Acoustic tagging in the SMF continues.

3.6 NOAA Fisheries lamprey.  Sampling resumed on July 30th.
3.7 PSMFC smolt monitoring.  Adopted FPAC sampling protocols when water temps reached 70ºF.  Target sample size was reduced to 100 fish per day and processing every two hours throughout the day.  12 subyearling chinook were collected for NOAA researchers.  
3.8 PSMFC PIT tag.  Monthly testing of the B2CC detectors June through October.
3.9 PSMFC/USDA.  Pikeminnow angling from the project and in the tailrace BRZ.

3.10 USGS lamprey.  Lamprey to be held in the FERL starting the week of August 14th.
3.11 WDFW Fish Counting.  Visual fish counting continues.
4 FISHWAYS 

4.1 Project biologists inspected 30 July through 04 August 2006.  
4.2  Fish Passage Plan Observations.
	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	DSM2 airburst
	Five screens not working.
	Electrical
	See 6.2.3
	06-40863

	7/30-31
	CI diffusers
	Incorrect position for TW
	System in manual
	Operators closed diff.
	

	7/31
	A-branch 
	Reading <1.3’>
	Unknown
	No action taken.
	

	8/1
	B-Branch diffusers
	Incorrect position for TW
	System in manual
	Operators closed diffusers.
	

	8/4
	Weir 38
	Reading <1.3’>
	Unknown
	No action taken.
	


Table 2.  FPP Out of Criteria items.

4.2.1 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.
4.2.2 PH2 electronic velocity meter was incorrectly installed in the winter of 04/05.

4.2.3 Cascades Island FG6-12 is closed due to a bent shaft.  Repairs can not be made until winter 06/07.  this diffuser is out of criteria when tailwater exceeds 13’
4.2.4 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Diffuser failure occurred during water up.  Repairs are scheduled for winter 07/08.  For now, the collection channel is operating within FPP criteria.
4.3 Fish Ladder Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  
	Date
	WS avg.
	BI avg.
	AFF max
	SMF max

	7/30
	71.3
	71.1
	71.4
	70.4

	7/31
	71.1
	70.9
	71.0
	70.1

	8/1
	71.1
	70.9
	71.2
	70.2

	8/2
	71.0
	70.9
	71.0
	70.1

	8/3
	71.0
	70.8
	71.0
	70.0

	8/4
	70.9
	70.7
	70.9
	69.6

	8/5
	71.0
	70.6
	71.1
	70.1


Table 3.  Bonneville Fishway temperatures
4.4 Sensor Calibration.  Calibration is checked on the weekends.  B-branch is significantly out of calibration.  
4.5 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

5 CONSTRUCTION
5.1 B1 ITS Wall Removal.  Comment period is open for two weeks.
5.2 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.

5.3 SMF Full flow PIT Tag Detectors.  Testing ongoing.
6 FISHWAY STATUS

6.1  Adult Fishways.    
6.1.1 Cascades Island and B-Branch PLCs are in manual.  
6.1.2 Due to temperatures at the AFF reaching 70(F, trapping is limited to every other day.
6.2 Juvenile Fishways.
6.2.1 DSM1 remains out of service until 15 September.
6.2.2 DSM2 airburst screens 1, 4, 5, 11 and 12 do not operate consistently.  The Project is waiting on contractors before repairs may be completed.

6.2.3 Due to temperatures at the SMF reaching 70(F or greater, personnel will process fish more often to reduce holding time.  
7 HAZMAT, SPILLS AND CLEANUP - Nothing to report.
8 TELETYPES AND OTHER NOTEWORTHY ITEMS. 
8.1 A teletype sent on 28 June requests that Bonneville start summer spill at or above 75 KCFS during daytime hours and spill to the 120% gas cap at night until further notice.
8.2 A teletype sent on 26 July requests a soft forebay constraint of 75.0’ – 76.5’ from 0600 until 1800 Mon- Sat from 07 through 12 August.  This operation is necessary for SDS Lumber to maneuver a barge for rock placement.  Additional teletypes will be issued, as needed, until the work is completed 28 August.
JAMES R. MAHAR, P.E.

Operations Manager

1

