CENWP-OP-B                                                                                                                             27 August, 2006
MEMORANDUM FOR CENWP-OP, ATTN: Randy Bailey

SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 34 of 2006, which covers the period from 20 through 26 August 2006.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 129.0 to 185.0 kcfs.  Daily average project tailwater elevation ranged from 11.6’ to 15.4’ msl.  Daily average powerhouse forebay elevation ranged from 75.4’ to 76.2 msl.  Daily average river temperature ranged between 70( and 71(F.  Secchi disk measurements averaged 6.0 to 7.0 feet.

1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 84.0 to 89.6 kcfs.
1.3 Unit Operation.

1.3.1 Unit 0 remains out of service due to governor trouble.

1.3.2 Unit 2 remains out of service for turbine rehab.
1.3.3 Unit 4 was out of service from 1156 until 1536 on 23 August for a power supply replacement.

1.3.4 Unit 10 remains out of service for turbine rehab.
1.3.5 Unit 12 was out of service from 0225 on 23 August until 2035 on 24 August for governor calibration and tuning.  Unit 12 had a 1% violation at 0812 on 24 August due to governor testing.

1.3.6 Unit 13 went out of service at 0710 on 21 August for overhaul and rewedge.

1.3.7 Unit 14 was out of service from 0800 until 1610 on 24 August for governor calibration and tuning.  Unit 14 had a 1% violation at 1444 on 24 August for governor testing.

1.3.8 Unit 15 returned to service at 1524 on 22 August.
1.3.9 Unit 18 was out of service from 0500 on 21 August until 2031 on 23 August for CT replacement.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris. 

1.4.1 F2 was out of service from 0424 until 1600 on 21 August for governor calibration and tuning.
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  No AWS valves were closed.
2.2 STS/VBS Inspections.  No STSs/VBSs were inspected this reporting week.
	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	NA
	NA


Table 1.  STS and VBS inspections.

2.3 Dewatering and Fish Salvage.  The following dewatering activities occurred this reporting week.
2.3.1 Unit 13 draft tube was dewatered on 22 August.  Project biologists removed four sturgeon and two catfish from the draft tube.  All fish were released downstream.
3 RESEARCH
3.1 CRITFC.  Sampling adult fish in the AFF.  Every other day restriction due to temperatures reaching 70(F
3.2 ERDC TDG.  Sensors remain installed in the tailrace.

3.3 NOAA Fisheries- Gilbreath.  Salt water rearing subyearling chinook at the SMF continues.   
3.4 NOAA Fisheries- Jacobson.   Collecting subyearling chinook for growth and survival work.  

3.5 NOAA Fisheries- McComas.  Acoustic tagging in the SMF concluded in July.

3.6 NOAA Fisheries lamprey.  Sampling continues.
3.7 PSMFC smolt monitoring.  Adopted FPAC sampling protocols due to water temps reaching 70ºF.  Target sample size was reduced to 100 fish per day and processing every two hours throughout the day.  12 subyearling chinook were collected for NOAA researchers.  
3.8 PSMFC PIT tag.  Monthly testing of the B2CC detectors June through October.
3.9 USGS lamprey.  Lamprey held in the FERL for tagging evaluation.
3.10 WDFW Fish Counting.  Visual fish counting continues.
3.11 WDFW and ODFW.  Tule counting began on 15 August.
4 FISHWAYS 

4.1 Project biologists inspected 20 through 26 August 2006.  
4.2  Fish Passage Plan Observations.
	DATE
	LOCATion
	FPP Deviation
	CAUSE
	RESPONSE
	TR#

	All week
	DSM2
	Orifice F2B-S stuck 
	Separated from the shaft.
	Local/closed.  F2B-N opened on 8/19
	06-50979

	8/22-23, 25
	B-branch
	FG3-26 position
	System in manual
	Operators corrected
	

	8/25
	NDE and SDE
	Gate positions
	Please see 7.3
	In criteria at 1030
	

	8/26
	Weir 37
	Reading <1.0’>
	Unknown
	
	


Table 2.  FPP Out of Criteria items.

4.2.1 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.
4.2.2 PH2 electronic velocity meter was incorrectly installed in the winter of 04/05.

4.2.3 Cascades Island FG6-12 is closed due to a bent shaft.  Repairs can not be made until winter 06/07.  this diffuser is out of criteria when tailwater exceeds 13’
4.2.4 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Diffuser failure occurred during water up.  Repairs are scheduled for winter 07/08.  For now, the collection channel is operating within FPP criteria.
4.2.5 DSM2 airburst screens 1, 4, 5, 11 and 12 do not operate consistently.  The Project is waiting on contractors before repairs may be completed.  TR#06-40863 has been submitted.
4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore.  
4.3.1 Data from 1200 on 06 August until 1300 on 08 August were overwritten prior to downloading.
	Date
	WS avg.
	BI avg.
	AFF max
	SMF max

	8/06* before noon
	71.5
	71.2
	71.5
	70.7

	8/07*
	NA
	NA
	NA
	NA

	8/08* after noon
	71.2
	71.3
	71.1
	70.4

	8/09
	71.1
	71.0
	71.1
	70.3

	8/10
	71.2
	71.0
	71.2
	70.5

	8/11
	70.7
	70.8
	70.7
	69.9

	8/12
	70.3
	70.2
	70.4
	69.5

	8/13
	70.8
	70.4
	70.8
	69.9

	8/14
	71.2
	70.8
	71.2
	70.4

	8/15
	71.1
	70.8
	71.1
	70.3

	8/16
	70.5
	70.3
	70.5
	69.5

	8/17
	70.1
	69.9
	70.2
	69.2

	8/18
	70.4
	70.1
	70.5
	69.5

	8/19
	70.7
	70.5
	70.7
	69.9

	8/20
	71.2
	70.9
	71.2
	70.4

	8/21
	71.5
	71.2
	71.5
	70.8

	8/22
	71.2
	71.0
	71.2
	70.4

	8/23 
	70.7
	70.4
	70.8
	69.9

	8/24
	70.4
	70.1
	70.4
	69.5

	8/25
	70.1
	70.0
	70.2
	69.3

	8/26
	70.6
	70.3
	70.6
	69.7


Table 3.  Bonneville Fishway temperatures.
4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways.    
4.5.1 Calibration is checked on the weekends.  B-branch tailwater, PH1 south tailwater and PH1 center collection channel are significantly out of calibration.
4.5.2 Cascades Island and B-Branch PLCs are in manual.  
4.5.3 Stab plates remain installed in the PH2 FOGs.
4.5.4 Due to temperatures at the AFF reaching 70(F, trapping is limited to every other day.
4.5.5 On 25 August, the NDE and SDE were adjusted to allow access for installation of SLADD brackets.
4.6 Juvenile Fishways.
4.6.1 DSM1 remains out of service until 15 September.

4.6.2 Due to temperatures at the SMF reaching 70(F or greater, personnel will process fish more often to reduce holding time.  
4.6.3 The B2CC will be closed at 1500 on 31 August.
5 CONSTRUCTION
5.1 B1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.
5.2 PH1 STS/VBS removal and TIES removal.  Six TIES and 23 PH1 STSs/VBSs will be scrapped.
5.3 PH2 VBS mods.  Unit 11 will go OOS in early Oct, followed by units 15 and 16.
5.4 SMF Full flow PIT Tag Detectors.  Testing ongoing.
6 HAZMAT, SPILLS AND CLEANUP - Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS. 
7.1 A teletype sent on 28 June requests that Bonneville start summer spill at or above 75 KCFS during daytime hours and spill to the 120% gas cap at night until further notice.
7.2 A teletype sent on 18 August requests Bonneville pool be operated with a hard constraint 75.0 -76.5 feet, soft constraint 75.5 – 76.5 feet  to reduce wear and tear on tribal nets during the following times:

7.2.1  0600 on 21 AUG - 1800 on 24 AUG

7.2.2  0600 on 28 AUG - 1800 on 1 SEP

7.2.3  0600 on 5 SEP - 1800 on 9 SEP
7.3 A teletype sent on 24 August requests tailwater remain as low as possible, target of 11.5’ msl, from 0700 until 1200 on 25 August.  This is to facilitate the installation of SLADD brackets at the Washington Shore monoliths.

JAMES R. MAHAR, P.E.

Operations Manager

1

