CENWP-OP-B                                                                                                                       20 August 2007
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 33 of 2007, which covers the period from 12 through 18 August 2007.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 128.5 to 165.8 kcfs.  Daily average project tailwater elevation ranged from 11.8’ to 14.5’ msl.  Daily average powerhouse forebay elevation ranged from 73.0’ to 75.0’ msl.  Daily average river temperature ranged from 70 to 71(F.  Secchi disk measurements averaged 4.5’ to 7.0’.
1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill ranged from 84.1 to 101.4 kcfs.  
1.3 Unit Operation. Powerhouse 2 is the priority powerhouse.
1.3.1 Unit 0 was out of service from 0100 on 13 August until 1759 on 17 August for the gantry crane removal.
1.3.2 Unit 1 was out of service from 0107 on 13 August until 1705 on 17 August for the gantry crane removal.

1.3.3 Unit 2 was out of service from 1500 until 1620 on 13 August, 0832 until 1600 on 14 August, 0700 until 1600 on 16 August, and 0700 until 1705 on 17 August for the gantry crane removal.
1.3.4 Unit 6 has remained out of service for bank 5/6 maintenance since 30 July.

1.3.5 Unit 7 has remained out of service for turbine rehab since 04 June 2007.
1.3.6 Unit 8 has remained out of service for turbine rehab since 12 September 2006.
1.3.7 Unit 11 was out of service from 0338 until 1559 on 13 August and from 0826 until 1152 on 14 August for model testing.

1.3.8 Unit 12 was out of service from 0734 until 0820 and from 1223 until 1742 on 14 August for governor work.

1.3.9 Unit 13 was out of service from 1328 until 1418 on 12 August for model testing.
1.3.10 Unit 14 was out of service from 1203 until 1306 on 12 August for model testing.
1.3.11 Unit 14 went out of service at 0848 on 13 August for rewedge.
1.3.12 Unit 15 returned to service at 1315 on 16 August.  The unit had been out of service since 09 July for exciter replacement.  
1.3.13 Unit 15 was out of service at 0224 on 18 August due to a south servo oil leak.
1.3.14 Unit 16 was out of service from 1111 until 1130 on 12 August for model testing.
1.3.15 Unit 17 was out of service from 1025 until 1109 on 12 August for model testing.

1.3.16 Unit 18 was out of service from 0658 until 0845 on 12 August for model testing.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris. 
1.4.1 F1 was out of service from 0734 until 1354 on 13 August for model testing.

1.4.2 F2 was out of service from 1358 until 1645 on 13 August for model testing.
1.4.3 F2 was out of service from 1956 on 17 August until 0818 on 18 August due to a bad voltage indicator.  Powerhouse 2 was set up for single fish unit operation as per the FPP.

1.4.4 F1 and F2 had reduced loading for lamprey passage studies from:

2200 on 11 August until 0400 on 12 August 
2200 on 13 August until 0400 on 14 August
2200 on 15 August until 0400 on 16 August 
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  There were no AWS valves closed this week:
2.2 STS/VBS Inspections.  No STS/VBS inspections occurred this week. 
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	
	NA


2.3 Dewatering and Fish Salvage.  The following dewatering and fish salvage activities occurred this week:
2.3.1 Fisheries removed four sturgeon, two sculpin, one juvenile salmonid and one dead adult shad from the U14 draft tube on 15 August.  All fish were released at Hamilton Is. boat launch.
3 RESEARCH  
3.1 CRITFC.  Due to temperatures exceeding 70(F, sampling is restricted to once a week.    
3.2 CTUIR- lamprey.  Lamprey collection from NOAA Fisheries continues.

3.3 NOAA-Gilbreath.  Salt water rearing at the Smolt Monitoring Facility.

3.4 NOAA- Ferguson.  B2CC detection evaluation continues. 

3.5 NOAA Lamprey.  Lamprey sampling continues.  
3.6 PSMFC Smolt Monitoring.  One steelhead fallback crossed the separator bars.  127 shad were collected for USGS.  Sort by code (SbyC) continues.  Modified sampling due to temperatures exceeding 70(F.
3.7 University of Idaho- lamprey.  Block study for lamprey entrance evaluations at WS continues.
3.8 USDA Wildlife Services.  Avian hazing continues.
3.9 USGS – shad.   Collected 7 adult shad and 120 juvenile shad from the SMF.  

3.10 WDFW Fish Counting.  Visual counting continues Bradford Island and Washington Shore
4 FISHWAYS 

4.1 Project biologists inspected daily from 12 through 18 August.  
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.

	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND AND BRANCHES

	8/17
	B-branch
	FG3-26
	Open at incorrect tailwater
	Operator adjusted
	

	8/17
	B-branch entrance
	 Diff. high
	System in manual
	Operator adjusted.
	

	CASCADES ISLAND

	8/16
	UMT Weir
	Reading <1.0’
	Unknown
	Operator adjusted.
	

	8/18
	Cascades Island conduit
	Conduit/pool differential reading negative
	Unknown
	Operator submitted TR
	

	All week
	FG6-14
	½ way open
	Electricians need to do some rewiring.
	Electricians and riggers working out scheduling.
	

	WASHINGTON SHORE

	8/12
	PH2 Coll. channel
	North diffuser 2 closed
	Unknown
	Operator adjusted
	

	All week
	DSM2 Airburst
	Screens 3, 6 and 9 not consistent.
	Bad controls.
	Will replace during winter maintenance.
	


4.2.1 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

4.2.2 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 07/08.  

4.2.3 FG3-3 stuck partially open.  Repairs are scheduled for winter 07/08.  TR#07-2660

4.2.4 FG3-5 has a damaged shaft and the valve won’t operate.  Repairs are scheduled for winter 07/08.  

4.2.5 FG3-6 stuck partially open.  Repairs are scheduled for winter 07/08.

4.2.6 FG6-10 closed.  The motor was repaired on 15 August.  The shaft and gate have parted ways, however and the diffuser will not be operational until repaired in winter 07/08.  Only out of criteria when tailwater is above 19.0’ msl.  
4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.
Table 3.  Bonneville Fishway Temperatures.

	Date
	WS average
	BI average
	AFF average
	JMF average

	8/12
	70.3
	70.1
	70.3
	69.3

	8/13
	70.2
	70.0
	70.2
	69.3

	8/14
	70.8
	70.5
	70.8
	69.9

	8/15
	71.2
	70.9
	71.2
	70.3

	8/16
	71.0
	70.8
	71.1
	70.1

	8/17
	71.0
	70.7
	71.0
	70.0

	8/18
	70.9
	70.6
	70.9
	69.9


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.5 Adult Fishways. 
4.5.1 Calibration was checked on 18 August.  
4.5.2 B-Branch and Cascades Island are in manual.
4.5.3 FV3-7 is in manual until the A-Branch diffusers are repaired and operating correctly.
4.5.4 Fish ladders switched out of shad passage mode on 15 August.
4.6 Juvenile Fishways.
4.6.1 On 13 August, the ice and trash sluiceway (ITS) was closed to facilitate the gantry crane removal from the PH1 90’ deck.  The ITS was opened and closed throughout the week due to safety concerns associated with the crane removal.  The chaingate configuration was shifted to the north end (gates 6C, 7A, and 10C) to maintain fish passage and accommodate the crane removal. 

The ITS was closed at the following times:
0857 until 1619 on 13 August.

0821 until 0844 on 14 August.
1131 until 1540 on 17 August
4.6.2 DSM1 remains OOS.
4.7 Lamprey Fishways.  
4.7.1 All lamprey passage structures remain in service.
5 CONSTRUCTION
5.1 PH1 STS/VBS removal.  23 PH1 STSs/VBSs have been scrapped.  Work started on 24 July.

5.2 PH1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.

5.3 Bradford Island fish exit dredging.  Sediment sampling and sounding occurred on 31 July.

5.4 Bradford Island clean-up.  Removal of contaminated sediment scheduled to occur in October 2008.  Pre-removal sampling will occur in September.

5.5 PH2 VBS mods.  Units 14 and 18 are scheduled for winter 07/08.  U17 VBS monitoring equipment will be installed at this time as well.

6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 21 May requests that the Washington shore adult ladders be reduced to 0.5 feet head from 2200 until 0400 hours for a lamprey test running from 2 June until 1 October.  
7.2 A teletype sent on 07 June requests that all Lower Snake and Columbia River FCRPS projects operate all turbine units within the 1% best efficiency standard during the best efficiency operating period (April 1 through October 31).  Operation outside of 1% is allowed for maintenance, start up/shut down and other instances as outlined in the Fish Passage Plan.  Operation outside of 1% is NOT allowed for any other reason unless a power emergency has been declared.
7.3 A teletype sent on 20 June details the start of summer spill for juvenile fish passage.  

7.3.1 From 0001 on 21 June until 2400 on 15 July, Bonneville will spill 85K during daytime hours using the spill pattern provided by Dennis Schwartz, labeled “Bonneville Spill Patterns- 50-100kcfs”.  Bonneville will spill to the gas cap at night.  Refer to the 2007 FPP, page BON-14 Table BON-6 for daytime hours.

7.3.2 From 0001 on 16 July until 2400 on 31 August, Bonneville will spill 75K during daytime hours, using the spill pattern provided by Dennis Schwartz, and to the gas cap at night.

7.3.3 If it is necessary to spill above 110kcfs, the Control Room will use the spill pattern found in the 1007 FPP page Bon-51, Table Bon-15.  

7.3.4 At no time will the Project voluntarily spill above the 120% gas cap.  The 120% spill cap level for Bonneville can be found in the teletype “SPILL PRIORITY LIST”. 

7.3.5 At all times, maintain a minimum generation of 30kcfs and minimum spill of 50kcfs.
7.4 A teletype sent on 19 July provides guidance on project operation to provide voluntary and involuntary spill.  The teletype provided spill order by project, as well as spill caps for various TDG levels.   
7.5 A teletype sent on 15 August requests that the Bonneville forebay have a hard constraint of 75.0’ to 76.5’ msl and a soft constraint of 75.5’ to 76.5’ msl from 0600 on 22 August until 1800 on 24 August.  This is to reduce the wear and tear on tribal gill net equipment.

JAMES R. MAHAR, P.E.

Operations Manager
1

