CENWP-OP-B                                                                                                                        17 September 2007
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 37 of 2007, which covers the period from 09 September through 15 September 2007.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 77.8 to 99.8 kcfs.  Daily average project tailwater elevation ranged from 7.3’ to 9.7’ msl.  Daily average powerhouse forebay elevation ranged from 75.4’ to 76.2’ msl.  Daily average river temperature ranged from 68( to 70°F.  Secchi disk measurements ranged from 6.5’ to 7.0’.
1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-Branch respectively, are included in the spill pattern.  Daily average spill was 1.5 kcfs.   
1.3 Unit Operation. Powerhouse 2 is the priority powerhouse.
1.3.1 Unit 1 was out of service from 1503 until 1735 on 13 September for STS installation.
1.3.2 Unit 2 was out of service from 0730 until 1046 on 13 September for STS installation.
1.3.3 Unit 3 has remained out of service since 27 August for protective relaying and main unit packing.
1.3.4 Unit 4 was out of service from 0730 until 1215 on 13 September for STS installation.
1.3.5 Unit 5 was out of service from 0001 on 10 September until 0003 on 14 September for bank 5/6 outage.

1.3.6 Unit 6 was out of service from 0001 on 10 September until 0003 on 14 September for bank 5/6 outage.
1.3.7 Unit 7 has remained out of service for turbine rehab since 04 June 2007.

1.3.8 Unit 8 has remained out of service for turbine rehab since 12 September 2006.
1.3.9 Unit 13 was out of service from 0718 on 9 September until 1119 on 11 September and from 0753 until 0859 on 12 September due to a lack of speed/frequency control.
1.3.10 Unit 14 has remained out of service since 13 August for rewedge.

1.3.11 Unit 16 returned to service at 1340 on 14 September.  It had been out of service since 20 August for exciter replacement.
1.3.12 Unit 17 was out of service from 0354 until 0539 on 15 September due to a head cover pump control problem.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris. 
1.4.1 F1 and F2 had reduced loading for lamprey passage studies from:

2200 on 08 September until 0400 on 09 September
2200 on 11 September until 0400 on 12 September
2200 on 13 September until 0400 on 14 September
0010 on 15 September until 0400 on 16 September
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  There were no AWS closures this week.
2.2 STS/VBS Inspections.  No STS/VBS inspections occurred this week. 

Table 1.  STS and VBS inspections.  

	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	
	NA


2.3 Dewatering and Fish Salvage.  The following dewatering and fish salvage activities occurred this week:
2.3.1  Unit 3 tail logs – One sucker was removed and released downstream.
3 RESEARCH  
3.1 CRITFC.  Due to a decrease in water temperatures, sampling operations returned to normal.    
3.2 CTUIR- lamprey.  Lamprey collection from NOAA Fisheries has concluded.

3.3 NOAA-Gilbreath.  Salt water rearing at the Smolt Monitoring Facility.

3.4 NOAA Lamprey.  Lamprey sampling has concluded.  
3.5 PSMFC Smolt Monitoring.  No fallbacks observed crossing the separator bars.  212 juvenile shad were collected for USGS.  Sort by code (SbyC) for NOAA continues.  Sampling operations returned to normal due to decreased river temperature. 
3.6 University of Idaho- lamprey.  Block study for lamprey entrance evaluations at WS continues.
3.7 USDA Wildlife Services.  Avian hazing concluded.  

3.8 WDFW Fish Counting.  Daily visual counting continues at Bradford Island and Washington Shore.  Tule counting continues.  
4 FISHWAYS 

4.1 Project biologists inspected daily from 09 September through 15 September.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.

	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND AND BRANCHES

	9/13
	B-branch entrance
	Entrance differential high
	System in manual
	Operator adjusted.
	

	9/11
	B-branch

Entrance
	Entrance differential low
	System in manual
	Operator adjusted.
	

	CASCADES ISLAND

	9/13
	CI entrance
	North entrance gate closed
	System in manual
	Operator adjusted.
	

	All week
	FG6-14
	½ way open
	Electricians need to do some rewiring.
	Electricians and riggers working out scheduling.
	

	WASHINGTON SHORE

	All week
	DSM2 Airburst
	Screens 3, 6 and 9 not consistent.
	Bad controls.
	Will replace during winter maintenance.
	


4.2.1 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

4.2.2 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 07/08.  

4.2.3 FG3-3 stuck partially open.  Repairs are scheduled for winter 07/08.  TR#07-2660

4.2.4 FG3-5 has a damaged shaft and the valve won’t operate.  Repairs are scheduled for winter 07/08.  

4.2.5 FG3-6 stuck partially open.  Repairs are scheduled for winter 07/08.

4.2.6 FG6-10 closed.  The motor was repaired on 15 August.  The shaft and gate have parted ways, however, so the diffuser will not be operational until repaired in winter 07/08.  Only out of criteria when tailwater is above 19.0’ msl.  
4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.
Table 3.  Bonneville Fishway Temperatures.

	Date
	WS average
	BI average
	AFF average
	JMF average

	9/9
	69.3
	69.0
	69.3
	68.2

	9/10
	68.9
	68.7
	68.9
	67.7

	9/11
	69.2
	68.8
	69.1
	67.9

	9/12
	69.6
	69.3
	69.6
	68.4

	9/13
	70.1
	69.7
	70.2
	68.9

	9/14
	69.9
	69.7
	69.9
	68.8

	9/15
	69.5
	69.3
	69.6
	68.6


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.5 Adult Fishways. 
4.5.1 Calibration was checked on 14 September.  
4.5.2 B-Branch and Cascades Island are in manual.
4.5.3 FV3-7 is in manual until the A-Branch diffusers are repaired and operating correctly.
4.5.4 STSs were installed on 13 September in Units 1 and 4 for adult fallback.  DSM1 is running south and all orifice valves are open with the exception of those associated with out of service units.

4.6 Juvenile Fishways.
4.6.1 B2CC was closed on 31 August.
4.6.2 The SMF outfall avian cannons were shut off on 01 September.

4.6.3 DSM1 is watered up and running south.  See 4.5.4
4.7 Lamprey Fishways.  
4.7.1 All lamprey passage structures remain in service.
5 CONSTRUCTION
5.1 PH1 ITS Wall Removal.  Plans are to remove the wall, slope the floor, and install three automated gates.

5.2 Bradford Island fish exit dredging.  Sediment sampling and sounding occurred on 31 July.

5.3 Bradford Island clean-up.  Removal of contaminated sediment scheduled to occur in October 2008.  Pre-removal sampling will occur in September.

5.4 PH2 VBS mods.  Units 14 and 18 are scheduled for winter 07/08.  U17 VBS monitoring equipment will be installed at this time as well.

6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 21 May requests that the Washington shore adult ladders be reduced to 0.5 feet head from 2200 until 0400 hours for a lamprey test running from 2 June until 1 October.  
7.2 A teletype sent on 07 June requests that all Lower Snake and Columbia River FCRPS projects operate all turbine units within the 1% best efficiency standard during the best efficiency operating period (April 1 through October 31).  Operation outside of 1% is allowed for maintenance, start up/shut down and other instances as outlined in the Fish Passage Plan.  Operation outside of 1% is NOT allowed for any other reason unless a power emergency has been declared.
7.3 A teletype sent on 22 August requests that the Bonneville forebay have a hard constraint of 75.0’ to 76.5’ msl and a soft constraint of 75.5’ to 76.5’ msl from 0600 on 28 August until 1800 on 31 August.  This is to reduce the wear and tear on tribal gill net equipment.  

7.4 A teletype sent on 30 August extends the treaty fishing restrictions (see 7.3) from 0600 on 04 September until 1800 on 08 September.
7.5 A teletype sent on 6 September extends the treaty fishing restrictions (see 7.3) from 0600 on 11 September until 1800 on 14 September.

7.6 A teletype sent on 12 September extends the treaty fishing restrictions (see 7.3) from 0600 on 17 September until 1800 on 21 September.

JAMES R. MAHAR, P.E.

Operations Manager
1

