CENWP-OP-B                                                                                                                         March 24, 2008
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 12 of 2008, which covers the period from 16 March through 22 March 2008.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 133.7 to 164.4 kcfs.  Daily average project tailwater ranged from 12.8’ to 15.1’ msl.  Daily average powerhouse forebay elevation ranged from 73.4’ to 75.1’ msl.  Daily average river temperature ranged from 43°F to 44°F.  Secchi disk measurements ranged from 4.0 to 6.0.’
1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-branch, respectively, are included in the spill pattern.  Daily average spill ranged from 1.3 to 1.5 kcfs.
1.3 Unit Operation.  Powerhouse 2 is the priority powerhouse.
1.3.1 Unit 7 has remained out of service since 04 June for turbine rehab.

1.3.2 Unit 8 has remained out of service since 12 September 2006 for turbine rehab.
1.3.3 Unit 11 was out of service from 0555 until 1748 on 18 March; from 0558 until 1741 on 19 March; from 0536 until 1735 on 20 March; from 0538 until 1816 on 21 March; from 0540 until 1916 on 22 March for the BGS realignment dives.

1.3.4 Unit 12 was out of service from 0555 until 1746 on 18 March; from 0551until 1741 on 19 March; from 0506 until 1735 on 20 March; from 0511 until 1816 on 21 March; from 0506 until 1925 on 22 March for the BGS realignment dives.

1.3.5 Unit 13 was out of service from 0503 until 1746 on 18 March; from 0546 until 1741 on 19 March; from 0506 until 1735 on 20 March; from 0503 until 1816 on 21 March; from 0502 until 1925 on 22 March for the BGS realignment dives.

1.3.6 Unit 14 was out of service from 1202 until 1557 on 17 March for trash rack installation.

1.3.7 Unit 15 has remained out of service since 25 November due to exciter and pole failure, followed by a head gate hydraulic line rupture.

1.3.8 Unit 16 has remained out of service since 05 March for FGE repairs in gatewell 16A.
1.3.9 Unit 17 has remained out of service since 23 February for FGE modifications.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.
1.4.1 F1 load was reduced to 5MW from 1335 until 1526 on 21 March to facilitate the FOG exclusion bar installation.
1.4.2 F2 was out of service for hub oil catcher pump replacement from 1225 until 1646 on 20 March.  F2 load was reduced to 5MW from 1335 until 1526 on 21 March to facilitate the FOG exclusion bar installation.
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  No AWS closures occurred this reporting week.  

2.2 STS/VBS Inspections.  No STS/VBS inspections occurred this reporting week.
Table 1.  STS and VBS inspections.  

	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	NA
	NA


2.3 Dewatering and Fish Salvage. No dewatering or fish salvage activities occurred this reporting week.
3 RESEARCH  
3.1 Battelle.  Monitoring with DIDSON acoustic camera and split-beam hydroacoustics near B2CC entrance to estimate the numbers and distribution of kelt sized targets. 
3.2 Fish Field Unit.  Pinniped observation and scat collection continue.

3.3 NOAA- Gilbreath.  Juvenile fish releases in gatewell 14A began on 17 March.  

3.4 PSMFC Smolt Monitoring. Index and condition sampling continues.
3.5 USDA Wildlife Services. Sea lion hazing from the powerhouses continues.

3.6 WDFW Fish Counting.  Video counting continues at Bradford Island and WA Shore.

3.7 WDFW/ODFW Sea lion hazing.  Hazing from boats continues.

4 FISHWAYS 

4.1 Project biologists inspected on 16-22 March.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.

	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND AND BRANCHES

	3/16
	B-branch entr.
	Differential > 2.0’
	System in manual
	Ops adjusted
	

	3/16-18, 21
	B-branch diff.
	Incorrect position
	System in manual
	Ops adjusted
	

	3/16
	WG 2
	Incorrect position
	
	
	

	All week
	WG 64
	Incorrect position
	Brake seized
	Repairs to occur after navlock O/H
	

	CASCADES ISLAND- nothing to report

	
	
	
	
	
	

	WASHINGTON SHORE

	3/16
	Weir 38
	Reading <1.0’
	Valve 2 winterized
	In criteria 3/19
	


4.2.1 FG6-10 closed.  The motor was repaired on 15 August.  The shaft and gate have parted ways, however, so the diffuser will not be operational until repaired in winter 08/09.  It is only out of criteria when tailwater is above 19.0’ msl.
4.2.2 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter often reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

4.2.3 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.

4.3.1 Bradford Island temperatures are not available at this time.  The Project is waiting on a new temperature probe.  The new probe should be installed by mid-April.

Table 3.  Bonneville Fishway Temperatures

	Date
	WA. Shore average
	BI

 average

	3/16
	40.6
	NA

	3/17
	40.1
	NA

	3/18
	42.5
	NA

	3/19
	40.1
	NA

	3/20
	39.3
	NA

	3/21
	39.4
	NA

	3/22
	39.9
	NA


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.5 Adult Fishways. 
4.5.1 Calibration was checked on 21 March.  
4.5.2 B-Branch and Cascades Island fishway PLC are in manual.
4.5.3 Installation of the FOG sea lion exclusion bars began on 21 March.  Stab plates remain installed in gates without exclusion bars.
4.5.4 SLEDs (sea lion exclusion devices) and acoustic deterrents are installed at all fishway entrances.
4.6 Juvenile Fishways.
4.6.1 B2CC was closed from0719 until 1800 on 18 March; from 0719 until 1741 on 19 March; from 0713 until 1735 on 20 March; from 0720 until 1800 on 21 March; from 0658 until 1903 on 22 March to facilitate the BGS alignment dives.
4.6.2 U14 orifices were put in manual from 18-21 March to facilitate the gatewell testing that occurred this week.
4.7 Lamprey Fishways.  Remain winterized.
5 CONSTRUCTION
5.1 PH1 ITS Wall Removal.  Three automated gates will be installed.  Optional items include sloping the floor and removing the DSM wall.
5.2 PH2 VBS mods.  All gatewell modifications have been completed.  U16 will return to service by 1 April, U17 will return to service by the end of March.
5.3 TIE crane.  The TIE crane boom repair is on hold until funding is secured.

5.4 BGS.  Re-alignment of the anchors occurred from 18-22 March.
6 HAZMAT, SPILLS AND CLEANUP.  Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 20 December replaces the tail water operation for chum spawning teletype on 12 December.  Effective 0600 hours on Monday, December 24, until further notice, operate Bonneville tail water as follows – minimum 11.5 ft all hours.   The minimum 11.5 ft is for chum incubation.
7.2 A teletype sent on 13 March requests the Bonneville forebay be restricted to the following elevations as a soft constraint from 1200-1700 on 22 March: 71.5’ - 73.0’.  This operation is to assist in beach cleanup at the Port of Hood River.

7.3 A teletype sent on 17 March requests Bonneville project to only operate two units plus the fish units at PH2 and close B2CC from 0600 until 1800 on 18-22 March.  The units operated will be either 11 and 14, or 14 and 18, depending on the location of the dive.  To maintain a minimum tailwater of 11.5’ (see 7.1), the project can operate PH1 units above the 1%, and if necessary, operate a third PH2 unit at the lower end of 1%.  This operation is necessary to assist with the realignment of the BGS in the PH2 forebay.
JAMES R. MAHAR, P.E.

Operations Manager
1

