CENWP-OP-B                                                                                                                         April 21, 2008
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 16 of 2008, which covers the period from 13 April through 19 April 2008.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 140.1 to 199.7 kcfs.  Daily average project tailwater ranged from 12.9’ to 16.4’ msl.  Daily average powerhouse forebay elevation ranged from 73.9’ to 75.9’ msl.  Daily average river temperature ranged from 47°F to 48°F.  Secchi disk measurements ranged from 3.0 to 6.0.’
1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-branch, respectively, are included in the spill pattern.  Daily average spill ranged from 89.5 to 100.9 kcfs.  
1.3 Unit Operation.  Powerhouse 2 is the priority powerhouse.
1.3.1 Unit 0 was out of service from 0306 on 15 April until 1702 on 17 April for annual maintenance.

1.3.2 Unit 3 went out of service at 0831 on 14 April for a five year overhaul.

1.3.3 Unit 7 has remained out of service since 04 June for turbine rehab.

1.3.4 Unit 8 has remained out of service since 12 September 2006 for turbine rehab.
1.3.5 Unit 11 was OOS from 0830 until 1917 on 16 April to facilitate the BGS hydrophone installation.

1.3.6 Unit 12 was OOS from 0830 until 1854 on 16 April to facilitate the BGS hydrophone installation.

1.3.7 Unit 13 has remained out of service since 27 March for exciter replacement work.

1.3.8 Unit 15 has remained out of service since 25 November due to exciter and pole failure, followed by a head gate hydraulic line rupture.

1.3.9 Unit 16 returned to service at 1523 on 14 April.  U16 was OOS from 0830 until 1832 on 16 April to facilitate the BGS hydrophone installation.
1.3.10 Unit 17 was OOS from 0830 until 1834 on 16 April to facilitate the BGS hydrophone installation.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  The following AWS closures occurred this reporting week:

2.1.1
  FV1-1 was closed for cleaning from 1537 until 1553 on 17 April.   

2.2 STS/VBS Inspections.  No STS/VBS inspections occurred this reporting week.
Table 1.  STS and VBS inspections.  

	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	NA
	NA


2.3 Dewatering and Fish Salvage. The following fish salvage activities occurred this reporting week.
2.3.1 Biologists rescued one chinook smolt and two fry from the U3 draft tube on 15 April.
2.3.2 Biologists rescued 35 juvenile salmonids from the U3 scroll case on 18 April.
3 RESEARCH  
3.1 Battelle.  Estimating the numbers and distribution of kelt-sized targets with a DIDSON acoustic camera and split-beam hydroacoustics near B2CC entrance.  The DIDSON barge was removed on 16 April.
3.2 Battelle.  Equipment installation continues in the spillway for a spillway survival evaluation.
3.3 CRITFC.  Annual chinook, coho, sockeye and steelhead sampling began 15 April.

3.4 Fish Field Unit.  Pinniped observation and scat collection continue.

3.5 NOAA- Gilbreath.  Juvenile fish releases in gatewell 14A began on 16 April. 

3.6 PSMFC Smolt Monitoring. Smolt monitoring activities ongoing.  No fallbacks were observed this week.  
3.7 USDA Wildlife Services. Sea lion hazing from the powerhouses continues.

3.8 WDFW Fish Counting.  Visual at Bradford Island and WA Shore continues.
3.9 WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats continues.

4 FISHWAYS 

4.1 Project biologists inspected on 13 April – 19 April.  NOAA Fisheries and FPC inspected on 18 April.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.

	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND AND BRANCHES

	4/13-17
	WG 64
	Incorrect position
	Brake seized
	Returned to auto at 1424 on 4/17
	

	4/14
	U3 gatewells
	Didn’t dip prior to setting headgates.
	Verbal & written comm. reiterated need to dip prior to dewatering.
	

	4/15, 4/18
	A-Branch weir
	Reading >1.0’
	System in manual
	No action taken.
	

	4/16
	BI diffusers
	FG3-25 closed
	System in manual 
	Ops adjusted.
	

	4/19
	BI differential
	Diff <1.5’>
	FV4-3/4-4 in manual control
	Ops adjusted.
	

	CASCADES ISLAND

	4/16
	CI diffusers
	FG6-12 closed
	System in manual
	Ops adjusted.
	

	4/18
	CI diffusers
	FG6-11 open
	System in manual
	Ops adjusted.
	

	4/18-19
	CI differential
	Diff <1.5’>
	FV5-3/5-4 in manual control
	Ops adjusted.
	

	WASHINGTON SHORE

	All week
	DSM2 
	Fish unit orifices in manual.
	Bad channel sensor. 
	See 4.6.4
	08-37086

	All week
	S. Monolith
	Velocity meter reading <1.5’
	Believed to be broken
	Cannot replace until winter.
	

	All week
	DSM2 
	Airburst not bursting all panels
	PLC issues.
	Electricians working on it.
	08-37503


4.2.1 FG6-10 closed.  The motor was repaired on 15 August 2007.  The shaft and gate have parted ways, however, so the diffuser will not be operational until repaired in winter 09/10.  It is OOC when TW is above 19.0’ msl.
4.2.2 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter often reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

4.2.3 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.

4.3.1 Bradford Island temperatures are not available at this time.  The Project is waiting on a new temperature probe.  The new probe should be installed by mid-April.

Table 3.  Bonneville Fishway Temperatures

	Date
	WS average
	BI average

	4/13
	46.3
	NA

	4/14
	42.5
	NA

	4/15
	39.0
	NA

	4/16
	41.8
	NA

	4/17
	43.9
	NA

	4/18
	39.6
	NA

	4/19
	36.9
	NA


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.5 Adult Fishways. 
4.5.1 Calibration was checked on 19 April.
4.5.2 B-Branch and Cascades Island fishway PLC are in manual.
4.5.3 Installation of the FOG sea lion exclusion bars has halted due to a broken lifting beam.  The four large orifices have bars (two at each end of the powerhouse). The stab plates remain installed in gates without exclusion bars.  
4.5.4 SLEDs and acoustic deterrents remain installed at fishway entrances.
4.5.5 The AFF was put back in service on 14 April.

4.5.6 WG64 was returned to auto at 1424 on 17 April.

4.6 Juvenile Fishways.

4.6.1 Orifice 15C-N was closed at 1021 on 14 April to support U15 head gate removal.
4.6.2 U14 orifices were placed in manual at 0600 on 16 April.  Gatewell testing continues until 18 April.
4.6.3 The B2CC was on seal from 0713 until 1830 on 16 April to facilitate the BGS hydrophone installation.

4.6.4 F1 and F2 orifices were moved to manual throughout the week.  When FB elevation exceeded 75.5’ msl, the orifices would be closed to prevent the channel sensor from tripping the ERG.  F1 orifices were closed from 2153 on 19 April until 0700 on 20 April; F2 orifices were closed from 2304 on 15 April until 0700 on 20 April.
4.7 Lamprey Fishways.  Remain winterized.
5 CONSTRUCTION
5.1 PH1 ITS Wall Removal.  Three automated gates will be installed.  Optional items include sloping the floor and removing the DSM wall.
5.2 TIE crane.  The TIE crane boom repair is on hold until funding is secured.

5.3 BGS.  Installation of the acoustic nodes will be completed on 16 March.
6 HAZMAT, SPILLS AND CLEANUP.  
6.1 On 15 April, a slight oil sheen was seen in 14A and 15C gatewells.  The EC coordinator was notified at 0820.  Oil absorbent pads were used to remove the oil and the EC coordinator reported at 1012 that the gatewells were sheen free and all pads had been removed.  No oil escaped to the river.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 The teletype sent on 20 December, which replaced the tail water operation for chum spawning teletype on 12 December, was replaced by a teletype sent on 11 April.  This teletype, effective immediately, requests 11.5’ minimum tailwater during all hours as a soft constraint.  This request is to protect emerging chum fry.
7.1.1 The TW soft constraint of 11.5’ msl was exceeded at 2300 on 13 April.
7.2 A teletype sent on 10 April requests the project operate in the following manner, with a hard constraint from 0600 on 11 April until 0559 on 15 April 9, a soft constraint from 0600 on 15 April until 0600 on 19 April:
7.2.1 Operate PH2 as the priority PH, up to loading criteria in 7.2.2 before operating PH1;
7.2.2 Operate PH2 units at the lower end of 1%.  Units will be targeted at about 50MW with a maximum generation of 57MW.

7.2.3 Operate PH1 MGR units as first on/last off and within the 1% efficiency range;
7.2.4 PH2 units may run to full capacity within 1% to avoid spilling over the gas cap.
7.2.5 This operation was requested to facilitate the migration of the four million juvenile tule chinook released by Spring Creek NFH.

7.3 A teletype sent on 10 April requests the Project to begin juvenile fish spill beginning at 0001 on 10 April and continuing until 1800 on 16 April.  Spill will be 100Kcfs (or as close as the 100K pattern allows given forebay elevation) for 24 hours a day.  The current pattern can be found in the 2008 FPP at www.nwd-wc.usace.army.mil/tmt/documents/fpp/
7.4 A teletype sent on 15 April requests multiple actions.

7.4.1 It requests the B2CC be closed from 0700 until 1800 on 16 April to facilitate the BGS hydrophone installation.  During the installation, U14 and U18 may be operated.  Any flow exceeding the capacity of spill and two PH2 units may be shifted to PH1.
7.4.2 This teletype cancels the 10 April teletype referenced in 7.3.
7.4.3 It also requests U14 be operated as first priority from 1800 on 16 April until 1200 on 20 April to accommodate the NOAA gatewell tests.

JAMES R. MAHAR, P.E.

Operations Manager
1

