CENWP-OP-B                                                                                                                         May 12, 2008
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 19 of 2008, which covers the period from 04 May through 10 May 2008.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 159.5 to 300.5 kcfs.  Daily average project tailwater ranged from 14.8’ to 22.7’ msl.  Daily average powerhouse forebay elevation ranged from 74.7’ to 76.5’ msl.  Daily average river temperature ranged from 51°F to 53°F.  Secchi disk measurements ranged from 3.0 to 4.5.’
1.2 Spill Bays 1 and 18, which supply attraction flow for Cascades Island and B-branch, respectively, are included in the spill pattern.  Daily average spill ranged from 95.7 to 102.4 kcfs.  
1.3 Unit Operation.  Powerhouse 2 is the priority powerhouse.
1.3.1 Unit 3 has remained out of service since 14 April for a five year overhaul.

1.3.2 Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

1.3.3 Unit 8 has remained out of service since 12 September 2006 for turbine rehab.
1.3.4 Unit 12 was out of service from 1230 until 1343 on 06 May for governor work.

1.3.5 Unit 13 was out of service from 0721 until 0805 on 06 May to tighten packing.

1.3.6 Unit 15 has remained out of service since 25 November 2007due to exciter and pole failure, followed by a head gate hydraulic line rupture.

1.3.7 Unit 16 was out of service from 1234 until 1508 on 08 May for governor control oil relief valve work.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays; VBS drawdowns are measured daily on modified units.
2 ACTIVITIES

2.1 AWS Closures.  The following AWS closures occurred this reporting week:
2.1.1 FV1-1 was closed for cleaning from 0718 until 0741 on 07 May.
2.1.2 FV 5-3 was closed from 1835 until 1903 on 08 May to flush debris in main dam forebay.

2.1.3 FV 5-4 was closed from 1835 until 1903 on 08 May to flush debris in main dam forebay.
2.2 STS/VBS Inspections.  No STS/VBS inspections occurred this reporting week. 
Table 1.  STS and VBS inspections.  

	Unit
	Date
	Run Hours
	Comments

	11-18
	NA
	NA
	NA


2.3 Dewatering and Fish Salvage. No fish salvage activities occurred this reporting week.
3 RESEARCH  
3.1 Battelle.  BGS hydrophone installation suspended this reporting week.
3.2 Battelle.  Equipment installation completed for a spillway survival evaluation.
3.3 CRITFC.  Annual chinook, coho, sockeye and steelhead sampling in the AFF began 15 April.

3.4 Fish Field Unit.  Pinniped observation and scat collection continue.

3.5 NOAA – Gilbreath.  Juvenile Spring Creek fish releases in gatewell 14A continue. PIT tagged fish are being collected in SbyC and SMP samples.    
3.6 NOAA – Jacobson.  Collected 25 chinook and 25 coho from PSMFC for pathogen testing. 

3.7 NOAA – McComas.  Collected 417 chinook from PSMFC for comparing performance of acoustic tagged and PIT tagged juvenile salmonids.
3.8 PSMFC Smolt Monitoring. Smolt monitoring activities ongoing.  Fallbacks recorded crossing the separator bars included; five steelhead and one salmon.  A total of 442 yearling Chinook and 25 coho were held for NOAA research projects while 84 yearling Chinook were collected for University of Washington studies this week.

3.9 USDA Wildlife Services. Sea lion hazing from the powerhouses continues.

3.10 University of Washington.  Collection of barged fish, SbyC, and run of river fish for challenge trial continues.  
3.11 WDFW Fish Counting.  Visual counts at Bradford Island and WA Shore continues.
3.12 WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats suspended on 04 May during the sea lion death investigation.

4 FISHWAYS 

4.1 Project biologists inspected on 04 – 10 May.  NOAA fisheries inspected on 09 May.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.

	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND AND BRANCHES

	5/6 – 5/10
	FG3-5
	Closed.
	Diffuser broken.
	See 4.2.4
	08-38527

	5/8
	B-branch
	Entrance >2.0
	System in manual
	Ops adjusted.
	

	5/8
	B-branch 
	N. entrance gate closed
	System in manual
	Ops adjusted.
	

	5/8
	BI diffusers
	FG3-23 open
	System in manual 
	Ops adjusted.
	

	5/9
	Powerhouse 1
	S. collection channel diff <1.0
	
	Ops adjusted.
	

	CASCADES ISLAND

	5/7, 5/9
	CI diffusers
	FG6-10 closed
	Diffuser broken
	See 4.2.1
	

	WASHINGTON SHORE

	5/8
	Powerhouse 2
	Unit 18 priority
	Unknown
	Ops adjusted.
	

	All week
	DSM2 
	Airburst not bursting all panels
	PLC issues.
	
	08-37503


4.2.1 FG6-10 closed.  The motor was repaired on 15 August 2007.  The shaft and gate have parted ways, however, so the diffuser will not be operational until repaired in winter 09/10.  It is OOC when TW is above 19.0’ msl.
4.2.2 PH1 electronic velocity meter is in an eddy.  Due to this placement, the velocity meter often reads less than 1.5 fps.  Readings to meet FPP criteria are taken from the south end mechanical meter.

4.2.3 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.2.4 FG3-5 closed.  The valve stem separated from the gate, repairs are scheduled for winter 09/10.  It is OOC when TW is above 16.7’ msl.

4.2.5 FV 3-7 is in manual because it is not tracking with forebay elevations correctly, and is adjusted as necessary to maintain ladder criteria.  TR 08-39938.

4.2.6 PH2 velocity meter.  The velocity meter is believed to be broken.  Repairs will not be made until winter 08/09.

4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.

4.3.1 Bradford Island temperatures are not available at this time.  New probe has been installed but requires a programming update.
4.3.2 The Washington Shore fishway temperature probe is in need of calibration.  It will be sent in once the Bradford Island temperature probe returns to service.
Table 3.  Bonneville Fishway Temperatures

	Date
	WS average
	AFF 
	BI average

	5/4
	NA
	51.0
	NA

	5/5
	NA
	52.4
	NA

	5/6
	NA
	52.7
	NA

	5/7
	NA
	51.3
	NA

	5/8
	NA
	50.6
	NA

	5/9
	NA
	51.1
	NA

	5/10
	NA
	52.2
	NA


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  

4.5 Adult Fishways. 
4.5.1 Calibration was checked on 09 May.
4.5.2 B-Branch and Cascades Island fishway PLC are in manual.
4.5.3 Installation of the FOG sea lion exclusion bars has halted due to a broken lifting beam.  The four large orifices have bars (two at each end of the powerhouse). The stab plates remain installed in gates without exclusion bars.  
4.5.4 SLEDs and acoustic deterrents remain installed at fishway entrances.
4.6 Juvenile Fishways.

4.6.1 U14 orifices were placed in manual on 07 May until 11 May, with 14A-S open and 14A-N closed for NOAA gatewell releases.
4.6.2 F1 and F2 orifices were moved to manual throughout the week.  When FB elevation exceeded 75.5’ msl, the orifices would be closed to prevent the channel sensor from tripping the ERG.  
4.6.3 U15 orifices were moved to manual throughout the week to maintain DSM2 level.  The orifices were closed one at a time, as necessary, to prevent the ERG from tripping.  U15 is currently OOS.
4.7 Lamprey Fishways.  Bradford Island and WA shore make-up water structures remain winterized.  The WA shore NDE lamprey ramp is scheduled for deployment on 13 May at 1300.  The NDE entrance will be closed briefly to facilitate this operation.
5 CONSTRUCTION
5.1 PH1 ITS Wall Removal.  Three automated gates will be installed.  Optional items include sloping the floor and removing the DSM wall.
5.2 TIE crane.  The TIE crane boom repair is on hold until funding is secured.

5.3 BGS.  Installation of the acoustic nodes continues.
6 HAZMAT, SPILLS AND CLEANUP.  Nothing to report this week.  
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 The teletype sent on 20 December, which replaced the tail water operation for chum spawning teletype on 12 December, was replaced by a teletype sent on 11 April.  This teletype, effective immediately, requests 11.5’ minimum tailwater during all hours as a soft constraint.  This request is to protect emerging chum fry.
7.2 A teletype sent on 10 April requests the Project to begin juvenile fish spill beginning at 0001 on 10 April and continuing until further notice.  Spill will be 100Kcfs (or as close as the 100K pattern allows given forebay elevation) for 24 hours a day.  The current pattern can be found in the 2008 FPP at www.nwd-wc.usace.army.mil/tmt/documents/fpp/
7.3 A teletype sent on 6 May requests U14 be operated as first priority from 0600 on 7 May until 1200 on 12 May to accommodate the NOAA gatewell tests.
7.4 A teletype sent on 5 May and revised on 6, 7, and 10 May provides guidance for project operation to provide voluntary and involuntary spill.  The teletype provides spill volumes and corresponding TDG levels for Columbia River basin projects.

7.5 A teletype sent on 7 May grants a tailwater exceedance to allow fluctuation up to 5 feet from 1000 hrs on 7 May to 1000 hrs on 8 May.  The maximum rate of change was 1.5 ft/hour.
7.6 A teletype sent on 8 May requests a debris flush from spillbays 1,2,17, and 18 to prevent damage to research equipment.  Open one bay at a time as far as needed and limit the duration of each spillbay opening to 30 minutes.

7.7 A teletype sent on 8 May authorizes the closure of spillbays 9, 12, and 14 from 0600 to 1800 on 9 May to enable the replacement of a spillway gallery unwatering pump.  An alternate spill pattern was included

JAMES R. MAHAR, P.E.

Operations Manager
1

