CENWP-OD-B                                                                                                                                  15 March 2009
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 11 of 2009, which covers the period from 08 through 14 March 2009.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 119.0 to 127.1 kcfs.  Daily average project tailwater ranged from 11.6’ to 11.8’ msl.  Daily average powerhouse forebay elevation ranged from 75.2’ to 76.1’ msl.  Daily average river temperature ranged from 39 - 40ºF.  Secchi disk measurements ranged from 5.0’ to 6.5’.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-Branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 1.3 to 1.8 kcfs.
1.3 Unit Operation.  Powerhouse 2 was the priority powerhouse most of the week.  Powerhouse priority shifted on 11 and 12 March due to the BGS dive.
1.3.1 Unit 1 was out of service from 0246 until 1729 on 13 March for oil leak repairs.

1.3.2 Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

1.3.3 Unit 8 has remained out of service since 17 December due to generator lower guide bearing failure.
1.3.4 Unit 9 has remained out of service since 04 August for turbine rehab.
1.3.5 Unit 11 has remained out of service since 12 June due to rotor damage.
1.3.6 Unit 13 was out of service from 0734 until 1701 on 11 March and from 0652 until 1611 on 12 March to facilitate the BGS inspection and repair dive.

1.3.7 Unit 14 was out of service from 0734 until 1644 on 11 March and from 0652 until 1615 on 12 March to facilitate the BGS inspection and repair dive.

1.3.8 Unit 15 was out of service from 0734 until 1612 on 11 March and from 0652 until 1620 on 12 March to facilitate the BGS inspection and repair dive.

1.3.9 Unit 16 was out of service from 0726 until 1713 on 11 March and from 0652 until 1622 on 12 March to facilitate the BGS inspection and repair dive.

1.3.10 Unit 17 was out of service from 0734 until 1629 on 11 March and from 0652 until 1627 on 12 March to facilitate the BGS inspection and repair dive.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:
2.1.1 FV1-1 was closed for cleaning from 1451 until 1600 on 09 March and from 1240 until 1348 on 12 March.

2.1.2 FV3-9 was closed for cleaning from 1008 until 1020 on 12 March.

2.1.3 The BI exit was cleaned at 1020 on 12 March.
2.2 STS/VBS inspections.  The following STS/VBS activities occurred this reporting week.  
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	1, 2
	NA
	NA
	Removed until 3 September.

	11
	NA
	NA
	U11 remains OOS

	12-18
	NA
	
	STSs installed.


2.3 Dewatering and Fish Salvage.  
2.3.1 On 09 March, Fisheries removed five juvenile chinook and one juvenile steelhead from the upstream navlock gate during the navlock dewatering activities.
3 RESEARCH  
3.1 CRITFC- JMF video.  Viewing window has been installed at the sample flume at the Juvenile Monitoring Facility (JMF).
3.2 NOAA- spill gate test.  Vibration sensors scheduled for installation on Spillbay 11 on 29 March. 
3.3 NOAA- B2CC PIT.  Fish releases scheduled for 15 April.
3.4 NOAA-FGE.  Fish releases scheduled for 25 March.
3.5 PNNL- BGS.  Trailers will be delivered the week of 23 March.
3.6 PSMFC- Smolt monitoring.  Juvenile fish condition and index monitoring continues.  

3.7 WDFW Fish Counting.  Video counting at Bradford Island began on 10 January and at Washington Shore on 01 March.
3.8 WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats continues.

3.9 USDA Wildlife Services. Hazing from shore continues.

4 FISHWAYS 

4.1 Project biologists inspected 08-14 March.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND

	3/11-14
	A-branch weir
	Reading <1.0’>
	Unknown
	No action taken.
	

	CASCADES ISLAND

	3/14
	FG6-13
	Open
	System in manual
	Operators corrected
	

	WASHINGTON SHORE

	All week
	Weir 37 
	Staff gauge gone
	Moved for new AFF picket leads.
	Riggers to re-install.
	

	DSM1/ITS – DSM1 is OOS until early September

	All week
	ITS gates 1A and 1B
	Chain gates are closed.
	
	Riggers asked to set gates on 3/16
	

	3/13-14
	ITS
	End gate closed
	Contractors working
	In service 3/14 PM
	

	DSM2/ JMF

	3/8-13
	11C-S
	Closed
	11C-N jammed.
	TR’d
	09-119557


4.2.1 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  
4.2.2 Fisheries is working with maintenance to build and install a mechanical velocity meeting at the PH2 south monolith.  For now, there is no velocity meter.
4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington shore. Temperatures are in Fahrenheit.  Temperatures are taken in the AFF brail pool and the JMF general holding tank from 1 June through 30 September.
4.3.1 Washington shore temperatures were not available from 3/8-10 due to programming issues.
Table 3.  Bonneville Fishway Temperatures

	Date
	WA. Shore average
	BI

 average

	3/8
	N/A
	38.9

	3/9
	N/A
	38.9

	3/10
	N/A
	38.8

	3/11
	39.0
	38.7

	3/12
	38.9
	38.6

	3/13
	39.0
	38.7

	3/14
	39.3
	39.0


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 13 March.  B-branch PLC remains in manual.  Cascades Island PLC is not functioning at all.  Repairs are expected to be made the week of 23 March.
4.5.2 WG 2 remains in manual due to an inability to raise >10.9’.  
4.5.3 11 FOGs are in service, one remains out of service until structural repairs can be made.  
4.5.4 The AFF remains dewatered. 
4.5.5 Weir 37 staff gauge remains out of service.  It is expected to return to service next week.
4.6 Juvenile Fishways.
4.6.1 The PH1 ITS is in service.   Automated gates are installed but not programmed.
4.7 Lamprey Fishways.  BI and WS AWS lamprey ramps remain winterized.
5 CONSTRUCTION
5.1 PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal is scheduled for FY10.
5.2 TIE crane.  The TIE crane boom repair has been delayed.
6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A 06 November teletype set the BON upper forebay limit as 76.5’ msl. and the lower limit as 71.5’ msl.  

7.2 A 31 December teletype, regarding BON tailwater operations for chum egg incubation, requests a minimum tailwater elevation of 11.5’ msl during all hours from 0001 on 01 January 2009 until further notice. 

7.3 A 26 February teletype requests that Unit 6 be placed as last on/first off in the unit priority list.  This is to accommodate the alignment measurement and testing of Unit 7.  Unit 6 will return to normal FPP unit priority when the Unit 7 work has been completed or at 0001 on 13 March, whichever comes first.

7.4 A teletype sent on 10 March requests limited generation to a maximum of 40 kcfs as a hard constraint at PH2 from 0700 until 1800 on 11 and 12 March.  This request is to allow divers into the PH2 forebay to inspect and repair the BGS.  It also states that PH1 will become the priority powerhouse starting at 0400 on 11 March.
JAMES R. MAHAR, P.E.

Operations Manager
1

