CENWP-OD-B                                                                                                      10 May 2009 (Happy Mother’s Day)
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 19 of 2009, which covers the period from 03 through 09 May 2009.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 201.7 to 283.7 kcfs.  Daily average project tailwater ranged from 16.8’ to 20.9’ msl.  Daily average powerhouse forebay elevation ranged from 73.1’ to 75.1’ msl.  Daily average river temperature ranged from 51ºF to 52ºF.  Secchi disk measurements ranged from 4.0’ to 5.3’.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-Branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 96.5 to 101.3 kcfs.
1.2.1 Bay 17 remains set at two dogs (2.9 feet).  

1.3 Unit Operation.  Powerhouse 2 remains the priority powerhouse.
1.3.1 Unit 2 was out of service from 0206 on 05 May until 1622 on 06 May for annual maintenance.

1.3.2 Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

1.3.3 Unit 9 has remained out of service since 04 August for turbine rehab.
1.3.4 Unit 11 has remained out of service since 12 June due to rotor damage.
1.3.5 Unit 15 was out of service from 1137 until 1220 on 09 May due to an emergency shutdown caused by exciter relay troubles.

1.3.6 Unit 16 went out of service at 1137 on 09 May due to an emergency shutdown caused by exciter relay troubles and a ground issue.

1.3.7 Unit 17 was out of service from 0301 on 04 May until 0949 on 08 May for change out of the head gate in gatewell C.
1.3.8 Unit 18 had a 1% violation from 0740 until 0905 on 07 May while switching to preferred AC power.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units are placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  No AWS valves were closed this reporting week.
2.2 STS/VBS inspections.  The following STS/VBS activities occurred this reporting week:  
Table 1.  STS and VBS inspections.  The following STS/VBS inspections occurred last week.
	Unit
	Date
	Run Hours
	Comments

	1-2
	NA
	NA
	Remain out of service until 3 September.

	11
	NA
	NA
	Currently out of service.

	12
	4/29
	572
	

	13
	4/29
	663
	

	14
	4/29
	663
	

	15
	4/29
	665
	

	16
	4/29
	601
	

	17
	4/29
	665
	

	18
	4/29
	598
	


2.3 Dewatering and Fish Salvage.  The following fish salvage and dewatering activities occurred this week;
2.3.1 Fisheries salvaged 500 sub-yearling chinook, yearling chinook and steelhead from gatewell 17C.  The salvage was necessary due to the removal of the headgate for rehab.  Fish were released into gatewell 18A.
3 RESEARCH  

3.1 CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.

3.2 CRITFC- JMF video.  Video equipment for monitoring juvenile fish passage at the JMF scheduled for installation the week of 10 May. 
3.3 FFU- sea lion.  Sea lion observations continue.
3.4 NOAA-FGE.  Test releases of PIT-tagged Spring Creek NFH fish continued this week to assess passage conditions at two turbine operating ranges (middle and low-middle of the 1% efficiency range).  Test fish were released at the intake into gatewell 14A.  
3.5 NOAA Lamprey.  Water-up for all lamprey passage structures scheduled for the week of 18 May.
3.6 NOAA- pathogens. Determination of pathogen prevalence in juvenile salmonids.  Collected 25 yearling chinook and 25 coho from the JMF.
3.7 NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6. 

3.8 PNNL- BGS.  All hydrophones are installed and collecting data for the BGS evaluation.  
3.9 PSMFC- Smolt monitoring.  Daily condition and index monitoring continues.  Fallbacks recorded crossing the separator bars included; 19 steelhead , 11 salmon, and one unknown salmonid.  Gas Bubble Trauma (GBT) examinations occur two days per week at the JMF during spill.  Please go to http://www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  84 yearling chinook were collected for University of Washington and 25 yearling chinook and 25 coho were held for NOAA this week.
3.10 WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways.
3.11 WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats and trapping continues. 
3.12 USDA Wildlife Services. Hazing sea lions from shore continues.  Avian hazing began on 01 April.

3.13 University of Idaho.  Tagging adult spring chinook for evaluation of the Cascades Is. entrance weir.
3.14 University of Washington.  Barge versus bypass fish testing for latent mortality continues.  Collected 84 yearling chinook from the JMF.
4 FISHWAYS 

4.1 Project biologists inspected 03 through 09 April.  
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND

	5/07-08
	B-Branch
	FG3-22 position
	TW sensor reading incorrectly
	Ops adjusted.  Electricians inspected
	

	CASCADES ISLAND (CI)- nothing out of criteria

	WASHINGTON SHORE

	All week
	WS temp probe
	Not recording 
	Unknown
	Sending in for repair.
	

	5/09
	Weir 38
	Reading <1.0’
	Unknown
	adjusted valves 2/  11
	

	ITS – nothing out of criteria

	DSM2/ JMF- nothing out of criteria


4.2.1 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.2.2 Design of a mechanical velocity meter at the PH2 south monolith is in progress.  

4.2.3 CI south entrance gate remains broken and closed.  It is out of criteria when TW is <17’.

4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington Shore.  

4.3.1 The WS probe needs repairs; until then the AFF probe will be used as a surrogate.
Table 3.  Bonneville Fishway Temperatures

	Date
	AFF average
	BI average

	5/03
	49.8
	49.8

	5/04
	49.8
	49.8

	5/05
	49.7
	49.6

	5/06
	49.8
	49.7

	5/07
	49.8
	49.9

	5/08
	50.0
	50.0

	5/09
	50.5
	50.5


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 06 May.  
4.5.2 B-branch and Cascades Island PLC’s remain in auto.
4.5.3 The new weir creates different hydraulic conditions and requires additional flows from the diffusers.  On 05 May, new settings were programmed into the PLC.  These new settings will be submitted on an FPP change form for FPOM approval.

4.5.4 The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening.
4.6 Juvenile Fishways.
4.6.1 Spillbay 17 remains on two dogs.  The bay should be at 3.5’ but due to a broken hoist it has to be dogged instead.  Flow is compensated through adjacent bays.
4.7 Lamprey Fishways.  
4.7.1 The CI entrance weir is installed.
4.7.2 The NDE lamprey ramp is scheduled for installation on 19 May, pending FPOM approval.
5 CONSTRUCTION
5.1 PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal is scheduled for FY10.  Old DSM bypass equipment in the tailrace is scheduled for removal in FY10 as well.
5.1.1 The automated gates electrical work is scheduled to be complete on 13 May, with testing on 15 May.

5.2 TIE crane.  The new boom is to arrive in mid-June; load testing should occur by the first week in July.
6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 09 April requests spring spill to begin at 0001 on 10 April, continuing until further notice.

7.2 A teletype sent on 01 May requests PH2 units operate at the lower end of 1% to facilitate the safe passage of 4.77 million tule fall chinook released on 01 May.  The following actions occur in the order below:

7.2.1 Beginning at 0600 on 02 May and ending at 0559 on 10 May, operate PH2 units between the low end and lower quarter point of the 1% efficiency range (approximately 11.2 to 13.2 kcfs).  During this operation, PH2 units should be operated at about 50 MW.  If it is necessary to put the units on local control to achieve these targets, the Control Room should notify BPA and Real Time scheduling prior to going to local control.  

7.2.2 PH1 units shall be operated within the 1% efficiency range.

7.2.3 If more generation is needed to avoid spilling over the gas cap, bring PH1 to full load then increase the PH2 units to the mid-range of 1% (approximately 15 kcfs) one unit at a time.

7.2.4 If more generation is still needed, increase PH2 units to full capacity (within the 1% efficiency range) one unit at a time.
7.2.5 If required, increase spill as necessary.
7.3 A 06 May teletype revises the 01 May teletype ( see 7.2), moving end date from 10 May to 07 May.
7.4 A teletype sent on 05 May requests a forebay restriction of 72.0’ – 73.0’ as a hard constraint and 72.0’ – 72.5’ as a soft constraint from 1400 until 1600 on 08 May.  This operation is to facilitate an aerial survey.

JAMES R. MAHAR, P.E.

Operations Manager
Page 1 of 3
1
Page 2 of 3

