
CENWP-OD-B























07 June 2009
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 23 of 2009, which covers the period from 31 May through 06 June 2009.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 343.0 to 346.1 kcfs.  Daily average project tailwater ranged from 25.1’ to 25.2’ msl.  Daily average powerhouse forebay elevation ranged from 74.1’ to 74.5’ msl.  Daily average river temperature ranged from 60ºF to 61ºF.  Secchi disk measurements ranged from 3.0’ to 3.5’.
1.2 Daily average spill ranged from 148.8 to 149.7 kcfs.
1.2.1 Spillbay 17 remains on two dogs (2.9’).  The bay should be at 3.5’ but due to a broken hoist it has to be dogged instead.  Flow is compensated through adjacent bays.
1.3 Unit Operation.  Powerhouse 2 remains the priority powerhouse.
1.3.1 Unit 5 was out of service from 1140 until 1158 on 03 June due to a Bank 5/6 and 7/8 lockout.

1.3.2 Unit 6 was out of service from 1140 until 1200 on 03 June due to a Bank 5/6 and 7/8 lockout.

1.3.3 Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

1.3.4 Unit 8 was out of service from 1140 until 1203 on 03 June due to a Bank 5/6 and 7/8 lockout.

1.3.5 Unit 9 has remained out of service since 04 August 2008 for turbine rehab.
1.3.6 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.7 Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.
1.4.1
F2 was placed on standby for lamprey testing from 2202 on 04 June until 0402 on 05 June.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following AWS valves were closed for cleaning this reporting week:

2.1.1 FV1-1 from 1630 until 1647 on 03 June and from 1245 until 1300 on 04 June.

2.1.2 FV 3-7 from 1521 until 1531 on 04 June and from 1430 until 1442 on 06 June.
2.1.3 FV 3-9 from 1521 until 1531 on 04 June and from 1430 until 1442 on 06 June.
2.2 STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:  
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	1-2
	NA
	NA
	Remain out of service until 3 September.

	11
	NA
	NA
	Currently out of service

	12
	6/2
	804
	VBSs cleaned on 01, 03, 06 June

	13
	6/2
	804
	VBSs cleaned on 01, 06 June

	14 
	6/2
	807
	Gatewell 14A visually inspected prior to NMFS fish releases on 01 June.  VBSs cleaned on 06 June.

	15
	6/2
	803
	VBSs cleaned on 01, 03, 06 June

	16
	6/2
	242
	Currently out of service

	17
	6/2
	711
	VBSs cleaned on 01, 06 June

	18
	6/2
	813
	VBSs cleaned on 01, 03, 06 June


2.2.1
VBSs were cleaned over the weekend to keep drawdown within FPP criteria.

2.3 Dewatering and Fish Salvage.  No fish salvage or dewatering activities occurred this week.
3 RESEARCH  

3.1 CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.

3.2 CRITFC- JMF video.  Waiting on new equipment for monitoring juvenile fish passage.  
3.3 CTUIR.  Anticipates collecting up to 50 lamprey, for tagging, from the AFF on 07 June.  

3.4 NOAA-FGE.  Test releases of PIT-tagged run of the river fish continued this week to assess passage conditions at two turbine operating ranges (middle and upper end of the 1% efficiency range).  Test fish were released at the intake into gatewell 14A.  1,814 yearling chinook collected from the JMF.  No releases are scheduled for the week of 7 June.
3.5 NOAA Lamprey.  Trapping lamprey at the AFF for passage evaluations.    
3.6 NOAA- pathogens. Determination of pathogen prevalence in juvenile salmonids.  Collected 26 yearling chinook and 26 coho from the JMF.

3.7 NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6. 

3.8 PNNL- BGS.  All hydrophones are installed and collecting data for the BGS evaluation.  
3.9 PSMFC- Smolt monitoring.  Daily condition and index monitoring continues.  Fallbacks recorded crossing the separator bars included; 22 steelhead and 11 salmon.  Gas Bubble Trauma (GBT) exams occur two days per week at the JMF during spill; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  PSMFC held 1,814 yearling chinook for NOAA gatewell 14A testing.  84 yearling chinook for University of Washington studies and 26 yearling chinook/ 26 coho for NOAA this week.

3.10 WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways.
3.11 WDFW/ODFW/CRITFC Sea lion hazing.  Hazing from boats and trapping concluded. 
3.12 USDA Wildlife Services. Hazing sea lions from shore concluded.  Avian hazing continues.

3.13 University of Idaho.  Tagging adult spring Chinook for evaluation of the Cascades Is. entrance weir.
3.14 University of Washington.  Barge versus bypass fish testing for latent mortality continues.  Collected 84 yearling chinook from the JMF.
4 FISHWAYS 

4.1 Project biologists inspected 31 May through 06 June.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI) 

	6/2-6
	FV3-9/FV3-7
	Trashrack diff.
	Debris
	Riggers cleaned
	

	CASCADES ISLAND (CI) – nothing out of criteria

	
	
	
	
	
	

	WASHINGTON SHORE (WS) – nothing out of criteria

	
	
	
	
	
	

	ITS – nothing out of criteria

	DSM2/ JMF- nothing out of criteria


4.2.1 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.2.2 Design of a mechanical velocity meter at the PH2 south monolith is in progress.  

4.2.3 CI south entrance gate remains broken and closed.  It is been OOS since 10 April.  It will remain in the closed position for all tailwater elevations during the modified entrance evaluation. 
4.2.4 The NUE staff gauge is missing above 24’ msl.  Water elevation is estimated.

4.3 Fishway Temperatures.  Measurements are taken three weirs down from the count station at Bradford Island and at the junction of the UMT and the main ladder at Washington Shore.  

4.3.1 The WS and BI. probes need calibrated; for now, the AFF probe is used as a surrogate.
Table 3.  Bonneville Fishway Temperatures

	Date
	AFF average

	5/31
	59.2

	6/01
	59.2

	6/02
	59.1

	6/03
	59.3

	6/04
	59.5

	6/05
	59.3

	6/06
	59.3


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 05 June.  
4.5.2 The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening.

4.5.3 There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  The last gate was removed for maintenance and replaced with a bulkhead.
4.5.4 All adult fishways remain in shad mode.
4.5.5 SLEDs were removed from PH2 and B-branch on 02 June, and from PH1 on 03 June.
4.6 Juvenile Fishways.
4.6.1 Chain gate 1C remains closed and 1B remains open to the sill (68’ msl).  The automated gates are set at 70’ msl and are not yet automated.
4.7 Lamprey Fishways.  
4.7.1 The CI entrance weir and bulkhead slot filler are installed.  
4.7.2 All lamprey passage structures remain watered-up.   
5 CONSTRUCTION
5.1 PH1 Ice and Trash Sluiceway Wall Removal.  Wall removal is scheduled for FY10.  Old DSM bypass equipment in the tailrace is scheduled for removal in FY10 as well.
5.1.1 The Program Logic Control (PLC) for the automated gates will be worked on the week of 01 June though the week of 08 June.
5.2 TIE crane.  The new boom is to arrive in mid-June; load testing should occur by the first week in July.
6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 09 April requests spring spill to begin at 0001 on 10 April, continuing until further notice.

7.2 A teletype sent on 17 May and revised on 18 May provides guidance for voluntary and involuntary spill by project as well as spill caps per project for various total dissolved gas (TDG) levels.

JAMES R. MAHAR, P.E.

Operations Manager
Page 1 of 3
1
Page 2 of 3

