CENWP-OD-B






















06 September 2009
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 36 of 2009, which covers the period from 30 August through 05 September 2009.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 81.9 to 118.1 kcfs.  Daily average project tailwater ranged from 8.3’ to 10.8’ msl.  Daily average powerhouse forebay elevation ranged from 75.6’ to 76.1’ msl.  Daily average river temperature ranged from 70ºF to 71ºF.  Secchi disk measurements were 7.0’ all week.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged between 1.4 to 75.3 kcfs.  

1.2.1 Spill season ended at 2400 on 31 August.
1.2.2 Bay 17 was closed at 1030 on 31 August.
1.3 Unit Operation.  Unit priority has changed due to fish numbers requiring the Project to split flows.
1.3.1 Unit 1 was out of service from 0642 until 1055 on 02 September for STS and VBS installation.

1.3.2 Unit 2 was out of service from 0700 until 1238 on 31 August for STS and VBS installation.

1.3.3 Unit 3 was in service from 0645 until 1053 for split flow operation.

1.3.4 Unit 6 has remained out of service since 13 July for a five year overhaul.

1.3.5 Unit 7 has remained out of service since 04 June 2007 for turbine rehab.

1.3.6 Unit 9 has remained out of service since 04 August 2008 for turbine rehab.
1.3.7 Unit 10 was out of service from 1504 until 1535 on 03 September due to bank 9/10 tripping off.

1.3.8 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.9 Unit 16 has remained out of service since 09 May due to exciter troubles and a grounding issue.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.
1.4.1 F2 was on standby for lamprey testing from: 2159 on 30 August until 0357 on 31 August; 2200 on 02 September until 0403 on 03 September; 2148 on 03 September until 0419 on 04 September.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following  AWS valves were closed this reporting week: 

2.1.1 FV3-9 was closed for cleaning from: 0852 until 1535 on 03 September.
2.2 STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week:
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	1
	NA
	NA
	Installed 02 September.

	2
	NA
	NA
	Installed 31 August.

	11, 16
	NA
	NA
	Out of service

	12-15, 17-18
	NA
	NA
	Scheduled for week of 21 September.


2.2.1 Dewatering and Fish Salvage.  The following fish salvage activity occurred this week:
2.2.1.1 On 03 September, Project biologists recovered 13 sculpin from Unit 6 taillogs.  

3 RESEARCH  

3.1 CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.  Due to water temperatures exceeding 70.0ºF on 31 August, trapping times were modified to meet FPP Appendix G requirements. 
3.2 CRITFC- JMF video.  New video equipment installed for monitoring juvenile fish passage.  
3.3 NOAA Lamprey.  Trapping lamprey at the AFF for passage evaluations concluded on 04 September. 
3.4 NOAA- PIT tag detectors.  Vibration sensors remain installed on Spill bay 6. 

3.5 NWW truck release site.  Trucking and release at BON began on 16 August; continues every other day.

3.6 PSMFC- Smolt monitoring.  Modified sampling protocols due to elevated river temperature occurred this week.  One dead kelt found on the separator bars.  Gas Bubble Trauma (GBT) exams occur twice a week; see www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  No fish were held for researchers this week.    
3.7 WDFW Fish Counting.  Visual counting continues at Bradford Island and Washington Shore fishways. Nighttime video counts began 15 June.
3.8 WDFW Tule counts.  Tule counting continues.  
3.9 USGS Shad.  Collecting juvenile shad from the Juvenile Fish Monitoring Facility for ongoing research on impacts of American Shad on the Columbia River.  No shad collected this week.
4 FISHWAYS 

4.1 Project biologists inspected 30 August through 05 September.  NOAA inspected on 04 September.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI) nothing to report

	
	
	
	
	
	

	CASCADES ISLAND (CI) 

	8/30-31
	CI diffusers
	FG6-18 open
	FV5-4 conduit pressure
	FV5-4 reprogrammed on 9/1
	

	WASHINGTON SHORE (WS)  nothing to report

	
	
	
	
	
	

	PH1 ITS 

	8/30
	Chaingates
	Open < 2.5’
	In manual/ FB fluctuation
	No action taken.
	


4.2.1 PH1 PCC diffusers FG2-22A and FG2-19 are closed or partially open.  Repairs scheduled for 09/10.  

4.2.2 Design of a mechanical velocity meter at the PH2 south monolith is in progress.  

4.3 Fishway Temperatures.  Three of four temperature probes are experiencing technical difficulties.  Please see the following website for additional Bonneville temperature data:  http://www.nwd-wc.usace.army.mil/tmt/documents/ops/temp/200908.lcol.html
Table 3.  Bonneville Fishway Temperatures

	Date
	WS Avg
	BI Avg
	AFF Avg
	JMF Avg

	8/30
	NA
	69.3
	NA
	NA

	8/31
	NA
	69.7
	NA
	NA

	9/01
	NA
	69.8
	NA
	NA

	9/02
	NA
	69.7
	NA
	NA

	9/03
	NA
	69.5
	NA
	NA

	9/04
	NA
	69.6
	NA
	NA

	9/05
	NA
	69.4
	NA
	NA


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 04 September.
4.5.2 The Washington Shore fishway entrances are in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.
4.5.3 There are currently 11 of 12 floating orifice gates (FOG) installed at Powerhouse 2.  One gate was removed for maintenance and replaced with a bulkhead.
4.5.4 FV4-3 remains in manual.

4.5.5 DSM1 was watered-up and headed south at 0830 on 31 August.  Units 1 and 2 fish screens were installed by 1055 on 02 September.  Orifice lights are on only in units 1 and 2 though all available orifices are open.

4.6 Juvenile Fishways.
4.6.1 To provide the best flow possible, until the new gates can be automated, the PH1 ITS chaingates were set as follows:  1B- 72’msl and 9A- 72’.  The Project will monitor forebay elevations and adjust gates 3B and 6C to maintain >2.5’ depth.
4.6.2 The B2CC was closed at 0720 on 01 September.
4.7 Lamprey Fishways.  
4.7.1 The Cascades Is. entrance weir and bulkhead slot filler are installed.  
4.7.2 The Cascades Is. LPS and the PH2 North Downstream Entrance ramp are scheduled to be dewatered for the season on 08 September.
4.7.3 The Bradford Is. ladder AWS LPS and WA shore ladder AWS LPS remain watered-up. 
5 CONSTRUCTION
5.1 PH1 Ice and Trash Sluiceway Wall Removal.  Wall and DSM1 outfall scheduled for removal in FY10.
5.1.1 The Program Logic Control (PLC) for the automated gates has not been completed.
5.2 TIE crane.  The crane is scheduled to be available by the 2010 fish passage season.
6 HAZMAT, SPILLS AND CLEANUP.   Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 13 August requests BON spill 75 kcfs during daytime hours and spill up to the 120% TDG cap during nighttime hours, using the spill pattern in Table BON-14 of the 2009 FPP.  This action is effective from 13 August until 2400 on 31 August.

7.2 A teletype sent on 16 July changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July until U11 returns to service.
7.3 A teletype sent on 27 July changes the unit operation for PH2.  PH2 units will operate at the low end to mid point of the 1% efficiency range.

7.4 A teletype sent on 28 August requests the forebay be operated at 75.0 – 76.5’ msl as a hard constraint and 75.5’ – 76.5’ msl as a soft constraint from 0600 on 31 August until 1800 on 04 September.  This action is to limit pool fluctuation, during tribal fishing, to: reduce local currents that sweep debris into tribal fishing nets; reduce rapid water level changes that entangle nets; minimize boat access problems; avoid tearing nets from their anchors.  
7.5 Teletype sent on 28 August requests outflows from BON and TDA do not exceed 150 kcfs and remain as low and constant as possible from 0700 until 1130 on 07 September.  This request is to reduce river currents during the cross channel swim at Hood River.

7.6 A teletype sent on 01 September requests BON forebay maintain 71.5’ to 78.0’ msl as a hard constraint and 71.5’ to 77.5’ as a soft constraint from 0001 on 08 September 2009 until 31 March 2010.  
7.6.1 From 07 November through 31 December, 78.0’ msl will occur as needed to support chum spawning below the dam.  
7.6.2 This requested operation is a deviation from the Bonneville Water Control Manual.  The deviation was coordinated with the Region on 21 August.
7.6.3 This operation is requested to facilitate TDA spillwall work.  If the spillwall construction is completed early, a return to normal forebay operating elevations will be coordinated. 
JERRY CARROLL
Acting Operations Manager
Page 1 of 3
1
Page 2 of 3

