CENWP-OD-B





















13 September 2010
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 37 of 2010, which covers the period from 05 through 11 September 2010.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 72.9 to 98.4 kcfs.  Daily average project tailwater ranged from 7.1’ to 9.5’ msl.  Daily average powerhouse forebay elevation ranged from 74.4’ to 75.9’ msl.  Daily average river temperature ranged from 66 to 68ºF.  Secchi disk measurements ranged from 6.0’ to 7.0’.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 1.4 to 1.7 kcfs.
1.3 Unit Operation.  Powerhouse Two is the priority powerhouse. Unit priority changed from 05 until 11 September due to fish number requiring the project to split flows between the powerhouses.  See section BON 2.1.2. in the 2010 FPP for details.
1.3.1 Unit 0 has remained out of service since 02 August for five year overhaul.
1.3.2 Unit 9 has remained out of service since 04 August 2008 for turbine rehab.
1.3.3 Unit 10 was out of service from 1553 on 13 September until 1334 on 14 September due to a transformer bank trip.
1.3.4 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.5 Unit 12 went out of service at 0724 on 13 September for four year overhaul.
1.3.6 Unit 15 was out of service from 1255 on 12 September until 1036 on 14 September for annual maintenance.

1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:

2.1.1 FV 1-1 was closed for cleaning from 1047 until 1102 on 07 September and from 1252 until 1322 on 09 September.

2.1.2 FV 3-9 was closed for cleaning from 1600 until 1615 on 13 September and from 1509 until 1513 on 14 September.
2.2 STS/VBS inspections.  No STS/VBS inspections occurred this reporting week.
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	11
	NA
	OOS
	U11 remains out of service.

	12-18
	N/A
	N/A
	Inspection scheduled for week of 20 September


2.3 Dewatering and Fish Salvage.  No dewatering/fish salvage activities occurred this week.
3 RESEARCH  

3.1 CRITFC - Annual chinook, coho, sockeye and steelhead sampling in the AFF continues.  
3.2 NOAA- lamprey.  PIT tagging adult lamprey in the AFF concluded on 11 September.
3.3 PSMFC- smolt monitoring.  Juvenile fish condition and index monitoring continues.  Fallbacks recorded crossing the separator bars for this reporting week: three salmon and three unknown salmonids.  Truck releases from McNary Dam, Lower Granite, Little Goose, and Lower Monumental dams continue.
3.4 WDFW- Fish Counting.  Visual counting continues.  Night counts continue.
3.5 WDFW- Tule counting.  Tule counting continues.
3.6 University of Idaho – lamprey.   Radio and PIT tagging adult lamprey in the AFF concluded on 01 September. 
4 FISHWAYS 

4.1 Project biologists inspected 05 through 11 September.
4.2  Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI)

	9/5
	BI fish exit
	Needs cleaning
	Aquatic vegetation
	Riggers cleaned
	

	CASCADES ISLAND (CI) Nothing to report.

	WASHINGTON SHORE (WS)

	9/9
	DSM screen cleaner
	#2 in channel
	Freq. drive fault
	Electricians repaired
	10-231075


4.2.1 PH1 PCC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.  

4.2.2 The SA-24 board that controls the Powerhouse 2 adult ladder components is in need of replacement. A new programmable logic controller (PLC) system has been budgeted for.
4.3 Fishway Temperatures.  Temperatures are taken 01 March through 30 November.

Table 3.  Bonneville Fishway Temperatures

	Date
	WA. Shore average
	BI

average
	AFF average
	SMF average

	9/5
	66.5
	66.7
	66.4
	67.0

	9/6
	65.9
	66.3
	65.9
	66.5

	9/7
	66.0
	66.3
	66.0
	66.5

	9/8
	65.7
	66.0
	65.7
	66.3

	9/9
	65.7
	66.0
	65.6
	66.2

	9/10
	65.2
	65.6
	65.2
	65.7

	9/11
	64.8
	65.3
	64.9
	65.4


4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 10 September.
4.5.2 The Washington Shore fishway entrances remain in manual due to SA-24 board calibration issues.  The operators are adjusting the gates to maintain at least a 13’ opening, as tailwater allows.
4.5.3 Sea lion exclusion bars remain in 11 of 12 floating orifice gates (FOGs).  One FOG remains out for maintenance, with a bulkhead installed in its place.

4.5.4 Sampling at the AFF continues.  
4.6 Juvenile Fishways.
4.6.1 DSM2 remains in service.
4.6.2 B2CC remains closed for the season.
4.6.3 The PH1 ice and trash sluiceway (ITS) remains in service.  Chain gate 6C was closed and 7A opened at 0740 on 04 August as outlined in the teletype sent on 29 July (See 7.2).  Chain gate 7A is set to 72’ msl.
4.6.4 Hydrocannon remains in service.
4.6.5 TIES remain installed.  They are scheduled to be removed the week of 12 September.
4.7 Lamprey Fishways.
4.7.1 The Cascades Is. entrance weir and slot filler remain installed.  Cascade Is. LPS remains in service. Scheduled to operate Sunday night through Friday.
4.7.2 The PH2 NDE ramp remains in the lowered position and is not currently used.
4.7.3 Bradford Island and WA Shore LPS’s remain in service.
5 CONSTRUCTION
5.1 PH1 Gantry 4.  New crane in FY11.  
5.2 Spillway Gate Repair Pit. Clean-up of hazardous material is in progress.  Shoring of the walls is scheduled to resume when fish counts drop below 1,000.
6 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 16 July 2009, changes PH2 unit priority to: 12,18,15,17,14,13,16.  This change is effective from 1100 on 16 July 2009 until U11 returns to service.
7.2 A teletype sent on 29 July requests BON project change PH1 unit priority as follows: 1, 3,7,6,2,4,5,8,10,9, effective immediately until further notice.  This moves Unit 7 to third in priority.  This operation is necessary to complete a 100 day operation per PH1 rehab contract.  The project is requested to close automatic chain gate 6C and open manual gate 7A to minimize impacts to fish passage.
7.3 A teletype sent on 18 August requests Bonneville forebay be operated within 1.5’ band, hard constraint, for treaty fishing as follows:  0600 Tuesday, 24 August until 1800 Friday, 27 August;   0600 Tuesday, 30 August until 1800 Friday, 03 September; and 0600 Tuesday, 07 September until 1800 Friday, 10 September.  This is to limit pool fluctuation and reduce wear and tear on equipment.
7.4 A teletype sent on 01 September requests BON outflows be maintained as low and as constant as possible, requested not to exceed 150 kcfs, from 0700 until 1130 on 06 September.  This operation is requested to reduce river currents for the Cross Channel Swim.

7.5 A teletype sent on 08 September revises the teletype sent on 18 August (see 7.3).  It requests BON forebay be operated within 1.5’ band, hard constraint, for treaty fishing as follows:  0600 Tuesday, 07 September until 1800 Saturday, 11 September.  This is to limit pool fluctuation and reduce wear and tear on equipment.

7.6 A teletype sent on 08 September requests BON forebay be maintained between 75.2’ and 76.2’ msl and held as steady as possible, as a soft constraint, from 0800 until 1030 on 11 September.  This operation is requested to support the Aluminum Man Triathlon Swim.

7.7 A teletype sent on 09 September requests BON forebay be operated within 1.5’ band, hard constraint, for treaty fishing as follows: 0600 Monday, 13 September until 1800 Friday, 17 September.  This is to limit pool fluctuation and reduce wear and tear on equipment. 

GLEN A. SMITH, P.E.
Operations Project Manager
Page 1 of 3
1
Page 2 of 3

