CENWP-OD-B





















10 April 2011
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 14 of 2011, which covers the period from 03 through 09 April 2011.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 307.8 to 390.5 kcfs.  Daily average project tailwater ranged from 24.2’ to 27.9’ msl.  Daily average powerhouse forebay elevation ranged from 73.9’ to 75.1’ msl.  Daily average river temperature ranged from 45 to 47ºF.  Secchi disk measurements ranged from 1.5’ to 3.0’.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 75.2 to 166.8 kcfs.
1.3 Unit Operation.  Powerhouse Two is the priority powerhouse.
1.3.1 Unit 10 had a brief 1% violation on 08 April due to frequency disturbance while running unit at top of 1% band.
1.3.2 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.3 Unit 17 had a brief 1% violation on 08 April due to frequency disturbance while running unit at top of 1% band.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris.
1.5 Gatewell drawdowns are measured on Wednesdays.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following AWS valves were closed this reporting week:
2.1.1 FV 1-1 was closed for cleaning from 0707 until 0713 on 09 April.

2.1.2 FV 3-7 was closed for cleaning from 0701 until 0718 on 04 April and 09 April.  

2.1.3 FV 3-9 was closed for cleaning from 0642 until 0700 on 09 April.
2.1.4 FV 4-3 and 4-4 were closed from 1244 until 1420 on 07 April to flush trash.
2.1.5 FV 5-3 and 5-4 were closed from 1425 until 1452 on 07 April to flush trash.
2.2 STS/VBS inspections.  The following STS/VBS inspections occurred this reporting week.
Table 1.  STS and VBS inspections.  
	Unit
	Date
	Run Hours
	Comments

	11
	NA
	OOS
	U11 remains out of service.

	12
	04/05
	669
	OK

	13
	04/05
	668
	OK

	14
	04/05
	670
	OK

	15
	04/05
	609
	OK

	16
	04/05
	699
	OK

	17
	04/05
	670
	OK

	18
	04/05
	670
	OK


2.3 Dewatering and Fish Salvage.  No fish salvage activities occurred this reporting week.
3 RESEARCH  
3.1 Battelle - survival study.  Hydrophone installation completed on 29 March.
3.2 CRITFC - Sea lion hazing.  Hazing from boats continues.  Acoustic receivers for sea lion tags anchored in BRZ.  Video camera system for sea lion observation set up at PH2 south monolith.
3.3 FFU - Sea lion.  Observations continue.  Weekly pinniped reports can be found at

http://www.nwd-wc.usace.army.mil/tmt/documents/fish/2011/sea_lion_hazing2011.html
3.4 NOAA - lamprey. DIDSON mount installed on the NDE LPS on 15 February.  
3.5 ODFW/WDFW - Sea lion trapping. Sea lion traps remain adjacent to the B2CC and downstream of the old Navlock.  Acoustic tagging and branding continues. 
3.6 PSMFC.  Juvenile fish condition and index monitoring continues.  Fallbacks recorded crossing the separator bars:  15 steelhead and four unknown salmonids.  Please see http://www.fpc.org/adultsalmon/bonkeltcounts.htm for updated kelt counts.
3.7 WDFW - Fish Counting.  Visual counting began on 01 April.
3.8 USDA - Sea lion hazing. Hazing from the deck continues.
4 FISHWAYS 
4.1 Project biologists inspected 03 through 09 April. 
4.2 Fish Passage Plan Observations.
5 Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI) 

	4/3
	B-branch entrance
	Differential < 1.0’
	System in manual
	Operations adjusted.
	

	CASCADES ISLAND (CI) 

	4/3
	FG6-8
	Closed at TW > 23’
	Unknown
	Manually adjusted.
	

	WASHINGTON SHORE (WS) 

	4/8
	U12, U16, U18, VBSs
	Differential > 1.1’
	Debris
	Riggers cleaned
	


5.1.1 PH1 PCC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.  

5.1.2 The PH1 PCC mechanical velocity meter has been repaired and a new mechanical velocity meter has been fabricated for PH2. Both are scheduled for installation.
5.1.3 The SA-24 board that controls the Powerhouse 2 adult ladder components is in need of replacement. Work has begun on replacing the PLC to allow for fully automated operation of the PH2 adult fishway.
5.2 Fishway Temperatures.  Temperatures are taken 01 March through 30 November.

Table 3.  Bonneville Fishway Temperatures

	Date
	WA. Shore average
	BI

average

	4/3
	44.5
	45.0

	4/4
	44.8
	45.3

	4/5
	45.2
	45.6

	4/6
	45.4
	45.9

	4/7
	45.4
	45.9

	4/8
	45.6
	46.1

	4/9
	45.7
	46.2


5.3 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
5.4 Adult Fishways. 
5.4.1 Calibration was checked on 09 April.
5.4.2 10 of 12 floating orifice gates (FOGs) are installed with sea lion barriers in place.  Two gates remain out for maintenance.

5.4.3 SLEDs remain installed at all fishway entrances.
5.5 Juvenile Fishways.
5.5.1 DSM2 remains in service.
5.5.2 The PH1 ice and trash sluiceway (ITS) remains in service.  Manual chaingates 1A and 1B remain open. Automated chaingates 6C and 10B are open and functioning in auto.  Chaingate 3B remains in manual. Parts to repair 3B and return it to manual have been ordered and will be installed upon arrival.
5.5.3 The hydrocannon remains in service.
5.5.4 The B2CC remains in service.  One avian line broke during this week’s high tail water.  
5.6 Lamprey Fishways.
5.6.1 The Cascades Is. entrance weir remains installed.  Cascade Is. LPS remains out of service.
5.6.2 The NDE ramp remains in the lowered position and is not currently operating.
5.6.3 Bradford Island and WA Shore LPS’s remain out of service.
6 CONSTRUCTION
6.1 PH1 Gantry 4.  New crane in June, 2011.  
6.2 Spillway Gate Repair Pit. Clean-up of hazardous material and shoring of the walls is complete.  Load test scheduled to occur spring 2011.
6.3 B2CC Hoist. Construction scheduled to begin fall of 2011.
7 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
8 TELETYPES AND OTHER NOTEWORTHY ITEMS
8.1 A teletype sent on 22 December outlines new tailwater operations for chum incubation.  Effective immediately, BON is requested to maintain a tailwater of 12.2’ or greater for all hours.

8.2 A teletype sent on 22 December notifies BON that slow roll start-up for units that have been idle for 12 hours or more is required from 01 December through 30 April (see FPP section BON 5.7).Note: Though specified in the FPP and the teletype as only occurring when units have been idle for 12 or more hours, Bonneville has been starting all idle units with slow roll protocol.  
8.3 A teletype sent on 05 April authorized 24-hour tailwater fluctuations of up to 5.0 feet at BON from 0001 on 06 April to 0001 on 08 April. The exceedences, if used, will assist in facilitating the installation of avian wires in The Dalles stilling basin. The hourly fluctuation limit of 1.5 feet remains in effect.

8.4 A teletype sent on 08 April requests spill for juvenile fish passage begin at 0001 hours on Sunday, 10 April and continue through 20 June at 2400 hours. Spill approximately 100 kcfs 24 hours a day using the spill pattern in the 2011 FPP.  If Bonneville inflows are too low to maintain the 100 kcfs spill and minimum turbine discharge of 30-40 kcfs, then operate to minimum discharge and spill to pass inflow.

8.5 A teletype sent on 08 April requests special operations for Spring Creek and Little White Salmon hatchery releases on 12 April.  Beginning 0600 on 13 April until 1700 on 17 April as a hard constraint and from 1700 on 17 April until 1700 on 21 April as a soft constraint, operate PH2 units at the lower 25-50% range of the 1% limit.

GLEN A. SMITH, P.E.
Operations Project Manager
Page 1 of 3
1
Page 3 of 3

