CENWP-OD-B





















14 August 2011
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 32 of 2011, which covers the period from 07 through 13 August 2011.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 195.9 to 221.9 kcfs.  Daily average project tailwater ranged from 16.6’ to 18.0’ msl.  Daily average powerhouse forebay elevation ranged from 73.3’ to 75.5’ msl.  Daily average river temperature remained constant at 69ºF. Secchi disk measurements ranged from 4.0’ to 6.0’.
1.2 Spill Bays 1 and 18, which provide attraction flow for Cascades Island and B-branch, respectively, are open 6” during daylight hours.  Daily average spill ranged from 91.2 to 93.3 kcfs.
1.3 Unit Operation.  Powerhouse One became the priority powerhouse on 10 August as per teletype listed in section 7.2.
1.3.1 Unit 1 went out of service at 0001 on 08 August for Bank 1 & 2 outage.

1.3.2 Unit 2 went out of service at 0001 on 08 August for Bank 1 & 2 outage.
1.3.3 Unit 5 was out of service from 1510 until 1521 on 10 August for ZM278 closure. 
1.3.4 Unit 6 was out of service from 1510 until 1521 on 10 August for ZM278 closure. 

1.3.5 Unit 7 went out of service at 0042 on 25 July for annual maintenance and Bank 7/8 bi-annual work. It was returned to service at 1521 on 10 August.
1.3.6 Unit 8 went out of service at 0042 on 25 July for annual maintenance and Bank 7/8 bi-annual work. It was returned to service at 0124 on 08 August. Unit 8 was out of service again from 1510 until 1521 on 10 August for ZM278 closure.
1.3.7 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.8 Unit 12 was out of service from 0019 until 0841 on 13 August for excessive packing leakage.

1.3.9 Unit 15 went out of service at 0717 on 15 June for four year overhaul. 
1.3.10 Unit 17 went out of service at 1010 on 09 August due to generator vibration.

1.3.11 Unit 18 was out of service from 1033 until 1327 on 07 August for investigation of suspected water in turbine bearings.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris. 
1.4.1 F1 was placed in standby from 1034 until 1628 on 12 August to facilitate lower flow in the WA shore ladder for a diffuser grating inspection.

1.4.2 F2 was placed in standby from 1036 until 1633 on 12 August to facilitate lower flow in the WA shore ladder for a diffuser grating inspection.
1.5 Gatewell drawdowns are measured on Tuesdays and more frequently as needed.
2 ACTIVITIES

2.1 Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.
2.1.1 FV 3-9 was closed for cleaning from 0720 until 0728 on 08 August.

2.2 STS/VBS inspections.  No STS/VBS inspections occurred this reporting week. 
2.3 Table 1.  STS and VBS inspections.
	Unit
	Date
	Run Hours
	Comments

	11
	NA
	OOS
	U11 remains out of service.

	12-18
	NA
	NA
	Inspection scheduled for week of 28 Aug.


2.4 Dewatering and Fish Salvage.  The following fish salvage activities occurred this reporting week.
2.4.1 At 1400 hours on 09 August, project biologists salvaged 1 sturgeon and 8 shad from tainter valve 3 in the Navlock. These fish were released at the Navlock in good condition.
3 RESEARCH  
3.1 Battelle - survival study.  Monitoring University of Idaho acoustic tagged adult lamprey.   
3.2 CRITFC – AFF.  Annual chinook, coho, sockeye and steelhead sampling in the AFF continues. Sampling was suspended on 12 August for WA shore diffuser grating inspection. 
3.3 CRITFC - Sea lion.  Acoustic receivers for sea lion tags remain anchored in the BRZ.  
3.4 NOAA/PSMFC - lamprey.  LPS count network improvements moving forward.  Traps deployed at PH2 monoliths in tailrace and AFF. 
3.5 NOAA – Pathology Study. Pathology study concluded 05 August.
3.6 PSMFC – Smolt Monitoring Program.  Juvenile fish condition and index monitoring continues.  Fallbacks recorded crossing the separator bars:  3 steelhead and 2 salmon.  Gas Bubble Trauma (GBT) examinations occur two days per week at the SMF during spill.  Please go to http://www.fpc.org/CurrentDaily/Gbtsum.txt for further details.  
3.7 University of Idaho.  Tagging lamprey in the AFF continues.
3.8 University of Washington – JMF. Juvenile shad collections scheduled to begin in September.

3.9 WDFW - Fish Counting.  Visual counting continues.
3.10 WDFW – Tule Counting. Tule counting scheduled to begin 17 August.
3.11 WDFW – AFF. Modifications to the auxiliary sample flume and old sample tank complete. Sampling for alternative gear study control group scheduled to begin the week of 22 August. 
3.12 Yakama Fisheries – AFF. Coho energy study scheduled to begin the week of 22 August. 
4 FISHWAYS 
4.1 Project biologists inspected 07 through 11 August and 13 August. On 12 August the Operations staff conducted an additional fishway inspection to allow the project biologists to complete a diffuser grating inspection in the WA shore adult ladder.
4.2 Fish Passage Plan Observations.
Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI)

	8/8
	B-branch entrance
	Diff > 2.0’
	System in local
	Ops adjusted
	

	CASCADES ISLAND (CI) – Nothing to report.

	WASHINGTON SHORE (WS)

	8/12
	PH2 entrances, CC velocity, Weir 37
	All out of criteria
	Diffuser grating inspection
	N/A
	

	8/10-11
	PH2 entrance gates
	Submergence <13’
	System in local
	Ops adjusted
	


4.2.1 PH1 PCC diffuser FG2-19 is partially open.  Repairs scheduled for 2011/2012 in water work period.  

4.2.2 A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.
4.2.3 The SA-24 board that controls the Powerhouse Two adult ladder components is in need of replacement. Work has begun on replacing the PLC to allow for fully automated operation of the PH2 adult fishway.
4.3 Fishway Temperatures.  Temperatures are taken 01 March through 30 November.
Table 3.  Bonneville Fishway Temperatures

	Date
	WA. Shore average
	BI

average
	AFF

average
	SMF

Average*

	8/7
	67.1
	67.4
	67.2
	67.8

	8/8
	67.1
	67.4
	67.2
	67.8

	8/9
	67.0
	67.4
	67.2
	67.8

	8/10
	66.8
	67.1
	67.0
	67.6

	8/11
	66.9
	67.2
	67.0
	67.6

	8/12
	67.2
	67.5
	67.3
	67.9

	8/13
	67.4
	67.7
	67.5
	68.2


*The temperature probe in the SMF may be malfunctioning. It is being investigated.
4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 13 August.
4.5.2 10 of 12 floating orifice gates (FOGs) are installed with sea lion barriers in place.  Two gates remain out for maintenance. 
4.5.3 SLEDs were removed from all entrance gates as of 05 July. 
4.5.4 The AFF remains watered up.
4.5.5 A ROV inspection was conducted 02-04 August and revealed three pieces of diffuser grating dislodged in the junction pool area and lower weirs in the north monolith of Powerhouse 2. A follow up inspection with a manually manipulated camera occurred on 12 August revealing two more displaced gratings.
4.6 Juvenile Fishways.
4.6.1 DSM2 remains in service. 
4.6.2 The PH1 ice and trash sluiceway (ITS) remains in service.  Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto.
4.6.3 The hydrocannon was returned to service on 06 July.  
4.6.4 The B2CC remains in service.  Five avian lines are broken due to high tailwater and three remain.  
4.6.5 Truck releases of summer out-migrants originating from McNary began on 03 August.
4.7 Lamprey Fishways.
4.7.1 The Cascades Is. entrance weir remains installed.  The CI LPS is in operation 7 days a week.
4.7.2  The NDE ramp remains in the lowered position and was watered up on 27 July.
4.7.3 WA Shore and Bradford Island LPSs remain watered up.
5 CONSTRUCTION
5.1 PH1 Gantry 4.  New crane in August, 2011.
5.2 B2CC Hoist. Construction scheduled to begin fall of 2011.
6 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS
7.1 A teletype sent on 15 June requests summer spill for juvenile fish passage with two treatments of 85 kcfs during the day and 121 kcfs at night or 95 kcfs for 24 hours.  Effective 16 June at 0430 hours and continuing until 31 August at 2400 hours, spill in accordance with the 2011 Fish Passage Plan and the 2011 Summer Fish Operations Plan, Appendix E of the Fish Passage Plan.  
7.2 A teletype sent on 10 August states that, effective immediately operate Powerhouse One as the priority powerhouse. Continue this operation until further notice. The goal of this operation is to reduce flow to Powerhouse Two to decrease attraction flow to the Washington shore fish ladder. 
7.3 A teletype sent on 10 August states that, effective immediately, expand the 1% range at Powerhouse One until further notice to allow operation up to 11.7 kcfs per unit. The goal of this operation is to reduce flow to Powerhouse Two to decrease attraction flow to the Washington shore fish ladder.

7.4 A teletype sent on 11 August states that, effective immediately, operate in accordance with the modified Powerhouse Two turbine unit operating priority: 11, 12, 13, 14, 15, 16, 17, 18. Continue to operate in accordance with the reference teletype Summer Spill For Juvenile Fish Passage (7.1).
JERRY CARROLL
Operations Project Manager
Page 1 of 4
1
Page 2 of 3

