CENWP-OD-B





















19 February 2012
MEMORANDUM FOR CENWP-OP, ATTN: Operations Biologist
SUBJECT: Bonneville Lock and Dam, Fishway and Fish Activities for Week 07 of 2012, which covers the period from 12 through 18 February 2012.
1 OPERATION SUMMARY

1.1 Daily average river flows ranged from 124.8 to 170.9 kcfs.  Daily average project tailwater ranged from 12.2’ to 14.9’ msl.  Daily average powerhouse forebay elevation ranged from 74.3’ to 74.8’ msl.  Daily average river temperature ranged from at 38 to 39ºF. Secchi disk measurements ranged from 5.0’ to 6.5’.
1.2 Spill Bays 1 and 18 provide attraction flow for Cascades Island and B-branch, respectively. Spill bay 1 remains 6” open during daylight hours.  Spill bay 18 remains on sill due to B-branch dewatering.  Daily average spill ranged from 0.5 to 0.6 kcfs.
1.3 Unit Operation.  Powerhouse Two is the priority powerhouse.
1.3.1 Unit 2 was out of service from 1758 until 1840 on 16 February due to an exciter trip.
1.3.2 Unit 11 has remained out of service since 12 June 2008 due to rotor damage.
1.3.3 Unit 12 was out of service from 0812 until 0841 on 13 February and from 1322 until 1445 on 14 February for trashrack raking. 
1.3.4 Unit 13 was out of service from 0845 until 1021 on 13 February for trashrack raking.

1.3.5 Unit 14 was out of service from 1025 until 1110 on 13 February for trashrack raking.

1.3.6 Unit 15 was out of service from 1113 until 1157 on 13 February for trashrack raking.
1.3.7 Unit 16 went out of service at 0452 on 04 September 2011 due to exciter failure. 
1.3.8 Unit 17 was out of service from 1318 until 1355 on 13 February for trashrack raking.
1.3.9 Unit 18 went out of service at 1030 on 23 November 2011 for a 4 year overhaul.
1.4 Second Powerhouse fish units provide attraction flow for the Washington Shore (WS) fish ladder.  The units may be placed on standby, as necessary, during nighttime hours to float debris. 
1.4.1 F1 was out of service from 0920 until 1555 on 15 February for a trashrack inspection. The unit was also out of service from 1610 until 1617 on 15 February to add oil to the thrust bearings.
1.5 Gatewell drawdowns are measured on Tuesdays and more frequently as needed.
2 ACTIVITIES
2.1 Auxiliary Water System Closures.  The following AWS closures occurred this reporting week.
2.1.1 FV 1-1, 3-7, 3-9, 4-3, and 4-4 remain closed for the dewatered Bradford Island ladder.
2.2 STS/VBS inspections.  No STS/VBS inspection occurred this reporting week. 
2.2.1 Table 1.  STS and VBS inspection.  
	Unit
	Date
	Run Hours
	Comments

	11
	NA
	OOS
	U11 remains out of service.

	12-18
	NA
	NA
	STSs removed. Installation scheduled week of 20 February.


2.3 Dewatering and Fish Salvage. No dewatering or fish salvage activities occurred this week.
3 RESEARCH    
3.1 WDFW - Fish Counting.  Video counting continues.
4 FISHWAYS 
4.1 Project biologists inspected 13, 15, and 16 February.
4.2 Fish Passage Plan Observations.
4.2.1 Table 2.  FPP Out of Criteria items.
	DATE
	LOCATion
	FPP itEMS
	CAUSE
	RESPONSE
	TR#

	BRADFORD ISLAND (BI) – Dewatered.

	CASCADES ISLAND (CI) – Nothing to report.

	WASHINGTON SHORE (WS) – Nothing to report.


4.2.2 PH1CC diffuser FG2-19 is partially open.  Repairs will occur when the PH1CC is dewatered. The next possible time period will be 2013/14 winter maintenance.  

4.2.3 A new mechanical velocity meter has been fabricated for PH2 and is scheduled for installation.
4.3 Fishway Temperatures.  Temperatures are taken 01 March through 30 November.
4.4 Zebra Mussel Monitoring.  No signs of colonization were observed this reporting week.  
4.5 Adult Fishways. 
4.5.1 Calibration was checked on 26 January.
4.5.2 10 of 12 floating orifice gates (FOGs) are installed. Two gates remain out for maintenance. Stab plates were installed on 07 and 08 December in accordance with the FPP for 1 Fish Unit operations.
4.5.3 SLEDs were installed at WA shore and Cascades Island entrance gates on 09 December. SLEDs were installed at B-branch on 16 February.
4.5.4 Bradford Island ladders remain dewatered. They are scheduled to be returned to service on 22 February.
4.5.5 The AFF remains dewatered.

4.5.6 WA shore ladder remains in service.
4.6 Juvenile Fishways.
4.6.1 DSM2 was returned to service on 14 February. The switch gate at the JMF remains in bypass. 
4.6.2 STSs are scheduled to be installed starting 21 February.
4.6.3 The PH1 ice and trash sluiceway (ITS) remains in service. Manual chaingates 1A and 1B remain open and are both set to 70’ msl. Automated chaingates 3B, 6C and 10B are open and functioning in auto. 
4.6.3.1 The ITS was closed from 0815 until 1142 on 16 February for boom replacement following the Bradford Island fish exit dredging.
4.6.4 The hydrocannon remains winterized.  
4.6.5 The B2CC remains closed.  
4.6.6 All B2CC and Cascades Island avian lines were removed to facilitate barge access for B-branch emergency repairs. They will be reinstalled as soon as maintenance schedules allow.
4.7 Lamprey Fishways.
4.7.1 The Cascades Is. entrance weir remains installed.
4.7.2 All LPS systems remain out of service for the season.
5 CONSTRUCTION
5.1 B2CC Hoist. Construction continues.
5.2 Spillway Debris Removal. Scheduled to commence on 02 March.
6 HAZMAT, SPILLS AND CLEANUP. Nothing to report.
7 TELETYPES AND OTHER NOTEWORTHY ITEMS

7.1 A teletype sent on 23 November states in order to keep the latest established Bon tailwater flow range for chum, total project flow may be decreased to as low as 58 kcfs as long as the estimated flow at the confluence of the Columbia and Willamette rivers is equal to or exceeds 77 kcfs.  The 58 kcfs and 77 kcfs is a hard constraint navigation requirement.  

7.2 A teletype sent on 28 December replaces a previous teletype for operation of BON tailwater to provide adequate spawning conditions for Chum salmon. As a hard constraint, maintain tailwater at a minimum of 12.0’ all hours.
7.3 A teletype sent on 19 January states that, effective immediately and until further notice, operate BON to minimize spill until the project removes boulders that have accumulated in the spillway stilling basin. Operate turbine units above the 1% of the best efficiency range as necessary to pass flows. The project is authorized to operate up to the maximum load within the cavitation limit. If flows exceed hydraulic capacity, operate the spillway as necessary according to the spill pattern defined in “BON Special Spill Pattern – Jan. 19, 2012”.
JERRY CARROLL
Operations Project Manager
Page 1 of 3
1
Page 3 of 3

